| PROCEDURE FOR SUSPECTED CREUTZFELDT – JAKOB CASES |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Purpose | Children's Hospitals of MN will not perform autopsies on Transmissible Spongiform encephalopathy cases (TSE) to include Creutzfeldt-Jakob Disease (CJD) or hemorrhagic fever (Ebola) cases, effective 10/2014, and should be referred to Medical Examiner or public health agency. Creutzfeldt-Jacob disease and other TSE cases are caused by infectious agents that are not inactivated by standard sterilization methods. Special procedures are required to treat contaminated instruments, glassware, and other hard surfaces. |  |  |  |  |
| Materials | Reagents | Equipment |  |  |  |
|  | - Bleach - 2N Sodium hydroxide - Formic acid - Formalin | - Plastic containers - Biohazard bags |  |  |  |
| Sample | Fluid or tissue suspected of Creutzfeldt-Jakob disease and all material coing into contact with the above fluid or tissue. |  |  |  |  |
| Procedure | Chemical decontamination may be accomplished by soaking for 1 hour in either sodium hypochlorite (freshly opened chlorine bleach, Chlorox) or 2N sodium hydroxide. Any tissue samples should be fixed in formalin, exposed to 96 to 100 % formic acid for one hour and returned to formalin for additional fixation prior to processing. Brain tissues should be handled as follows: The brain tissue is fixed for 1-2 weeks before cutting. Tissue blocks are agitated in at least 50-100 ml of 95-100% formic acid for 1 hour and then returned to formalin for 2 days before embedding. Alternately, one may take the necessary diagnostic sections from the fresh brain, fix then in formalin for 2-7 days, treat with formic acid for 1 hour, fix again in formalin for 2 days, and then embed in paraffin. This method significantly reduces infectivity. All gowns, gloves and other disposable supplies are placed in a red biohazard bag and incinerated. Hard surfaces are decontaminated with freshly opened undiluted bleach or NaOH, 1N NaOH is adequate unless there will be dilution by surface liquid, in which case 2N NaOH should be used. Bleach and NaOH are equally effective, but NaOH is preferred for steel instruments and surfaces because it is less corrosive than bleach. The disinfectant should remain in contact with the surface for at least 15 and preferably 60 minutes. Instruments should have visible blood removal, then decontaminatied with undiluted bleach and 1-2 N NaOH as above. Tissues from suspected (TSE) Creutzfeld – Jakob disease will be processed by hand in order to minimize cross-contamination. All reagents and material used will be considered infectious. Double gloves will be worn at all times. All solutions, including water baths, are collected and treated with equal volumes of fresh undiluted household bleach for 1 hour before disposal. Disposables are put in the red biohazard bags. All unused paraffin sections and scrapings are collected and placed in red biohazard bags. The microtome will be wiped with bleach. Paraffin blocks will be placed in heat-sealed bags and filed in a container labeled as infectious. |  |  |  |  |
| Related Policy | Hospital Policy: 1224.00 |  |  |  |  |
| References | CAP Checklist ANP.34150 |  |  |  |  |
| Authorization |  |  |  | Signature | Date |
|  | Medical Director |  |  | Dennis Drehner DO | 4/20/09 |
|  | Medical Director |  |  | M. Cristina Pacheco,MD | 5/1/13 |
|  | Medical Director |  |  | Megan K. Dishop, MD | 6/27/2015 |
|  |  |  |  | Issue date for training |  |
| Annual Review | Designee |  | Signature |  | Date |
|  | Technical Specialist |  | Dave Slinger |  | 4/20/09 |
|  |  |  | Dave Slinger |  | 4/16/10 |
|  |  |  | Dave Slinger |  | 2/24/11 |
|  | Pathologist Assistant |  | Melissa Turner, PA |  | 5/21/13 |
|  |  |  | Melissa Turner, PA |  | 4/2015 |
|  | Revised: |  | Melissa Turner |  | 10/2016 |