| Verhoff-Van Gieson Elastic Stain |  |  |
| --- | --- | --- |
| Purpose | Elastic fiber demonstration methods are useful in demonstrating hypertrophy of elastic tissue. The techniques can show thinning, loss of elastic fibers, breaks, splitting and reduplication of elastic lamella. Elastic fiber techniques that incorporate a nuclear stain are valuable for determining if a particular cancer has progressed so far that it has invaded blood vessels. The first step in the procedure is an over-staining of the tissue section with a soluble lake of Hematoxylin-Ferric Chloride Iodine. Ferric chloride and Iodine both serve mordant functions primarily and oxidizing functions secondarily. In addition, the Iodine may serve as a dye-trapping agent, thereby retarding dye loss from selected components during the subsequent differentiation process. Differentiation is accomplished by use of excess mordant (dilute Ferric Chloride) to break the tissue-mordant dye complex. Sodium Thiosulfate is used to remove the excess Iodine from the solution and tap water removes both from the tissue section. The Van Gieson solution (containing Acid Fuchsin and Picric Acid) is used as the counterstain. |  |
| Scope | Histology Technical Staff |  |
| Materials | Supplies |  |
|  | • Coplin jars, lids • Gloves, PPE and engineering controls • Graduated cylinder(s) • Slide forceps • Disposable transfer pipet(s) • Filter paper and disposable funnel |  |
| Sample | Tissue sections fixed in neutral buffered Formalin or B+; paraffin sections cut at 4 microns. |  |
| Records/ Forms/ Documents needed | Histology Requests/ QC ("Blue Sheet") Form |  |
| Quality Control | A section of aorta or kidney. The working staining solution (Verhoeff’s) should be made up fresh each use; it will not stain satisfactorily if it is kept more than one working day. Check the slides microscopically after the differentiation step for quality black elastic fiber staining with gray background. If necessary, repeat the 2% Ferric Chloride treatment and tap water rinses for adequate demonstration. If sections are overdifferentiated (pale or gray in color), rinse well in water and repeat the Verhoeff’s step. It is better to underdifferentiate the sections as the Van Gieson’s counterstain can extract the stain to a slight extent. |  |
| STOCK/ WORKING SOLUTIONS | The pre-made solutions for the Verhoeff Van Gieson stain are purchased through Newcomer Supply. Solution A: Hematoxylin, 5% alcoholic STORAGE: Stain cupboard/ bin Solution B: Ferric Chloride, 10% aqueous STORAGE: Stain cupboard/ bin Solution C: Iodine (Weigert & Lugol's) STORAGE: Stain cupboard/ bin Solution D: Sodium Thiosulfate, 5% aqueous STORAGE: Stain cupboard/ bin Solution E: Van Gieson Stain STORAGE: Stain cupboard/ bin |  |

| Procedure | Step | Action |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | 1 | Deparaffinize and dehydrate paraffin sections to water. |  |  |  |
|  | 2 | Prepare fresh Verhoeff working solution just before use in the order given: Solution A: Hematoxylin 5%, Alcoholic 20ml Solution B: Ferric Chloride 10%, Aqueous 8ml Solution C: iodine, Weigert & Lugol, Aqueous 8ml |  |  |  |
|  | 3 | Stain sections with freshly prepared Verhoeff’s staining solution for 1 hour. The nuclear stain must be deep (perfectly black) because the counterstain will extract it to some extent. Check staining intensity microscopically. |  |  |  |
|  | 4 | Rinse in several changes of tap water. |  |  |  |
|  | 5 | Prepare fresh 2% Ferric Chloride, Aqueous solution before use: Solution B: Ferric Chloride 10%, Aqueous 10ml Distilled water 40ml |  |  |  |
|  | 6 | Differentiate each slide individually with agitation in 2% Ferric Chloride for approximately 30 dips. |  |  |  |
|  | 7 | Check differentiation; rinse well in tap water and check microscopically for black elastic staining with gray background. |  |  |  |
|  | 7 | Wash slides in tap water. |  |  |  |
|  | 6 | Place slides in Solution D: Sodium Thiosulfate 5%, Aqueous for 1 minute Discard solution after use. |  |  |  |
|  | 7 | Wash in running tap water for 5 minutes. Rinse in distilled water. |  |  |  |
|  | 8 | Counterstain in Solution E: Van Gieson’s stain for 3-5 minutes. Rinse in distilled water (quickly). |  |  |  |
|  | 9 | Dehydrate slides in 95%, 100% Alcohols (quickly), clear in Xylene/ Xylene substitute and coverslip using a synthetic mounting media. |  |  |  |
| Interpretation/ Results/Alert Values | Elastic fibers Blue-black to black Nuclei Blue to black Collagen Red Other tissue elements Yellow |  |  |  |  |
| Result Reporting | By Pathologists |  |  |  |  |
| References | - Sheehan, D.C. and Hrapchak, B.B.: Theory and Practice of Histotechnology, 2nd edition, pp. 196-197; C. V. Mosby Co., St. Louis, MO, 1980. - Carson, F, Histotechnology: Theory and Practice of Histotechnology, 2nd edition, Chicago: ASCP press, 1997, pp. 138-140. - Modifications developed by Newcomer Supply Laboratory. |  |  |  |  |
| Authorization |  |  |  | Signature | Date |
|  | Medical Director |  |  | Dennis Drehner DO | 6/3/09 |
|  | Medical Director |  |  | Peter Helseth, MD | 5/1/12 |
|  |  |  |  | Megan Dishop, MD | 6/1/15 |
|  |  |  |  | Megan Dishop, MD | 09/2016 |
| Annual Review | Designee |  | Signature |  | Date |
|  | Technical Specialist |  | Dave Slinger |  | 6/3/09 |
|  |  |  | Dave Slinger |  | 7/7/10 |
|  |  |  | Dave Slinger |  | 3/3/11 |
|  | Pathology Assistant |  | Melissa Turner, PA |  | 4/20/12 |
|  |  |  | M. Turner, PA |  | 6/1/15 |
| Revised |  |  | Prabha Chintapalli |  | 09/28/16 |