| MODIFIED GIEMSA STAIN FOR THE DETECTION OF PARASITES IN BLOOD |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Purpose | During some stages in their life cycle, species of Plasmodium, Babesia, Trypanosoma, Leishmania donovani, and filaria are detectable in human blood. Plasmodium and Babesia species are found within the RBCs; trypanosomes and microfilariae, the larval stage of filariae, are found outside the RBCs; and Leishmania amastigotes are occasionally found within monocytes. Trypanosomes and microfilariae, which frequently are present in low numbers, exhibit motility in freshly collected blood smears, and this can aid in their detection. Species identification of all blood parasites are made from either or both of two types of stained blood films: a thin film and a thick film. |  |  |  |  |  |  |
| Scope | Histology Technical Staff |  |  |  |  |  |  |
| Materials | Supplies |  | Reagents |  |  | Equipment |  |
|  | • Gloves, PPE and engineering controls • Graduated cylinders • Disposable pipets • Glass Coplin jars with lids • Volumetric/ Erlenmeyer flasks |  | • Sodium Phosphate DiBasic storage: General • Potassium Phosphate Mono- Basic storage: General • Triton X storage: General |  |  | • pH meter |  |
| Sample | Four thin peripheral blood smears (routine) and four thick blood preparations prepared by Hematology. The thick preps are made by placing one drop of blood on a glass slide and then spreading the blood over the slide in a circle to the size of a nickel, then air drying well (12 hours). |  |  |  |  |  |  |
| Records/Forms/ Documents Needed | CBC data and order for malaria stain provided by Hematology. Histology Requests/ QC (“Blue Sheet”) Form for Modified Giemsa stain. |  |  |  |  |  |  |
| Quality Control | Use a smear with known organisms, usually purchased in a fixed state. *Note: Occasionally, there are patient blood smears that are strongly positive for Malaria organisms. Control smears may be made, dated and used from these samples ONLY with prior Pathologist approval. These controls may be used UNFIXED (or fixed, as the purchased control slides). Unfixed blood smears for Malaria controls should be stored at room temperature, shielded from light and air (ie: a slide folder or slide box), designated as unfixed and be used within a 6 month period. **Stain is pH Sensitive. |  |  |  |  |  |  |
| Stock Solutions (shelf life 1 year, room temp) | Sodium Phosphate DiBasic Buffer Solution Sodium Phosphate DiBasic…………….…4.74 grams Distilled water ……………………….…500.0 ml Shelf life: 1 year Potassium Phosphate MonoBasic Buffer Solution Potassium Phosphate Monobasic……………..…1.82 grams Distilled water……………………………………200.0 ml Shelf life: 1 year Wright’s-Giemsa Stain Solution Manufactured by EMD Chemicals, Purchased through Cardinal Health Triton X, 10% Solution Triton X (stock)..…………………………………….10.0 ml Distilled water …………………………………… …90.0 ml Shelf life: 1 year |  |  |  |  |  |  |
| Working Solutions | Calibrate the pH meter prior to preparing the working solutions. Use the two-point pH calibration check in the manufacture guidelines, and record the readings on the pH meter form. The log and the directions for calibration are located with the pH meter in the bin labelled pH meter. The following solutions must be made fresh and in the given order: Phosphate Buffer Solution (pH 7.0 ± 0.2) Sodium Phosphate DiBasic (stock) buffer……………….60.0 ml. Potassium Phosphate Monobasic (stock) buffer…..…..40.0ml. **Check pH of this solution and document pH on the pH meter form. Phosphate Buffer-Triton X Solution Pour off 10 ml from the above solution; discard. Add 10 ml of the stock 10% Triton X solution and mix well. Buffer-Stain Working Solution Working Buffer- Triton X Solution………………..…….45.0 ml. (Save the remaining solution for rinsing; see Step 2 below). Stock Wright /Giemsa Stain………………………..….…5.0 ml. |  |  |  |  |  |  |
| Procedure | - Stain 2 thin (routine) smears according to Wright/Giemsa Procedure. - Stain 1 thick prep slide and 1 Malaria control slide according to the Modified Giemsa Procedure-Malaria (below) . DO NOT FIX PATIENT SLIDE. |  |  |  |  |  |  |
|  | Step | Action |  |  |  |  |  |
|  | 1 | Place the control slide and thick prep slide into the working Buffer-Stain Solution…………………. 50 minutes. *Keep the slides and solution covered during this step to prevent stain precipitation from forming on the smears. |  |  |  |  |  |
|  | 2. | Place slides directly into remaining working Buffer-Triton X Solution to remove excess stain……………………… 4 minutes *Do not overly agitate slides. Do not rinse slides in water after this step. |  |  |  |  |  |
|  | 3 | Drain off slides. |  |  |  |  |  |
|  | 4 | Air-dry in a vertical position, and coverslip with synthetic mounting media. |  |  |  |  |  |
|  | 5 | Label slides, finish QC, log it in QC log, and return slides to Hematology for review. Slides should be then routed to assigned pathologist. |  |  |  |  |  |
| Procedure Notes | This procedure was adapted from Detection of Parasites in Blood found in the Hematology manual. The control slides are available and purchased in a fixed state only. The patient thick prep is stained with Modified Giemsa unfixed; the red cells will lyse from the patient slide, but with little to no lysing of the control smear. (*see “Note” under Quality Control section of this procedure). |  |  |  |  |  |  |
| Interpretation/ Results/ Alert Values | If positive, thick smear should have extracellular and/or intracellular RBC/ WBC parasitic inclusions (blue). Control slide should demonstrate parasitic inclusions with minimal or no RBC lysis. |  |  |  |  |  |  |
| Result Reporting | Done by Hematology and Pathologist. Staining quality control documented by Histology staff on “blue sheet” QC form. |  |  |  |  |  |  |
| References | Hematology procedure manual: Detection of Parasites in Blood. 7/9/99 |  |  |  |  |  |  |
| Authorization |  |  |  |  | Signature |  | Date |
|  | Medical Director |  |  |  | Dennis Drehner DO |  | 6/3/09 |
|  | Revised & Approved by |  |  |  | Dragos Luca MD |  | 4/27/10 |
|  | Revised & Approved by |  |  |  | Peter Helseth MD |  | 5/10/12 |
|  | Medical Director |  |  |  | Megan Dishop, MD |  | 6/3/15 |
| Annual Review | Designee |  |  | Signature |  |  | Date |
|  | Technical Specialist |  |  | Dave Slinger |  |  | 6/3/09 |
|  |  |  |  | Dave Slinger |  |  | 4/27/10 |
|  | Pathology Assistant |  |  | Melissa Turner, PA |  |  | 5/10/12 |
|  |  |  |  | rev: M. Turner, PA |  |  | 6/3/15 |
|  | Histology Supervisor |  |  | rev: Prabha Chintapalli |  |  | 10/17/16 |