| Releasing Cardiac Tissues from Storage-TrackCore |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Purpose | This procedure provides instructions for releasing cardiac tissue from storage using the TrackCore system, |  |  |  |  |
| Materials | Equipment |  |  |  |  |
|  | - Barcode Scanner |  |  |  |  |
| Procedure |  |  |  |  |  |
|  | Step | Action |  |  |  |
| Releasing Cardiac Tissue from Storage | 1 | Surgeon will choose the homograft that will be used for surgical case. |  |  |  |
|  | 2 | Choose the correct homograft Certificate of Assurance paperwork from the file folder located in CVOR 1. |  |  |  |
|  | 3 | Proceed to the Cryo freezer room with the Certificate of Assurance paperwork and patient label |  |  |  |
|  | 4 | Log into the computer using your Children’s credentials. (CE# and password) If; Then. Log-in Successful; Proceed to step 5. Log-in Failed; Proceed to downtime procedure. |
|  | 5 | Log into TrackCore using your Children’s credentials. (CE# and password) If; Then. Log-in Successful; Proceed to step 6. Log-in Failed; Proceed to downtime procedure. |
|  | 6 | Search Cart Empty. If; Then. Yes; Proceed to step 7. No; Check the square upper left side corner of “Items Cart” and click shopping cart to clear the Search Cart.. |
|  | 7 | Scan barcode label on the Certificate of Assurance paperwork into the “add to Cart”. |  |  |  |
|  | 8 | Locate the location of the homograft in the freezer and remove graft from freezer. |  |  |  |
|  | 9 | Click “Release from Storage” button. |  |  |  |
|  | 10 | Either click the drop-down box or start typing name in the “Release to Staff” box. |  |  |  |
|  | 11 | Click the drop-down box “Release to Location” to choose the location of where the graft will be implanted. CVOR 1-Main room CVOR 2-Hybrid room |  |  |  |
|  | 12 | Scan patient’s MRN in the notes section. |  |  |  |
|  | 13 | Check “Verify All” if homograft passes all quality measures. |  |  |  |
|  | 14 | Click Save. |  |  |  |
|  | 15 | Log out of TrackCore and Computer station. |  |  |  |
| Alternate Procedure | TS 20.20 TrackCore Downtime |  |  |  |  |
| References | - TrackCore |  |  |  |  |
| Approval Workflow | Transfusion Service/Medical Director |  |  |  |  |
| Historical Record | Version |  | Written/Revised by: | Effective Date: | Summary of Revisions |
|  | 1 |  | S. Cassidy | 03/15/2017 | Initial Version |