| TrackCore Downtime Procedure |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Purpose | This procedure provides instructions for entry and removal of cardiac tissue during a TrackCore downtime. |  |  |  |  |
| Related Documents | TS 20.3 Entering Tissue into Inventory TS 20.18 Entering Tissue into Tissue Track Manager TSf 20.20.1 Surgery Kiosk Downtime logsheet |  |  |  |  |
| Procedure |  |  |  |  |  |
|  | Step | Action |  |  |  |
| Tissue entry during TrackCore downtime | 1 | Enter tissue into Sunquest and obtain bar code labels. |  |  |  |
|  | 2 | Verify ID# on second barcode with box containing tissue. |  |  |  |
|  | 3 | Secure barcode label to box containing tissue using Cryo laminate tape. |  |  |  |
|  | 4 | Return tissue to shipping container. Note: Must be returned to shipping container within 3 minutes |  |  |  |
|  | 5 | Place second barcode label on tissue paperwork. |  |  |  |
|  | 6 | Take tissue in shipping container and paperwork to surgery. |  |  |  |
|  | 7 | Put on jumpsuit and surgical cap prior to entering OR. |  |  |  |
|  | 8 | Place tissue(s) in canister E. - Lifenet tissues-place in vapors for storage. - Cryolife-place in vapors for at least 2 hour. |  |  |  |
|  | 9 | Write location of tissues and tissues numbers on a piece of paper and tape to kiosk. |  |  |  |
|  | 10 | Place tissue paper work in the mailbox outside freezer room |  |  |  |
|  | 11 | When TrackCore is operational, enter tissue into TrackCore and place the tissue into appropriate slot in freezer according to TS 20.18. |  |  |  |
|  | Step | Action |  |  |  |
| Removing tissue from freezer during TrackCore downtime | 1 | Choose tissue from tissue paperwork in the tissue binder. |  |  |  |
|  | 2 | Locate the tissue on the most recent Tissue Unit Inventory Report to find location of tissue. |  |  |  |
|  | 3 | Remove tissue from location. |  |  |  |
|  | 4 | Record removal of tissue on the downtime logsheet located in file folder |  |  |  |
|  | 5 | Notify Blood Bank that the tissue has been removed during the downtime. |  |  |  |
|  | 6 | Retain patient barcode and tissue barcode. |  |  |  |
|  | 7 | When TrackCore is operational, follow procedures to “Remove Tissue from Storage” tissue and assign to the appropriate patient using patient’s barcode label. (Blood bank) |  |  |  |
| Approval Workflow | Transfusion Service/Medical Director |  |  |  |  |
| Historical Record | Version |  | Written/Revised by: | Effective Date: | Summary of Revisions |
|  | 1 |  | S. Cassidy | 03/15/2017 | Initial Version |