6 MONTH --- SHIGELLA TYPING QUALITY CONTROL

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Date:** | **Group:** | **QC Organism:** | **Antisera Lot & Exp. Date:** | **+** | **-** | **Corrective Action & Initials:** |
|  | A | POS: S. dysenteriae  NEG: |  |  |  |  |
|  | B | POS: S. flexneri  NEG: |  |  |  |  |
|  | C | POS: S. boydii  NEG: |  |  |  |  |
|  | D | POS: S. sonnei  NEG: |  |  |  |  |

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Date:** | **Group:** | **QC Organism:** | **Antisera Lot & Exp. Date:** | **+** | **-** | **Corrective Action & Initials:** |
|  | A | POS: S. dysenteriae  NEG: |  |  |  |  |
|  | B | POS: S. flexneri  NEG: |  |  |  |  |
|  | C | POS: S. boydii  NEG: |  |  |  |  |
|  | D | POS: S. sonnei  NEG: |  |  |  |  |

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Date:** | **Group:** | **QC Organism:** | **Antisera Lot & Exp. Date:** | **+** | **-** | **Corrective Action & Initials:** |
|  | A | POS: S. dysenteriae  NEG: |  |  |  |  |
|  | B | POS: S. flexneri  NEG: |  |  |  |  |
|  | C | POS: S. boydii  NEG: |  |  |  |  |
|  | D | POS: S. sonnei  NEG: |  |  |  |  |

For POS QC, use the organism listed. For NEG QC use a different group of Shigella spp. (e.g. NEG for group D = group B). List the organism used. If a QC failure occurs, document observation, record corrective action, notify supervisor, and contact BD Technical Services.

QC Organisms: G45 - Group A (S. dysenteriae)

G43 - Group B (S. flexneri)

G44 - Group C (S. boydii)

G22 - Group D (S. sonnei)

Reviewed: Date:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Initials:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_