Children’s Hospital and Clinics of Minnesota

Minneapolis/St. Paul

Transfusion Service

**QUALITY CONTROL RESULTS OF ALARM CHECKS – REFRIGERATORS**

Site:\_\_\_\_\_\_\_\_\_\_\_\_\_

|  |  |
| --- | --- |
| QUARTERLY: | ACCEPTABLE RESULT: High temp alarm activator ≤ 5.5 C Low temp alarm activator ≥ 2.4 C for BB frig/1.5 C for surgery  |

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Date** | **Refrigerator** | **HIGH TEMP ALARM**display reading | **LOW TEMP ALARM**Display Reading | if accept or state corrective action | techinit. | Supv.Review |
|  | BB Refrig  |  |  |  |  |  |
|  | 2ND BB Refrig-Mpls |  |  |  |  |  |
|  | Surgery-Mpls |  |  |  |  |  |
|  | CVOR -mpls |  |  |  |  |  |
|  | BB Refrig  |  |  |  |  |  |
|  | 2ND BB Refrig-Mpls |  |  |  |  |  |
|  | Surgery-Mpls |  |  |  |  |  |
|  | CVOR -mpls |  |  |  |  |  |
|  | BB Refrig  |  |  |  |  |  |
|  | 2ND BB Refrig-Mpls |  |  |  |  |  |
|  | Surgery-Mpls |  |  |  |  |  |
|  | CVOR -mpls |  |  |  |  |  |
|  | BB Refrig  |  |  |  |  |  |
|  | 2ND BB Refrig-Mpls |  |  |  |  |  |
|  | Surgery-Mpls |  |  |  |  |  |
|  | CVOR -mpls |  |  |  |  |  |
|  | BB Refrig  |  |  |  |  |  |
|  | 2ND BB Refrig-Mpls |  |  |  |  |  |
|  | Surgery-Mpls |  |  |  |  |  |
|  | CVOR -mpls |  |  |  |  |  |