## Sheet1
Abbott Architect c4000/Alinity c Assay Flowchart
SUNQUEST TEST CODE | ABBOTT REAGENT CODE | SPECIMEN | STABILITY | AMR | UNITS | CRITICAL VALUES | MAXIMUM DILUTION | DILUENT | H | I | L | HIL COMMENT CODES | NOTES
ALB | AlbG | S,P | 60DRT/5MRF/3MFR | 0.4-10.5 | g/dL |  | !!
ALK | AlkP | S,P | 7DRT/7DRF/2MFR | 9 - 4555 | U/L |  | 1:4 Manual | saline
ALT | ALT | S,P | 3DRT/7RF/2MFR | c4: 6-4113 Alinity: 5-3899 | U/L |  | 1:5 Auto | onboard | * |  | @ | HP, LINT
AST | AST | S,P | 4DRT/7DRF/84DFR | 3 - 4202 | U/L |  | 1:5 Manual | saline | * |  | @ | HP, LINT
BHBB | BHOB | S,P | 1DRT/7DRF/1MFR | 0.02-4.5 | mmol/L |  | 1:3 Manual | H2O |  |  |  |  | (STP)
BUN | Urea | S,P | 7DRT/7DRF/1YFR | 3-125 | mg/dL |  | 1:5 Auto | onboard
CA | CaC | S,P | 7DRT/21DRF/8MFR | 2.0-24.0 | mg/dL | <6 .0- >14.0 | 1:2 Manual | saline |  |  | @ | LINT
CL | CL-C | S,P | 1WRT/1WRF/1YFR | 50-150 | mmol/L |  | !!
CREA | CrEnz | S,P | 7DRT/7DRF/3MFR | 0.10-40.00 | mg/dL |  | 1:2 Manual | saline |  |  | @ | LINT
CRP | CRP Vario | S,P | 15DRT/2MRF/3MFR | 0.02-32.00 | mg/dL |  | 1:5 Manual | saline |  |  |  |  | (STP)
DBIL | Bili D | S,P | 2DRT/7DRF/3MFR | 0.1-15.0 | mg/dL |  | 1:4 Manual | saline |  | X |  | HEMD, LINT
GLUC | Glucose | S,P | 2DRT/7DRT/3MFR | 5-800 | mg/dL | <50->300 S/P | 1:5 Auto | onboard
K | K-C | S,P | 1WRT/1WRF/1YFR | 1-10.0 | meq/L | <2.5->6.5 | !! |  | * |  |  | HP
LAMM | XLAM | [6 empty] | DFS |  |  |  |  | (STP)
LAMO | LTG | S,P | 7DRF/1MFR | 0.85 - 40.00 | ug/mL |  | 1:2 Manual | Calibrator A
LEVET | LEV | S,P | 7DRF/1MFR | 2.0-100.0 | ug/mL |  | 1:3 Manual | DFS |  |  |  |  | (STP)
MG | MAG | S,P | 7DRT/7DRF/1YFR | 0.60-9.50 | mg/dL | <1.2 , >6.6 | 1:2 Manual | saline
NA | Na-C | S,P | 2WRT/2WRF/1YFR | 100-200 | mmol/L | <124->156 | !!
PO4 | Phos | S,P | 1DRT/4DRF/1YFR | 0.7-25.3 | mg/dL | <2.0, >10.0 | !! |  | * |  |  | HP
TBIL | Bili Total | S,P | 2DRT/7DRF/3MFR | 0.3-25.0 | mg/dL | <1 day(>12) >1day(>15) | 1:5 and 1:10 Auto | onboard |  |  | @ | LINT
TCO2 | CO2 | S,P | 1HRRT | 5-50 | meq/L | <10->40 | !! | [5 empty] | (1)
TOPX | TPM | S,P | 7DRF/1MFR | 1.5-54.0 | ug/mL |  | 1:2 Manual | DFS |  |  |  |  | (STP)
TP | Total Prot | S,P | 7DRT/1MRF/2MFR | 0.8-18.4 | g/dL |  | 1:2 Manual | saline | * |  |  | HP
| SPECIMEN |  |  | DILUENT:
| S = Serum P = Plasma |  |  | onboard = instrument dilution only
DFS = Drug Free Serum or calibrator with drug concentration of zero.
STABILITY (S/P)
FR = Frozen RF = Refrig RT = room temp D=days W=weeks M=months Y=year !!=see package insert for more info
MAX DILUTION (Automatic or Manual)
| Manual: manual dilution only |  |  |  |  | !! | = do not dilute
| AUTO = Automated analyzer dilution only |  |  |  |  | - | = dilution not recommended
NOTE: At this time, HIL testing by the Abbott instruments is not yet in use. Visually inspect samples for hemolysis, icteremia and lipemia
HIL Interference = HEMOLYSIS, ICTERUS (BILIRUBIN), LIPEMIA
| H Interference Codes: |  |  |  |  | I Interference Codes: |  |  | L Interference Codes:
| HP - Hemolysis present, may affect results. |  |  |  |  | BIN - Bilirubin interference |  |  | LINT - Lipid interference
| SLH - Slight hemolysis | [7 empty] | SLI - Lipemia, slight
| MH - Moderate hemolysis |  |  |  |  | HIL numbers: |  |  | MODL - Lipemia, moderate
| GRH - Gross hemolysis, may interfere with testing |  |  |  |  | 1,2,3 | Slight |  | GL - Gross lipemia, interferes with testing
| HIN - Hemolysis interference |  |  |  |  | 4,5,6 | Moderate
| HEMD - Hemolysis present, may be decreased |  |  |  |  | 7,8 | Gross
| NOTES: | MIN = Performed in Minneapolis only. |  |  | STP = Performed in St. Paul only.
| 1. TCO2: | Results greater than 1 hour past uncapping must have -STBX appended to results
| * | Program visibly hemolyzed samples manually, placing HP in front of the barcode ID. When results cross interface, change barcode ID and add -HP
| @ | Moderately lipemic samples should be clarified by ultracentrifugation for these tests only. Program the sample manually to avoid results from autofiling
Add -LINT to appropriate results.
| X | Direct Bili >26 mg/dL causes decreased results. Append -BIN comment.