|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| MC 6.05 AST-YS09 Susceptibility Reporting Guidelines | | | | | |
| **Purpose** | This procedure provides instruction and guidance for requested testing and reporting of antimicrobial agents / organism groupings for the AST-YS09 Vitek card for patient testing. | | | | |
| **Principal and Clinical Significance** | The decisions for the most appropriate antimicrobial agents to test and report are made with input from Pharmacy, Infectious Disease and the Clinical Laboratory. The goal is to provide clinically relevant information that will decrease the chance of developing antibiotic resistance, harmful effects of inappropriate antimicrobial use and avoid reporting results that could adversely affect patient care. | | | | |
| **Policy Statements** | This procedure applies to Microbiologists who perform plate reading. | | | | |
| **Special Safety Precautions** | Microbiologists are subject to occupational risks associated with specimen handling. Refer to the safety policies located in the safety section of the *Microbiology Procedure Manual***.**   1. [*Biohazard Containment*](file:///G:\Lab%20Procedures\Microbiology\1NEW%20Micro%20Procedure%20Manual.%20(same%20as%20in%20Starnet)\MCVI%203%20Safety\MCVI%203.1%20Biohazard%20Containment.docx) 2. [*Biohazardous Spills*](file:///G:\Lab%20Procedures\Microbiology\1NEW%20Micro%20Procedure%20Manual.%20(same%20as%20in%20Starnet)\MCVI%203%20Safety\MCVI%203.4%20Biohazardous%20Spills.docx) 3. [*Safety in the Microbiology Laboratory*](file:///G:\Lab%20Procedures\Microbiology\1NEW%20Micro%20Procedure%20Manual.%20(same%20as%20in%20Starnet)\MCVI%203%20Safety\MCVI%203.2%20Safety%20in%20the%20Microbiology%20Lab.docx) | | | | |
| **Procedure** | 1. The AST-YS09 card follows CLSI guidelines and breakpoints. 2. Follow instructions provided in [MC 7.00 Vitek 2XL procedure](file:///G:\Lab%20Procedures\Microbiology\1NEW%20Micro%20Procedure%20Manual.%20(same%20as%20in%20Starnet)\MC%207%20Vitek2%20and%20Vitek%20MS\MC%207.00%20Vitek%202XL%20Procedure.docx) for card setup, use of the Vitek 2XL, maintenance and quality control. 3. Test isolates from sterile body sites, blood, body fluids and eyes. 4. Test isolates grown on appropriate media which includes:  * Columbia Sheep agar * Sabouraud Dextrose Emmons agar * Trypticase Soy Agar (TSA) * TSA with Sheep Blood * ChromID Candida  1. Test isolates incubated for **18-96 hours** and in an aerobic non-CO2 35º-37º incubator. 2. Prepare an organism suspension with a density of **1.80-2.20 McFarland**. 3. Send isolates to FU for antifungal agents not included on the YS09 card or have product or testing limitations listed on the following table. 4. Add comment code FUNDRG to notify physicians to call if additional antifungal agents are required, including amphotericin B. | | | | |
| **Antibiotics reported from card and Product /Testing Limitations** | |  |  | | --- | --- | | Antibiotic | Product or Testing Limitations | | Caspofungin | Perform alternate method for *Candida glabrata* with MIC 0.12 S, 0.25 I and 0.5 R | | Fluconazole | Perform alternate method on *Candida glabrata, Candida kefyr* and *Cryptococcus neoformans* | | Micafungin |  | | Voriconazole |  | | | | | |
| **Limitations** | 1. The ability of the AST card to detect resistance with following combinations is unknown because resistant strains were not available at the time of testing.  * Caspofungin: *Candida albicans, C. glabrata, C. guilliermondii, C. krusei, C. parapsilosis, C. tropicalis* * Micafungin: *Candida species* * Voriconazole: *Candida albicans, C. krusei, C. parapsilosis, C. tropicalis, C. lustitaniae, C. guilliermondii*  1. Isolates yielding Caspofungin MIC results suggestive of a “non-susceptible” category (≥2 µg/ml) should be submitted to a reference laboratory for further testing. 2. *Candida glabrata* isolates resistant to Micafungin should be submitted to a reference laboratory for further testing. | | | | |
| **Method Performance Specifications** | 1. Do not use the card after the expiration date shown on the package liner. 2. Store the card unopened in the package liner. Do not use the card if the protective package liner is damaged or if no desiccant is present. 3. Allow card to come to room temperature before opening the package liner. 4. Do not use powdered gloves. Powder may interfere with the optics. 5. Use clear plastic tubes only. | | | | |
| **Organisms claimed on AST-YS** | |  |  | | --- | --- | | **Yeast organisms claimed for AST-YS** | | | *Candida albicans* | *Candida krusei* | | *Candida ciferrii* | *Candida lipolytica* | | *Candida dubliniensis* | *Candida lustitaniae* | | *Candida duobushaemulonii* | *Candida norvegensis* | | *Candida glabrata* | *Candida parasilosis* | | *Candida guilliermondii* | *Candida pelliculosa* | | *Candida haemulonii* | *Candida rugosa* | | *Candida inconspicua* | *Candida tropicalis* | | *Candida intermedia* | *Candida utilis* | | *Candida kefyr* | *Cryptococcus neoformans* | | | | | |
| **References** | Vitek 2 AST-YS09 Yeast Susceptibility Card bioMerieux 2019/3  CLSI M100 edition 29 Performance Standards for Antimicrobial Susceptibility Testing 1/2019  CLSI M60 edition 2 Performance Standards for Antifungal Susceptibility Testing of Yeasts June 2020 | | | | |
|  |  | | | | |
| **Training Plan/ Competency Assessment** | **Training Plan** | | | **Initial Competency Assessment** | |
| 1. Employee must read the procedure. 2. Employee will observe trainer performing the procedure. 3. Employee will demonstrate the ability to perform procedure, record results and document corrective action after instruction by the trainer. | | | 1. Direct observation. | |
|  |  | | | | |
| **Historical Record** |  |  |  | |  |
|  | **Version** | **Written/Revised by:** | **Effective Date:** | | **Summary of Revisions** |
| 1 | Susan DeMeyere | 10/4/2021 | | Initial version |
|  |  |  | |  |
|  |  |  | |  |
|  |  |  |  | |  |  |  |
|  |  |  | |  |