SCD 312 Verification

Equipment Serial Number\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Biomed Number\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

In-Service Date\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Action/Procedure** | **Expected Result** | **Actual Result** | **Pass or Fail** | **Initials & Date** |
| * Turn on POWER switch. * After turning on the SCD the:   + Fan will start | Instrument turns on and fan starts. | Fan started  □ Yes □ No | □ Pass  □ Fail |  |
| Weld Integrity Inspection:   * Compare weld to those illustrated below.  1. No Misalignment is acceptable 2. Shows misaligned weld is not acceptable      * Pinch or roll tubing unit fluid pathways opens. * Check weld for leakage. | Weld looks like view A. | Weld is not misaligned  □ Yes □ No  Fluid Pathway Opens  □ Yes □ No  The weld does not leak  □ Yes □ No | □ Pass  □ Fail |  |

**Approval Signatures for SCD 312 Sterile Tubing Welder Operational Qualification:**

**Operational Qualification acceptable?**

**□ Yes □ No** If no, Describe father action to be take and by whom.

|  |  |
| --- | --- |
| Transfusion and Tissue Service Technical Specialist | Date: |
| Transfusion and Tissue Service Medical Director | Date |