## Sheet1
DiaSorin LIAISON XL | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
Remove QFTB from Incubator/Spin/Refrigerate
Day Shift 0700 - Initial when completed
Evening Shift 1500 - Initial when completed
Night Shift 2300 - Initial when completed
Day of Use
Check and Load Consumables and Reagents
Daily Clean Kit/Tool
Check: Extra Wash Buffer tank made up/degassed
QFTB (M/W/Fri) - add reagent & QC
QFTB (M/W/Fri) - Pt run & Remove reagent
Initials
Weekly
Prepare fresh cleaning solution
Run "Weekly Maintenance" task- Schedule Tab
System Shutdown
Clean Pipettor Probes
Restart Instrument and PC
Perform Database backup to USB flash drive
Date and Initials
As Needed | Only one lot of Starters is allowed on the analyzer at a time. Recalibrate all assays with new lot.
New Lot Starters in Use (record lot #, date, initials)
Date and Initials
Monthly
Instrument Cleaning: check for interior spills
Decontaminate DI H2O and Wash Buffer tanks
Date and Initials
Troubleshooting and Remedial Actions