|  |
| --- |
| **Lot Look Back in IH-Com**  |
| **Purpose** | This procedure provides instructions to print a list of samples tested using a particular reagent lot number. |
| **Procedure** |  |
|  | **Step** | Action |
|  | 1 | To display or print a list of reagent lots used select at test on the right side of the **RESULTS** window |
|  | 2 | Select **Lot Lookback** with the content menu. The **Lot Lookback** window opens. Reagent lots used for the selected test are displayed. |
|  | 3 | Select the required lot. |
|  | 4 | To search for a different lot, enter the lot number or the expiry date in the **Search** field and validate. Note: It is also possible to scan a reagent barcode. |
|  | 5 | Open the print preview window. Print or save the report. |
|  |  |
| **References** | 1. IH-Com User Manual NA V1.2-02/20221, Chapter D Section 3.8
 |
| **Approval****Workflow** | Transfusion Service/Lab Director |
|  |  |
| **Historical Record** | **Version** | **Written/Revised by:** | **Effective Date:** | **Summary of Revisions** |
| 1 | S. Cassidy | 02/17/2023 | Initial Version |