|  |
| --- |
| **Accepting Patient Results into Sunquest from the IH-Com Interface**  |
| **Purpose** | This procedure provides instruction for accepting results from the IH-Com interface into Sunquest |
| **Procedure** |  |
|  | **Step** | Action |
|  | 1  | Review patient results in the IH-Com and accept if the results are valid per procedure [TS 24.21 Validating and Editing Sample Results in IH-Com (childrenshc.org)](https://starnet.childrenshc.org/References/labsop/ts/instru/ts-24.21-validating-and-editing-sample-results-in-ih-com.pdf) |
|  | 2 | Enter Blood Order Processing by the patient sample CID number (preferred) or Accession number.  |
|  | 3 | Either click on “Load” to load results into Sunquest or click cancel to not load results. |
|  | 4 | Results will file. If QA failure is generated follow policy and procedures to investigate QA failure.**Note: You are unable to change reaction grids from instrument. However you can change the interpretation of the reactions but this will generate a QA failure that will need a comment of why you are changing the interpretation.**  |
|  | 5 | If you need to reject results for the instrument, click “Reject sample” above interpretation grid.  |
|  | 6 | Do an OFC (Online File Clean-up) to clear the interface results if needed.Method: IH5M (Mpls) and IH24S (STP) |
|  |  |
| **References** | Sunquest Users Manual, current edition |
| **Approval****Workflow** | Transfusion Service/Laboratory Director |
|  |  |
| **Historical Record** | **Version** | **Written/Revised by:** | **Effective Date:** | **Summary of Revisions** |
| 1 | S. Cassidy | 12/12/2023 | Initial Version |