## Slide 1: Body Iron/Bilirubin
Northside Hospital

## Slide 2: Iron
Average adult male 4 g of body iron; 65-75% in hemoglobin, 10% in myoglobin and other iron containing enzymes and proteins. Remaining 20-25% stored.
Average adult woman 2-3g of body iron; lower hemoglobin, smaller vascular volume, and small iron reserves.
Normally there are very small amounts of iron in most cells of the body, in plasma, and in other extracellular fluids.
  8 mg in “tissue iron compartment”:
    Tissue iron in porphyrin ring of heme proteins such as catalase, peroxidase, cytochromes,
    Tissue iron in iron-inorganic sulfur clusters such as NADH dehydrogenase, succinate dehydrogenase, aconitase and ferredoxin
  Myoglobin
  Approximately 2g are in the form of hemoglobin iron
  the labile iron pool” 80 mg – it exists but not know where
  In all of these proteins, iron interacts reversibly with oxygen and functions in electron transfer reactions, making it biologically indispensible

## Slide 3: Iron loss & recycling
The body conserves/recycles the iron
Less than 0.1% (1 mg) of iron is lost daily
  Normal skin epithelial cell shedding, GI and UA tract lining cells
  Absorption of 1 mg of iron daily is sufficient for men and postmenopausal women
  Pregnant/menstruating women lose more and need more.
“Only about 5-10% of the 10-15mg iron (as heme proteins, hemoglobin, and myoglobin in meat) taken in daily in a healthy N.A. diet is actually absorbed:
  in upper small intestine (duodenum)
  in Fe3+ state; must be converted to Fe2+ before it can enter the intestinal cell
  Transported into the cell by a DMT1 (divalent metal transporter)

## Slide 4: IRON TRANSPORT/ Absorption “Transferrin Cycle”
Iron is toxic to cells & biomolecules; thus, it travels through the body bound to specific proteins
Dynamic process; circulating iron pool turns over 10-20x/day, so average iron in plasma only 2 hours.
Plasma iron transport protein = apotransferrin
Apotransferrin –Fe3+ complex is called transferrin
  Binds to transferrin receptor- each of which has 2 binding sites for Fe3+
  Transferrin /receptor complex internalized into the endosome of the intestinal cell
    acidified, iron released from transferrin, and reduced to ferrous Fe2+
      Fe2+ transported into cell via DMT1 (divalent metal transporter) where iron is used for erythropoeisis, heme, etc or goes to the storage pool
      Apotransferrin back to the cell surface to do it’s job again

## Slide 5: Iron Absorption cont…
  Ingested iron into soluble solutions increase iron absorption
    Gastric acid and dietary components that form soluble iron chelates
      Ascorbic acid, sugars, amino acids
  Insoluble iron complexes decrease iron absorption
    Phosphates (eggs, cheese, milk)
    Oxalates and phytates (vegetables)
    Tannates (tea)
  Heme iron from meat and fish absorbed differently
    Released from polypeptide chain, heme is absorbed intact by the intestinal cell
    Porphyrin ring is split and iron is released
    More efficient than absorption of non-heme iron; not affected by dietary factors
  Most of the iron (20-25mg/day) comes from recycling iron from senescent RBCs
    Primarily in spleen
    Heme oxygenase breaks open the porphyrin ring, releasing the iron
    Macrophages transfer most of iron to transferrin -> BM
    RE system recycles

## Slide 6
The Normal Erythrocyte
EXTRAVASCULAR HEMOLYSIS
The major pathways of red cell destruction and hemoglobin degradation involving the Reticuloendothelial System . It takes place primarily in the Spleen.

## Slide 7: IRON STORAGE POOL- general
Iron Stored in macrophages as Ferritin and Hemosiderin:
Prussian Blue Dye – granules 1-2 um in diameter/light microscope
Ferritin – a protein shell (apoferritin) surrounding an iron core
Hemosiderin – is formed when ferritin is broken down in secondary lysosomes; end point of the intracellular storage iron

## Slide 8: FERRITIN
Found in nearly all cells of the body
Reserve of iron readily available for hemoglobin and other HEME proteins
  Hepatocytes of liver
  Macrophages especially spleen and BM
Non-ionized form (ferric oxyhydroxide crystalline core) so no oxidative damage
More in men (800mg) than women (200mg)
Minute quantities in serum normally
Soluble in aqueous solutions

## Slide 9: HEMOSIDERIN
Aggregated, partially deproteinized ferritin; insoluble in aqueous solutions
Like ferritin, found primarily in liver (1/3), BM(1/3), spleen and other tissues
Higher iron concentration than ferritin, but releases iron more slowly.

## Slide 10: Control of Iron Balance
Iron Balance is largely controlled by changes in absorption; body iron stores vs rate of erythropoiesis
  Efficiency of absorption can be increased by 3x or more
    Iron Deficiency, pregnancy, accelerated erythropoiesis in some anemias all stimulate increased absorption
  Absorption is reduced after large amounts of iron have been consumed (ex. dietary supplements, iron poisoning)
  Hepcidin – produced by liver in response to iron needs
    Binds with ferroportin to inhibit iron release
      Low levels of hepcidin promotes iron release into the circulation
      High levels of hepcidin restricts iron release into the circulation
When RBC destruction exceeds the rate of production, iron accumulates in storage pool.
When RBC production exceed destruction, iron is released from the storage pool
  Infection, inflammation, and malignancy interfere with the release of iron from macrophagesand may result in a drop in RBC production despite adequate iron stores

## Slide 11: Clinical Significance/Pathological Conditions
Iron Deficiency
Iron Overload – hemosiderosis & hemochromatosis
Abnormal distribution of iron; primary or secondary role
  Hyperferritienemia with cataracts
  Aceruloplasminemia
  GRACILE syndrome (gr retard, aminoaciduria, cholestasis, iron overload, lactacidosis, and early death)
  Neuroferritinopathy
  Atransferinemia
  Neurodegenerative diseases (Parkinson’s, Hallervorden-Spatz syndrome, & Alzheimer)

## Slide 12: Iron Deficiency
When iron intake falls below the amount needed for RBC production, iron stores become depleted, iron studies abnormal, and anemia develops
Develops in stages
  Prolonged negative iron balance -> depletion of iron stores; no stainable iron in BM
  Biochemical tests of iron metabolism then become abnormal
  Then a drop in hgb
  Red cells become micro/hypo; decreased MCV, MCH, MCHC; aniso, poikilo
One of the most common nutritional disorders of all ages and social strata
  Children – milk has a low iron content/increased demand
  Young women – chronic blood loss/childbearing 10% USA
  Older people
  2% of adult men USA – often GI tract bleeding
  Numbers much higher In pregnant women (increased demand) and low socioeconomic status
  Impaired absorption of iron after GI surgery, chronic diarrhea, or malabsorption

## Slide 13: Laboratory Tests for Iron Status
To distinguish iron deficiency from other causes of micro/hypo anemia
Tests for diagnosis of iron deficiency- none by itself superior and differing opinions on which combination works best.
  Hgb/RBC indices originally
  Staining of BM for iron – BM is invasive
  Serum Iron concentration - decreases
  Total Iron Binding Capacity = capacity of transferrin for iron- increases
  Transferrin Saturation = iron/TIBC is well decreased
  Serum Ferritin = reflection of iron stores – decreased * most reliable indicator of iron deficiency
  Free Erythrocyte protoporphyrin – increased, but not specific for iron deficiency
  Circulating transferrin receptor
  Reticulocyte hemoglobin values – Sysmex new parameter

## Slide 14: Lab Tests/Reference Range Kaplan p 759 table 39-2
Hemoglobin – 1 – WHO anemia <13 g/dl men, < 12 g/dl women – does not contribute to dx of hemochromatosis
Serum Iron- 3
  Males: 65-175 ug/dl
  Females: 50-170 ug/dl
Total Iron-Binding Capacity – 250-450 ug/dL
  UIBC (calculation) = (TIBC – IRON)
Transferrin Saturation (calculation):- 4
  ISAT = 100 (IRON/TIBC)
Serum Ferritin - 2
  Males 26-388 ng/mL
  Females 8-252ng/mL

## Slide 15: Iron Overload
Hemosiderosis
  Iron overload without associated tissue injury
  Occurs locally in sites of bleeding or inflammation
  May be widespread in patients given large amounts of iron as medication or as blood transfusions
Hemochromatosis
  Body accumulates large amounts of iron leading to organ impairment and damage

## Slide 16: Iron Overload –Hemochromatosis
Hereditary Hemochromatosis/ Primary Hemochromatosis /Classic
  Inherited abn of proteins that regulate iron hemostasis – 80% HFE protein (C282Y mutation); 20% other mutations
    Autosomal recessive, N. European descent 10% (0.3% homozygous)
      Not all homozygotes have full blown disease
      Men > women (menstrual loss/pregnancy)
      Symptoms not usually apparent until 40 yrs
    May absorb a healthy amount of iron in diet but deposited directly to parenchymal cells of the liver, pancreas, heart, and other organs. It accumulates for years resulting in tissue damage and ultimately organ failure (20 g iron limit)
      Liver enlarged -> cirrhosis -> liver CA
      Pancreas islet cells-> Diabetes
      Increased melanin & iron in the skin ->Increase in skin pigmentation ; bronzing of the skin
      Cardiac -> CHF or arrythmias
      Iron in pituitary gland -> testicular atrophy due to decrease gonadotropins
      Joints -> arthritis
–

## Slide 17: Iron Overload –Hemochromatosis
Juvenile Hematochromatosis
rare, ressembles hereditary clinically but occurs at a much younger age
  More endocrine and cardiac involvement
Secondary Hemochromatosis - acquired
  Blood transfusions and diet -> excess iron in RE cells of the liver, spleen, and BM
  As iron load increases, the distribution changes -> parenchymal cells of liver, pancreas, heart, and other organs.
  Clinical picture then ressembles the hereditary hemochromatosis
  May be a complication of anemias with ineffective erythropoiesis; iron absorption is increased and patients treated with multiple blood transfusions
    Thalassemia major (B- Thal most common),
    acquired MDS,
    Sideroblastic anemias (def of D-ALA synthase),
    congenital dyserythropoietic anemia,
    RBC enz def such as PKU
  Alcoholics with chronic liver disease may develop an increase in iron stores (if massive overload probably genetic hemochromatosis).
  Medicinal iron supplements do not, on their own, cause hemochromatosis

## Slide 18: Serum Iron - general
fluctuates, even with healthy individuals
  Momentary imbalances of iron inflow and outflow
  Diurnal variations – decrease in the evening
  Day to day variations significant
  Therefore, a single serum iron is not useful
    Interpret in combination with other iron studies

## Slide 19: Serum Iron Test Principle
  Fe3+ Iron released from transferrin:
  decreasing the pH using ascorbic acid reduces Fe3+ to Fe2+)
    Fe3+ - transferrin -> Fe3+ + transferrin
    2Fe3+ + ascorbic acid -> 2 Fe2+ + dehyrdroascorbic acid + 2H+
  Complex with a chromogen
    Bathophenanthroline
    Ferrozine* (Ferene used at WHC with thiourea (carcinogenic) added to minimize the interference of copper)
      Fe2+ + 3 Ferene -> Fe2+ - Ferene3 complex (absorbs at 600nm)
      Such iron-chromogen complexes have an extremely high absorbance at the appropriate wavelength (which is proportional to iron concentration )
    The absorbance of the complex is directly proportional to the concentration of transferrin-bound iron ( in Fe3+) in the sample; it does not include the iron contained in serum as free hemoglobin
    Bichromatic endpoint technique (600/700 nm)

## Slide 20: Serum Iron- abnormal values
Decreased serum iron:
  in many (not all )iron deficiency anemias
  chronic inflammatory disorders such as acute infection, immunization,
  MI
Increased serum iron:
  Iron-loading disorders (ex. hemochromatosis)
  Aplastic anemia
  Acute iron poisoning in children
  After ingestion of iron medication (oral or parenteral)
  Acute hepatitis

## Slide 21: Serum TIBC & unsaturated IBC
Measures the max amount of iron that serum proteins can bind; indirectly assess transferrin levels
Add sufficient Fe3+ to saturate iron binding sites on transferrin
Excess Fe3+ is photometrically determined (instead of removal)
Assay for serum iron repeated
From this measurement, the TIBC is obtained; the maximum conc of iron that transferrin binds
Normally, 1/3 of the iron-binding sites of transferrin are occupied by Fe3+. The other 2/3 is a reserve or unsat’d IBC
TIBC is often increased in iron deficiency and decreased in chronic inflammatory disorders or malignancies, and hemochromatosis

## Slide 22: Transferrin Saturation
Transferrin Saturation (%) = 100 x (serum iron/TIBC)
  Low serum iron/high TIBC = low transferrin saturation
    Pregnancy and chronic disease
  High transferrin saturation
    Iron overload/hemochromatosis *
    Thalassemia major
    Sideroblastic anemia
    Acute iron poisoning
  Transferrin can also be directly measured by immunoassay
Serum Iron, TIBC, and Transferrin Saturation should be reported and evaluated together.

## Slide 23: Serum Ferritin
A small amount circulates as iron-free apoferritin
  In equilibrium with tissue iron stores, and usually refects the amount of storage iron
  Low in iron deficiency
    Drops early, before serum iron and transferrin saturation
Increase in Ferritin may be first indication of iron overload
Damaged tissues in hepatitis, acute inflammation, and a variety of tumors also significantly increase the serum ferritin
    False indication of iron overload
    Mask iron deficiency

## Slide 24: Serum Ferritin Test
Ferritin method is a homogeneous, sandwich chemiluminescent immunoassay based on LOCI technology.
  2 synthetic beads
    1st bead reagent (Sensibeads) is coated with streptavidin and contains a photosensitizer dye.
    2nd bead reagent (Chemibeads) is coated with a second anti-ferritin monoclonal Ab and contains a chemiluminescent dye
  Biotinylated anti-ferritin monoclonal antibody fragment.
Sample is incubated with biotinylated Ab and Chemibeads to form a particle/ferritin/biotinylated Ab sandwich
  Sensibeads are added and bind to the biotin to form bead pair immunocomplexes.
  Illumination of the complex at 680nm generates singlet oxygen from Sensibeads, which diffuses into the Chemibeads , triggering a chemiluminescent reaction.
  The resulting signal is measured at 612 nm and is a direct function of the ferritin concentration in the sample.

## Slide 25: Free Erythrocyte Protoporphyrin
In normal HEME synthesis, small number of protoporphyrin molecules bind Zn 2+ instead of Fe 2+ to produce zinc protoporphyrin which circulates in the mature rbc
Increase in Zn Protoporphyrins
  In iron deficiency (absolute lack of iron)
  chronic disease (impaired utilization of iron)
  lead poisoning – large increases of Zn protoporphyrin
  Protoporphyria (hereditary deficiency of ferrochelatase) – very high levels of Zn protoporphyrins
Measuring Zn Protoporphyrins – not specific for iron status but used as screening in children
  Measured as FEP (free erythrocyte protoporphyrin)
  Measured as (ZnPP/H) Zinc protoporphyrin:heme ratio (1 drop of blood)

## Slide 26: Testing Interferences – Serum Iron, TIBC, transferrin
Serum Iron
  Recommended serum sample, complete clot formation before centrifugation, cells & serum separated with max of 2 hrs after collection. Good for 4oC for up to 7 days and may be frozen at -20oC for up to 6 months.
    EDTA, chelator of metal ions – do not use
    Sodium citrate, or combination of potassium oxalate and sodium fluoride- do not use.
  Hemolysis – little effect because hgb iron is not released from heme by acid treatment
  Marked hemolysis – some iron may be released from hemoglobin – should not be used.
Diurnal variation – N in am, low mid afternoon, very low near midnight

## Slide 27: Testing Interferences – Serum Iron, TIBC, transferrin cont….
TIBC
  May be inaccurate if performed within 14 days of IV iron dextran administration
  Ferrous sulfate at 250 ug/dl increases TIBC results by 17%.
  Hemoglobin at 200 mg/dl increases TIBC results by 13% at TIBC concentrations of 416 ug/dl
Serum Ferritin
  Recommended serum sample, complete clot formation before centrifugation, cells & serum separated with max of 2 hrs after collection. Good for 4oC for up to 7 days and may be frozen at -20oC for up to 6 months.
  Avoid using grossly hemolyzed samples.

## Slide 28
 | Normal Range | Iron Def. | ACD | Thal trait | Sidero- Blastic anemia | Hemochrom-atosis | 
Serum Iron ug/dl | 65-75men 50-175 women | DEC | DEC | Norm | INCR | INCR | 
TIBC ug/dl | 250-450 | INCR | DEC | Norm | Norm | DEC | 
Transferrin Saturation % | 20-50men 15-50 women | DEC | DEC | Norm | INCR | INCR | 
Serum Ferritin ug/L | 20-250men 10-120 women | DEC | Norm or INCR | Norm | INCR | INCR | 
Free Erythrocyte Protoporphyrin ug/L | 170-770 | INCR | INCR | Norm | Norm or INCR | Norm | 

## Slide 29: Bilirubin
Orange-yellow pigment from senescent RBCs biotransformed in the liver, and excreted in bile and urine.
Tetrapyrolle
  Insoluble in water
  Soluble in several non-polar solvents
  Cis and trans isomers
    When exposed to light, trans -> cis, more water soluble
    Basis of light treatment for neonates with sign clin jaundice; to reduce plasma unconjugated bilibrubin concentrations

## Slide 30: Bilirubin cont…
Biochemistry:
  85% of senescent RBCs catabolised this way
  by the RE system of the liver, spleen, and Bone Marrow; remaining 15% from other heme-containing proteins such as myoglobin, cytochromes, peroxidases.
  Protoporphyrin IX catabolised by enz. heme Oxygenase
  Tetrapyrolle ring opened at the a-methene bridge -> green pigment biliverdin,
  Biliverdin is reduced to unconjugated pre-hepatic bilirubin by biliveridin reductase
  For each mole of heme catabolised this way, one mole each of carbon monoxide, bilirubin, ferric iron is produced
  Ave 250-300 mg

## Slide 31: Bilirubin cont..
Bilirubin bound to albumin
Transported to the liver
Dissociates from the albumin at the hepatocyte membrane
  Inside the liver cells, bilirubin becomes reversibly bound to soluble proteins known as ligandin or protein Y
  Rapidly conjugated by g Microsomal enz, bilirubin UDP – glucuronyltransferase to produce the conjugated direct bilirubins: monoglucuronide and diglucuronide which are then excreted into the bile.
  In the intestines, B-glucuronidase from the liver, intestinal epithelial cells, and bacteria, hydrolyze the bilirubin glucuronides.
  Reduced by intestinal flora to three colorless tetrapyrolles collectively known as UROBILINOGENS.
    Stercobilinogen
    Mesobilinogen
    Urobilinogen
  Some of the urobilinogens are reabsorbed from the intestine, taken up by the liver , and rexcreted in the bile.
  A small fraction enters the general circulation and appears in urine.
  In the lower intestinal tract, the 3 urobilinogens are oxidized to the corresponding bile pigments which are orange brown and the major pigments of stool
    Stercobilin
    Mesobilin
    urobilin

## Slide 32
The Normal Erythrocyte
EXTRAVASCULAR HEMOLYSIS
The major pathways of red cell destruction and hemoglobin degradation involving the Reticuloendothelial System . It takes place primarily in the Spleen.

## Slide 33: Bilirubin cont…
Clinical Significance:
  Defects in bilirubin metabolism results in Jaundice
  Such defects are known to occur at each step in the metabolic pathway
    Elevations in either conjugated or unconjugated bilirubin in the absence of other abnormal liver tests
    Only time bilirubin fractionation is clinically useful
    familial hyperbilirubinemia
    hemolysis
Disorders – Classification:
  Inherited disorders
  Jaundice of the newborn

## Slide 34: Bilirubin – Inherited Disorders
Gilbert Syndrome
Crigler-Jajjar(Type 1)
Crigler-Jajjar (Type II)
Lucy- Driscoll
Dubin-Johnson
Rotor Syndromes

## Slide 35: Gilbert Syndrome
Benign
Mild increase unconjugated bilirubin
  3-5% of population
  Autosomal recessive
  Serum conc of bilirubin fluctuates between 1.5 and 3 mg/dL (26-54 umol/L) and increases with fasting
  Easily distinguished from chronic hepatitis; no anemia, no bilirubin in urine, and normal liver function tests.
  No treatment

## Slide 36: Crigler-Jajjar(Type 1)
Rare
Complete absence of UDP-glucuronyltransferase
High concentrations of unconjugated bilirubin (25-50 mg/dl)
Autosomal recessive
Kernicterus (encephalopathy due to increased bilirubin leading to permanent brain damage) within 1st year of life
Phlebotomy and plasmapheresis reduce the serum bilirubin but early liver transplant is the only effective therapy.

## Slide 37: Crigler-Jajjar (Type II)
Rare
Autosomal dominant
Partial deficiency of UDP-glucuronlytransferase
Unconjugated bilirubin in 5-20 mg/dl (85-340umol/L
Treatment – phenobarbitol – good response and normal life

## Slide 38: Lucy- Driscoll Syndrome
Familial
Mild unconjugated hyperbilirubinemia
  Lasts first 2-3 weeks of life
Circulating inhibitor of bilirubin conjugation

## Slide 39: Dubin-Johnson and Rotor Syndromes
Both -Benign
Both -autosomal recessive
Both -Jaundice due to elevated conjugated bilirubin with a minor elevation of unconjugated bilirubin
Dubin-Johnson syndrome has a black pigment in the liver but Rotor syndrome does not.