## Slide 1: Proficiency Testing

## Slide 2: WHY DO WE DO IT?
GOOD LABORATORY PRACTICES
Develops confidence in the accuracy and reliability of results
CAP requirement

## Slide 3: HOW OFTEN?
PROFICIENCY TESTING EVENTS
THREE TIMES A YEAR for regulated analytes (minimum of 5 samples)
Unregulated analytes usually have fewer challenges, fewer samples per challenge
FOR TESTS WITH NO COMMERCIAL SURVEYS AVAILABLE
Alternate method (such as Split Testing) will be performed at least every 6 months

## Slide 4: Do I test my PT samples any differently than I test patient specimens?
PT samples must be tested following routine patient testing procedures.
Perform in singlicate unless duplicate testing is routinely done on patient samples.
PT samples should be rotated among testing personnel.

## Slide 5: On-Line Submission Pre-Approval Checks
Ensure testing personnel have signed the attestation form.
Ensure the director or designee (supervisor or technical specialist) have signed the attestation form.
Verify test, instrument, method and reagent codes and units of measure are correct.

## Slide 6: May I discuss my PT results with another laboratory?
PNHS staff who perform, or are involved with any part of a PT survey, cannot be involved with the same PT survey at another site.
For clinic sites, managers, technical specialists, supervisors, and medical directors may not participate in proficiency testing at any lab.
For Methodist Hospital, managers, technical specialists, supervisors, and medical directors may perform PT only at Methodist Hospital lab, and may not participate in or discuss PT procedure at any other lab.

## Slide 7: May I discuss my PT results with another laboratory?
Proficiency testing samples cannot be used for competency or internal educational procedures or be sent to another lab until after the deadline for submission of data has passed.
Any lab receiving PT materials from another lab or addressed to another lab should contact the medical director.

## Slide 8: HOW ARE RESULTS EVALUATED?

## Slide 9: PT Event Evaluation What Should You Review?
Determine whether any deficiencies are identified, including failures, bias and trends
Evaluate educational and ungraded challenges by documenting Satisfactory or Unsatisfactory

## Slide 10: PT Event Evaluation What Should You Review?
For PT challenges that were intended to be graded, but were not, for reasons such as:
the laboratory submitted its results after the cut-off date
the laboratory did not submit results
the laboratory did not complete the result form correctly
evaluate and devise an alternate method of proficiency testing.

## Slide 11: PT Event Corrective Action
If deficiencies are identified, contact supervisor, technical specialist and/or Medical Director.
All PT failures whether graded, ungraded or educational, must have documentation of corrective action.

## Slide 12: Do I need to keep records of my PT testing?
Yes, general laboratory must keep a copy of all PT records, including corrective actions, for a minimum of two years from the date of the PT event. Blood Bank retains records for 5 years.