Clinical Laboratory

| SECTION: SPECIMEN COLLECTION / SPECIMEN PROCESSING |  |
| --- | --- |
| DOCUMENT TYPE: Procedure |  |
| TITLE: Throat Swab Collection |  |
| APPROVED BY: Medical Director | DOCUMENT #: 5.0807.4 |
| WRITTEN BY: Charlotte Yuza | EFFECTIVE: 4/20/10 |
| SCOPE: All OMC Laboratories | COMPLEXITY: NA |

Purpose:

To describe the technique for throat swab collection.

Policy:

Properly trained staff with documented competency may perform the procedure.

Supplies:

- Transport Swab (rayon-tip or dacron-tip swabs with solid plastic shafts, or as specified by test procedure)

- Tongue blade (optional)

Procedural Notes:

- The swabbing should be done very quickly by rotating the swab in a circular motion while swabbing the throat.

- Rotating the swab assures that all areas of the swab contain the specimen.

- Avoid contact with lips, teeth, palate, cheeks and tongue.

- The patient may gag, however, a gentle swabbing does not provide a satisfactory specimen.  This is especially important when rapid antigen detection kits are used, since there is no way to gauge the quality of the specimen.

- With a culture, a result of “no growth” indicates that the specimen was not satisfactory since the growth of normal flora is expected.

Test Specimen Collection Chart:

| Test | Test code | Description | Type of swab | Storage requirements | Specimen requirements |
| --- | --- | --- | --- | --- | --- |
| B. Pertussis | 80910 | PCR | Orange capped w/charcoal media | Refrigerate | Nasopharyngeal swab only- Providers to collect |
| Rapid Strep | GRPAR FCSTA | Antigen | Puritan Polyester swab (plastic shaft, no media) | Room temp. | None |
| Throat Culture | GRACM | Culture | Puritan Polyester swab (plastic shaft, no media) or Yellow capped- modified Stuart’s media or Amies media | Room temp. | None Puritan swab- Plate within 30 minutes of collection |
| Influenza A&B | RIAB FCRI | Antigen | Clear capped foam- no preservatives or media | Room temp. | Nasal specimen preferred |
| Viral / Herpes | VRESP | Culture | Yellow, green capped modified Stuart’s media | Refrigerate | None |
| Fungal Culture | FGEN | Culture | Yellow capped- modified Stuart’s media or Amies media | Refrigerate | None |
| RSV | RSVO | Antigen | Green capped, modified Stuart’s media | Refrigerate | Nasopharyngeal swab only- Providers to collect |

Procedure:

- Assemble needed supplies.

- Identify the patient. Ask for their full name and date of birth.

- Explain the procedure to the patient.

- Position the patient to provide visualization of the pharyngeal area.

- Depress the patient’s tongue completely with a tongue blade.

  - It helps to ask the patient (especially a child) to say “ahh” or “ehh” (as in less).

- Using the appropriate swab, start at one side of the throat.

  - Thoroughly swab the tonsils, and back of the throat.

  - Be sure to swab any areas exhibiting redness, inflammation or pus.

- Withdraw the swab.

- Place swabs into the media transport tube.

- Label specimen with:

  - Two patient identifiers (LIS label, or handwritten)

  - Collector’s identification

  - Time and date of collection

- Transport specimen to testing areas.

References:

Stepp, Craig, and Woods, MaryAnn. Laboratory Procedures for Medical Office Personnel. 1st. Philadelphia: W.B. Saunders Company, 1998.

CAP/COLA Standards:

GEN.40490		Patient identification

GEN.40491		Specimen labeling

PRE 12  		Written procedure for collection, handling, transportation, and storage of specimen

PRE 14  		Special tests- containers with proper preservatives provided to patient

PRE 16  		Patient Identification

PRE 17  		Specimen Labeling

| Approved by | Date | Reviewed by | Date | Revision |
| --- | --- | --- | --- | --- |
| Dr Bradley Karon | 4/2/05 | C Yuza | 4/2/05 | New document |
| Dr Bradley Karon | 12/5/06 | C Yuza | 12/5/06 | Patient identification, labeling, spelling correction |
| Dr Durga Vege | 1/31/08 | C Yuza | 1/31/08 | Updated CAP, COLA procedures, Revised test codes |
| Dr Durga Vege | 4/15/09 | C Yuza | 4/15/09 | Updated Logo, Amended Rapid Strep swabs, Removed Red capped swabs from chart |
| Dr Durga Vege | 4/20/10 | C Yuza | 4/20/10 | Added RSV to specimen chart. Annual review, updated format |
| Dr Durga Vege | 4/19/11 | C Yuza | 4/13/11 | Annual review |
| Dr Durga Vege | 5/23/12 | C Yuza | 4/25/12 | Annual review |

Similar Procedures (Specify title of procedure and other OMC location(s) used if applicable)

Rapid Strep A Test: OSOM Strep A+ Procedure

Attachments:

Collection Swabs / Culture Transport Devices