Clinical Laboratory

| SECTION: Microbiology |  |
| --- | --- |
| DOCUMENT TYPE: Policy |  |
| TITLE: Media: Inspection and Storage Requirements |  |
| APPROVED BY: Medical Director | DOCUMENT #: 10.0310.6 |
| WRITTEN BY: Charlotte Yuza, MLT | EFFECTIVE: 8/23/2012 |
| SCOPE: All Laboratories | COMPLEXITY: NA |

Purpose:

To describe the process for proper handling, storage, and inspection of media prior to patient testing.

Policy:

All media is inspected for damage and contamination upon receipt and prior to patient testing.

Suppliers:

Hospital Microbiology:

Remel supplies BAP, SBA, EMB, Chocolate, MTM (Thayer Martin) MacConkey II, Campy

CVA, CIN, HE, Selenite,Thioglycollate, TSI, Urea, LIM broth, Mueller-Hinton broth, CDC Anaerobe KV, CDC, Anaerobe 5% SBA, T-soy with 20% glycerol, and T-soy agar slants.

Becton Dickinson supplies Blood Culture Bottles.

BioRad supplies MRSA Select.

Procedure:

- Media is delivered bi-weekly to the Microbiology Laboratory.

- BAP and EMB media is sent to the SE Clinic Laboratory, as needed.

- SE Clinic fills media orders for the Branch Clinics.

2.	New lots and shipments of media are inspected for:

- Breakage

- Visible Contamination

- Appearance (smooth, hydrated, appropriate color and thickness)

- Freezing or overheating

3.	Lot numbers and expiration dates of media are recorded upon receipt and when placed into use.

4.	Microbiology Laboratory performs sterility checks and QC on all new lots and shipments of media, as required.

- All nonexempt media listed in the CLSI M22-A3 is checked for performance upon receipt and prior to patient testing.

- Media performance testing is done on CVA, MTM, MH broth, MaC, Chocolate, and MRSA agar.

5.	Plates are kept wrapped in plastic sleeve until used.  The received date is documented on the media plastic sleeve wrapper.

6.	Media is stored in the refrigerator according to recommended manufacturer’s instructions.

- Plates are brought to room temperature before use.

- Blood culture bottles are stored at room temperature.

Procedural Notes:

- If any of the above conditions (#2 above) are identified, document on the QA log, and discard the affected plates.

- Call and report any defects to the Microbiology Laboratory.

  - Microbiology Laboratory will report all defects to the manufacturer.

3.	Hospital Microbiology Department performs required lot and sterility checks on new media shipments and lot numbers before dispensing to Branch Clinic or SE Clinic Laboratories (Chocolate, MTM- Thayer Martin, and Thioglycollate).  A copy of the packing list is placed in the media book.

4.	Each lot of media is tested by Fisher/BBL and meets product specifications and CLSI standards where relevant. See BBL Quality Control Product Information.

- To cancel or change a shipment of media: contact information is posted in the Media Standing Order Book at Hospital.

6.	Laboratory Supervisor or designee reviews the media quality control logs monthly.

References:

OMC Microbiology Quality Control Reagents and Tests 10.0321

OMC Media Performance Testing for Non-Exempt Media 10.0311

CAP/COLA Standards:

CAP LSV.45330

CAP MIC.21200	Media Supllier

CAP MIC.21220	Media Visual Inspection

CAP MIC.21240	Media QC-Purchased

CAP MIC.21420	Visible examination of media

COLA	M 5 	Documentation of media shipment- sterility

COLA 	M 6	Visual Inspection of Media

COLA	M 7 	Reporting of substandard or deteriorated media to manufacturer

| Date | Approved by | Reviewed/Revised by | Revision |  |
| --- | --- | --- | --- | --- |
| 2/9/05 | Medical Director | Charlotte Yuza | New document |  |
| 12/1/06 | Dr Bradley Karon | Charlotte Yuza | New document format, included COLA standards |  |
| 11/2007 | Dr Durga Vege | J Vaughan | No changes |  |
| 9/2008 | Dr Durga Vege | J Vaughan | Added order cancellation information |  |
| 1/2009 | Dr Durga Vege | C Yuza | Updated COLA standards |  |
| 2/2/2009 | Dr Durga Vege | Jackie Koranda | Added hospital to procedure |  |
| Approved by | Date | Reviewed/Revised by | Date | Revision |
| Dr Durga Vege | 1/25/10 | C Yuza | 1/15/10 | Update format, revised Main Clinic verbiage to SE Clinic. |
| Dr Durga Vege | 1/11/11 | C Yuza | 1/5/11 | Annual review |
| Dr Durga Vege | 2/15/12 | C Yuza | 2/1/12 | Annual review |
| Dr Jeremy Gibson | 8/30/2012 | J Vaughan | 8/23/2012 | Updated procedure- all media ordered from Hospital; updated Reference & CAP Standards |
|  |  | J Vaughan |  | Updated Suppliers |

Similar Procedures (Specify title of procedure and other OMC location(s) used if applicable)

Media Performance Testing of Nonexempt Media 10.0311

Attachments:

Media Integrity Inspection QC sheet 10.0310-a.1

EMB/BAP Lot Number Documentation Log 10.0310-c.1