Clinical Laboratory

| SECTION: GENERAL INFORMATION |  |
| --- | --- |
| DOCUMENT TYPE: Procedure |  |
| TITLE: Laboratory Daily Operational Tasks |  |
| APPROVED BY: Laboratory Supervisor, or Medical Director | DOCUMENT #: 1.0157.9 |
| WRITTEN BY: Charlotte Yuza, MLT (ASCP) | EFFECTIVE: 1/21/13 |
| SCOPE: Branch Clinic Laboratories |  |

Purpose:

To outline tasks pertaining to the daily operation of Branch Clinic Laboratories.

Policy:

All operational tasks must be performed daily and documented.

Startup:

- Start up the computer(s).

- Clock in using E-time.

- Turn on or bring the following instruments up out of standby, verify correct date and time on QC printouts:

  - Clinitek Status

  - Centrifuge

  - ITC Protime

  - Sysmex KX-21

  - Chemistry analyzers: Hemocue,  Piccolo (as applicable)

- Allow the following to stabilize to room temperature (approximately 20 minutes):

  - Quality Control (do not allow controls to remain at room temperature for more than 40 minutes)

- Urine Quality controls

- Hematology controls

  - Media Plates:

- Several EMB and SBA agar plates enough for approximately one of day use.

- Quality Control:

- Perform, document, and enter daily quality control, including temperatures.

- Troubleshoot and document out of range controls and instrumentation error codes.

- Perform any necessary maintenance and / or calibrations document action(s) on QC sheets.

- Review QC from prior day(s)

- Review the Specimen Pending list

- Reconcile the list- resolve any discrepancies.

- If a specimen is lost then contact the receiving Laboratory.

- Sign and date after reconciliation. Store list with completed requisitions.

Throughout the Day:

- Accurately perform patient specimen collection, testing, processing and resulting.

- Maintain patient confidentially:

- Minimize screens, close sessions of IC chart, LIS, RIS, when not at computer terminals.

- Keep patient information out of general view, discard labels, close / cover test worksheets.

- Upon opening of any reagent, control, kit, etc.

- Document open date on container or package, and QC sheets.

- Perform lot cross checks as required.

- Communications: read correspondence and sign if necessary:

- Policies, procedures, memos, e-mails, and communication tools

- Read interoffice mail, meeting agenda’s for preparation, and calendar

- Use and comply with safety policies and usage of safety devices, which includes but not limited to:

- No food or drink in the lab

- Fluid resistance lab coats/jackets

- Gloves

- Blood transfer devices

- Other phlebotomy safety devices

- Lab supplies as necessary:

- Restock

- Order

- Monitoring to include reports:

- Pending reports both in-house and reference laboratory testing.

- Phlebotomy status for order entry errors, and specimen tracking

- Call List for faxing reports

- Ic chart worklist:

  - Review completed lab sticky notes and remove from the lab’s IC chart worklist

  - Reconcile any messages from provider to lab staff in a timely manner.

Shutdown:

- Put instrumentation into shutdown mode: (if applicable)

- Sysmex KX-21

- Piccolo,  Hemocue

- ITC ProTime – unplug over weekends

- Clinitek Status

- Perform microscope cleaning.

- Turn off: (if applicable)

- Clinitek

- Centrifuge

- Microscope

- Review QC

- Ensure all QC has been documented for the day

- Document as appropriate any testing that wasn’t performed during the day on patients.

- Review Manual testing worksheets (red checking process)

- Put away any:

- Unused supplies, including unused media plates

- Manual patient testing worksheets, tracking lists, pending reports, or any visible patient information

- Orders entered for the day

- Send any Nursing home, or Non-OMC orders to be scanned into the Electronic Medical Record.

- Clean or disinfect all counters, the sink, phone and the phlebotomy chair.

- Remove or replace:

- Tourniquet

- Biohazard containers

- Document any communication that needs to be communicated to the staff that works tomorrow.

- Closing computer information:

- Clock out using E-time.

- Log off computer and restart it.  (This allows any upgrades to be tested remotely via the IT department.)

- Turn off the monitor only.  (Prevents burning the screensaver image onto the screen.)

References:

COLA	Standards

PER 4	Laboratory Personnel fulfill responsibilities

ORG7	Patient Confidentiality

| Date | Approved by | Revised by |  | Revision |
| --- | --- | --- | --- | --- |
| 4/1/2005 | Laboratory Director | C. Yuza |  | New document |
| 2/2007 | Laboratory Manager | C. Yuza |  | New format, general wording revisions |
| 2/2008 | Jenn De Clercq | C. Yuza |  | Updated Clinitek, Coagulation, Urine Controls, and COLA standards |
| 6/2008 | Jenn De Clercq | C. Yuza |  | Revised patient confidentiality, added Piccolo, removed Vitros |
| Approved by | Date | Reviewed/ Revised by | Date | Revision |
| J DeClercq | 7/30/09 | C. Yuza | 7/28/09 | Annual review, updated format, Revised Startup 1A, 4(instruments), 5, 7 Throughout revised 3 (added lot cross checks), Shutdown 1 (instruments) |
| C Yuza | 1/15/10 | C Yuza | 1/15/10 | Format change, annual review |
| C Yuza | 1/5/11 | C Yuza | 1/4/11 | Removed Advia, and Clinitek 50 veribage |
| C Yuza | 1/31/12 | C Yuza | 1/31/12 | Added Triage to startup #3, and Shut down#1 Revised and added Through out the day #7, Shutdown #5 |
| Medical Director | 1/21/13 | C Yuza | 12/31/12 | Expanded Startup #3 and no food or drink in the lab, removed Triage from procedure |

Similar Procedures (Specify title of procedure and other OMC location(s) used if applicable)

1.0155. Department Responsibilities- Main Clinic

1.0157-a Laboratory Daily Operational Tasks- FastCare

Attachments: