Clinical Laboratory

| Section: SAFETY |  |
| --- | --- |
| Document Type: Procedure |  |
| Title: Daylight Savings Time Changes |  |
| Approved by: Administrative Laboratory Director or Laboratory Supervisor | Document Number: 14.0211.4 |
| Written By: Charlotte Yuza MLT(ASCP) | Effective Date: 1/21/13 |
| Scope: Branch, Rochester NW, FastCare and Skyway Clinics | Complexity: NA |

Purpose:

To outline steps required when Daylight Savings time changes occur.

Policy:

All Laboratory analyzers are set to the current date and time.

Procedure:

- Reset date and time for the following:

- Hematology Sysmex KX 21 analyzer

- Chemistry Piccolo analyzer

- Clinitek Status

- Streck AutoPlus ESR – recheck temperature setting.

- Perform and document any corrective actions for any equipment. Contact technical service if necessary.

| # Date | # Revised by | # Approved by | # Revision |  |
| --- | --- | --- | --- | --- |
| 2/1/09 | C Yuza | Jennifer DeClercq | Implementation |  |
| Approved by | Date | Reviewed by / Revised by | Date | Revision |
| Jennifer DeClercq | 1/19/10 | C Yuza | 1/18/10 | Annual Review, Updated format |
| Jennifer DeClercq | 1/5/11 | C Yuza | 1/5/11 | Removed Clinitek 50, and ProTime verbiage |
| C Yuza | 2/2/12 | C Yuza | 2/2/12 | Updated Scope verbiage and added Triage |
| C Yuza | 1/22/13 | C Yuza | 1/14/13 | Updated scope and analyzer names. |

Similar Procedures (Specify title of procedure and other OMC location(s) used if applicable)

### Electrical Power Loss

Attachments: