Clinical Laboratory

| SECTION: Hematology |  |
| --- | --- |
| # DOCUMENT TYPE: Procedure |  |
| # TITLE: Platelet Clumping |  |
| APPROVED BY: Medical Director | DOCUMENT #: 9.0443.4 |
| WRITTEN BY: J. Vaughan, MT(ASCP) | EFFECTIVE: 2/1/2013 |
| SCOPE: All Laboratories | COMPLEXITY: Moderate |

Purpose:

To describe an alternative platelet count procedure when encountering a problem with platelet agglutination in vitro.

Clinical Utility:

Collection and analysis of a sodium citrate tube provides an alternative method for determining an accurate platelet count in certain patients identified with in vitro platelet agglutination problems.

Policy:

- All flagged platelet counts are verified by checking the smear prior to reporting results.

- Staff with documented training and competency may perform this task.

Principle:

An in vitro adherence of platelets to neutrophils (satellitism) in fresh whole blood anticoagulated with EDTA, may cause spuriously low or fluctuating platelet results. An IgG plasma factor apparently interacts with the EDTA, causing the platelets to adhere to the surface of neutrophils.  These fluctuating or low platelet counts may be overcome by redrawing the patient’s blood in a sodium citrate tube.

Reagents and Materials:

- Fresh EDTA whole blood

- Fresh 3.2% Sodium Citrate whole blood (light-blue stopper tube, one part sodium citrate to nine parts blood.)

- Wright-stained peripheral blood smear.

Warnings and Precautions:

- Use of Universal Precautions is required.

| Specimen Requirements and Storage |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Parameter | Min amt required | Patient Prep | Acceptable specimen types | Stability Room temp | Stability Refrig temp | Stability Frozen temp | Reject due to: |
| Platelet Count | Full tube required | N/A | 3.2% sodium citrate tube (filled) | Unopened: 24 hours @ 18-24ºC | Unopened: 24 hours @ 2-8ºC | N/A | Underfilled tube Overfilled tube Hemolysis Clotted |

Quality Control:

A quality check on the Wright’s stain and smear quality is performed daily.

Procedure:

- Run the EDTA sample under that patient’s order number.

- If platelet clumping is suspected, check smear.

- Cancel the platelet result and perform a partial post for all other CBC results on that patient.

- Run the sodium citrate sample.

  - Enter the patient’s last name followed by “Citrate” under Patient Name (e.a. Smith-Citrate). Do not use the order number.

  - Type in MR# on the Patient ID line.

  - Always use 2 identifiers when manually entering patient information.

- Review results.

- Calculate the corrected platelet result by multiplying the citrate platelet count by 1.1 (corrected for the sodium citrate anticoagulant dilution).

- Enter the new results under the appropriate work list.  Include the comment: “Platelet count performed on sodium citrate sample.”

Procedure Notes:

Indications that platelet clumps may be present during analysis are:

- Increased MPV

- Platelet aggregate flags

- NRBC flags

- Falsely decreased platelet counts

- Abnormal histogram

- URI flag

Limitations:

|  | Interference |
| --- | --- |
| Hemolysis | Yes |
| Lipemia | No |
| Icterus | No |

- Report only the platelet count from the sodium citrate tube.

2.	If unable to correct platelet count, report a platelet estimate. Perform WBC estimate to check White Count accuracy as platelet clumps can sometimes be counted as WBCs.

Reporting Results:

# Calculate the platelet count as per the following example:

Sodium citrate platelet count =158,000

158,000 x 1.1 =173,800  174,000 (corrected count)

Reporting Template:

| Hospital | HDIFF |  | Chatfield | CHAT |  | Plainview | PLAIN |  | Spring Valley | SV |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| SE Clinic | GDIFF |  | NW | NW |  | Preston | PSTN |  | Stewartville | STEW |
| Byron | BYRON |  | Pine lsland | PINE |  | St Charles | SC |  | Wanamingo | WNMG |

Expected Values:

Platelet Count: 150,000-450,000

Alternate Method / Referral of Specimens:

Send to Hospital, SE Clinic, or MML Laboratory.

References:

Interfering Substances in Hematology Resource Book, Cell Dyn 3000/3500/3700 Series Systems, Abbott Laboratories, 1998

CAP/COLA Standards:

HEM.30150		Spurious CBC result detection

| # Approved By | # Date | # Reviewed/Revised By | # Date | # Revision |
| --- | --- | --- | --- | --- |
| Dr Bradley Karon | 2/2007 | M Howard | 2/2007 | New format |
| Dr Durga Vege | 2/2008 | J Vaughan | 2/2008 | No changes |
| Dr Durga Vege | 2/2009 | J Vaughan | 2/2009 | Added verifying WBC on uncorrected platelet counts |
| Dr Durga Vege | 2/1/2010 | J Vaughan | 1/29/2010 | Updated format; added Clinical Utility and Warnings and Precautions; updated Policy and Limitations |
| Dr Durga Vege | 2/16/2011 | J Vaughan | 2/1/2011 | Updated Procedure #4 |
| Dr Durga Vege | 2/13/2012 | J Vaughan | 2/1/2012 | Annual review |
| Dr Jeremy Gibson | 2/19/13 | Suzanne Christenson | 2/1/2013 | Add URI flag to Procedure Notes |

Similar Procedures (Specify title of procedure and other OMC location(s) used if applicable)

DETECTION OF SPURIOUS RESULTS.doc

Attachments: