## Charlie Norwood VAMC

## Point of Care Testing

## Annual Competency Assessment

## PXP Glucose Meter

Employee Name: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_Dept/Unit:\_\_\_\_\_\_\_\_\_\_\_\_\_\_Date:\_\_\_\_\_\_\_\_\_\_\_\_

RN  LPN  Health Tech  NA  Physician  PA  NP Other: \_\_\_\_\_\_\_\_\_

1. This employee has completed training on the PXP Glucose Meter system and understands how to perform the test, access the written procedure and, perform QC and maintenance (if applicable), and report results (including critical value notification if applicable).
2. The evaluator assessed the employee’s competency to perform the above test by the applicable elements checked below. Each successful competency element must be signed and dated by the staff evaluating that element.
   * Direct observation of routine patient test performance, including, as applicable, patient identification, preparation, and specimen collection, handling, processing and testing.

Name \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_Date \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

* Review of intermediate test results, worksheets, quality control records, and preventive maintenance records if applicable

Name \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_Date \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

* Monitoring the recording and reporting of test results including, including reporting of critical results notification if applicable

Name \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_Date \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

* + Learning Assessment/Problem Solving – (≥ 80% correct on written test): \_\_\_\_\_

1. The test procedure is located on the VA Augusta SharePoint True False
2. Alcohol pads are approved for disinfecting the meters True False
3. Policy requires meter be disinfected between different patient testing True False
4. Critical results are depicted by an up or down (▲or ▼) arrow by result True False
5. On a Critical result, you are required to notify the provider & document

in the Point of Care Critical Value Note template in CPRS. True False

1. Glucometer testing can be performed on critically ill patients (defined as patients who are intubated, have a MAP<60 or on vasopressors) True False

Employee Signature \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_Date \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

The overall performance was:

* Successful (performs without supervision)
  + Unsuccessful (Needs additional training) Remediation Date: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

The above employee is competent and has demonstrated the skills and knowledge necessary to perform testing according to the policies and procedures approved by Pathology and Laboratory Medicine.

Ancillary Testing Coordinator or designee: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_Date: \_\_\_\_\_\_\_\_\_

Comments:

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_