- PURPOSE:

Blood collection tubes must be drawn in a specific order to avoid cross-contamination of additives between tubes.

Tubes with additives must be thoroughly mixed.  Erroneous test results may be obtained when the blood is not thoroughly mixed with the additive.  Filling to the required amounts is important for proper additive to blood ratios.

- ORDER OF DRAW:

- Adult and Paediatric Patients

Refer to Table 1.1.

- Neonates

Refer to Table 2.1.

- EXAMPLE OF ULTRA LABEL with Ordered Test/Colour of Tube

Refer to Diagram 3.1

- References:

  - Becton Dickinson and Company

  - Ontario Laboratory Accreditation

Table 1.1

ORDER OF DRAW

Blood collection tubes must be drawn in a specific order to avoid cross-contamination of additives between tubes.  The recommended order of draw is:

| Laboratory Test | Tube Cap Colour | Volume of Draw | Number of Inversions at Collection |
| --- | --- | --- | --- |
| Blood Culture | Aerobic - Blue | 8 – 10 mL | 8-10 |
|  | Anaerobic – Gold | 8 – 10 mL | 8-10 |
|  | Paediatric – Pink | 1 – 3 mL | 8-10 |
| Coagulation INR, PTT | Light Blue | 2.7 mL (Tube must be filled) | 3-4 Contains Sodium Citrate |
| Chemistry** | Gold (SST) | 3.5 mL | 5 Contains clot activators |
| Chemistry** | Red | 7 mL | 5 |
| ### Routine Chemistry** | Light Green (PST) | 3 mL | 8-10 Contains heparin |
| Hematology CBC ESR | Lavender | 3 mL (Note: Tube will not appear full) | 8-10 Contains EDTA |
| Blood Bank | Pink | 6 mL | 8-10 Contains EDTA |
| Chemistry Lactate | Gray | 2 mL (Note: Tube will not appear full) | 8-10 Contains Oxalate Fluoride |

Tubes with additives must be thoroughly mixed.  Erroneous test results may be obtained when the blood is not thoroughly mixed with the additive.  Filling to the required amounts is important for proper additive to blood ratios.

**See EXAMPLE OF ULTRA LABEL with Ordered Test/Colour of Tube 3.1

Table 2.1

ORDER OF DRAW - NEONATES

Blood collection tubes must be drawn in a specific order to avoid cross-contamination of additives between tubes.  The recommended order of draw is:

| Laboratory Test | Tube Cap Colour | Volume of Draw | Number of Inversions at Collection |
| --- | --- | --- | --- |
| Blood Culture | Paediatric – Pink | 1 - 3 mL | 8-10 |
| Blood Gases – PoC pH, pO2, pCO2, SO2 | Heparinized capillary Heparinized syringe | 55 uL | 8 Contains heparin |
| Blood Gases + - PoC pH, pO2, pCO2, SO2, Sodium, Potassium, Ca++, Hct | Heparinized capillary Heparinized syringe | 115 uL | 8 Contains heparin |
| Blood Gases – Lab pH, pO2, pCO2, SO2 Glucose, Sodium, Potassium, Ca++, Hct. | Heparinized capillary Heparinized syringe | 100 uL 0.3 mL | 8 Contains heparin |
| Coagulation INR, PTT, FIB, D DIMER | Light Blue Notify lab for tube preparation | 1.1 mL (Tube must be filled to line) | 8-10 Contains Sodium Citrate |
| Chemistry Li | Gold (PST) Microtainer | 0.5 mL | 8-10 Contains clot activators |
| Chemistry Dilantin ( Phenytoin) | Red | 0.7 mL | 5 |
| Chemistry Glucose | Green (PST) Microtainer | 0.5mL | 8-10 Contains heparin |
| Chemistry Glucose, Urea, Creat, CO2, Electrolytes + 1 Test (not drug) | Green (PST) Microtainer | 0.6mL | 8-10 Contains heparin |
| Chemistry Glucose, Urea, Creat, CO2, Electrolytes + any 1 Drug (as below) | Green (PST) Microtainer | 0.8 mL | 8-10 Contains heparin |
| Chemistry – Drugs Any 1 of: Tobramycin, Gentamycin, Vancomycin only. No other Chemistry orders. | Green (PST) Microtainer | 0.6 mL | 8-10 Contains heparin |
| Other Chemistry Ammonia | Green (PST) Microtainer | 0.4 mL | 8-10 Contains heparin |
| Hematology ESR | Lavender Microtainer | 1.0 mL | 8 Contains EDTA |
| Hematology CBC, Retic | Lavender Microtainer | 0.25 mL | 8-10 Contains EDTA |
| Blood Bank | Lavender Microtainer | 0.5 mL | 8-10 Contains EDTA |
| Chemistry Lactate | Gray Microtainer | 0.5 mL | 8 Contains Oxalate Fluoride |

Tubes with additives must be thoroughly mixed.  Erroneous test results may be obtained when the blood is not thoroughly mixed with the additive.  Filling to the required amounts is important for proper additive to blood ratios.

Diagram 3.1	EXAMPLE OF ULTRA LABEL with Ordered Test/Colour of Tube

Arrows show tube and test.

Tube color

Tube color

Tube color

Test Name

Test Name

Test Name