- POLICY:

  - Staff skills to perform assigned tasks within the laboratory will be evaluated to ensure competence and consistent high quality laboratory results.

  - Competency of contracted personnel used in Laboratory operations will be assessed and evaluated to ensure that their work is in accordance with the Laboratory’s Quality Management System.

- Process:

  - Continuing Education:

    - Records of hospital sponsored or mandatory staff Continuing Education (CE) will be kept on the employee file.

    - One mandatory CE module will be assigned to all Lab staff annually

    - The employee is responsible for maintaining their own records of all CE in accordance with their professional requirements

  - Competency assessment: will occur by using a combination of the following items:

    - Mandatory yearly Hospital Elearning

    - Mandatory yearly Safety Manual review and quiz

    - Mandatory assigned Continuing Education module (MTS)

    - Initial orientation/training process

    - Performance Reviews

    - Direct observations

    - Monitoring test recording and reporting

    - Review of worksheets, QC records, EQA results

    - Patient Sample Comparison Testing

    - Assessment of performance in proficiency tests

    - Demonstration of familiarity with the laboratory’s documented procedures

    - Written tests to access problem solving skills

    - Assessment of knowledge of Procedures and Theory

    - eLearning (where applicable)

    - Other Medical Training Solutions (MTS) online training modules

    - Lunch and Learn educational sessions

  - Initial Competency Assessment:

    - Prior to working independently in the Laboratory, a new individual’s competence will be assessed and documented on the general lab orientation checklist and any applicable departmental orientation/training checklists.

  - Ongoing Competency Assessment:

    - Competency Assessment will be reviewed yearly using  the mandatory items and at least one item from the above section 2.1

    - Competency Assessment will be re-evaluated when an individual’s duties change, test methodology changes, after an extended leave of 6 months or more, or after review of quality assurance issues indicate that re-training is necessary.

    - Competency Assessment may also be evaluated at any time at the discretion of Laboratory Management.

  - Performance appraisal will be conducted as per each hospital’s Human Resource policy.

- Electronic Records for WRH MET and OUEL Campus:

  - Located on the “S” Drive:

  - WRM/Staff Training and Competency Records for MET Campus

  - WRO/Quality Mngt/Staff Training and Competency Records for OUEL Campus

  - All staff training and competency activities will be recorded electronically. Documents will be filed into the yellow staff files in the Lab Manager’s office.

- Yearly Competency Assessment:

The Manager/Technical Coordinators will assess competency at yearly Performance Appraisal time and sign-off competency in the electronic file system.

- Failure To Meet Competency Requirements:

If an individual fails to meet skill assessment requirements:

  - Immediately inform the Laboratory Manager and/or the Laboratory Director.

  - Release the staff from performing the specific duty and prepare a Quality Assurance report

  - The Laboratory Manager/Director or designate will assess the situation and determine the course of action to be taken, including escalation to Human Resources if necessary.

- References

  - Windsor Regional Hospital, “Performance Appraisals” Policy # HR-26

  - Windsor Regional Hospital, “Probationary Performance Appraisal” Policy # HR-27

  - Leamington District Memorial Hospital, “Annual Review of Employee’s Contribution to the Success of the Hospital” Policy # HR-049

- Process Flow: