1.0	Specimen Type

1.1	Correct sampling device should be prepared before sampling

1.2	Arterial gas samples: Heparinized blood gas syringe with separate cap for capping after sampling.

2.0	Sampling and Labeling

2.1	Arterial

2.1.1	Blood Gas Syringe- Arterial blood gas samples are drawn by the Physician, Respiratory Technologist or trained nursing staff.

2.1.2	Sample must be labeled with Patient’s name in full, and date of birth, date and time specimen collected.

3.0	Specimen Storage and Stability

3.1	Storage time should be kept to a minimum; preferably less than 10 minutes at room temperature to obtain the most accurate results.

3.2	Plastic syringes should not be iced, but kept at room temperature as long as the blood is analyzed within 30 minutes of collection. Oxygen and carbon dioxide levels in blood kept at room temperature for 30 minutes or less are minimally affected.

3.3	If a prolonged time delay before analysis is anticipated (more than 30 minutes), samples should be stored in ice water.

3.4	Storage time in ice water should not exceed 1 hour.

4.0	Patient Registration and Reporting

4.1	Report to the Admitting desk in the Front Lobby to register patient.

4.2	Completed requisition must contain:

- Patient’s name in full

- Date of Birth

- OHIP #

- Address

- Ordering Physician

- FIO2

- Identity of Oxygen Therapy Provider

4.3	Once registration has been completed, bring sample and requisition to the Chemistry Laboratory located on the first floor.

4.4	Chemistry technologist will add test request in Order Entry.

4.5	Chemistry technologist will analyze the sample and issue a hard copy report.

4.6	Chemistry technologist will forward the requisition to the Laboratory Manager for billing.

5.0	Requistion

Link to requisition:

http://medcms-ihl/Site_Published/policyweb/document_render.aspx?documentRender.IdType=5&documentRender.Id=23568&documentRender.GenericField=