SUPERFICIAL WOUNDS, DRAINAGES AND BURN SWABS

- PRINCIPLE

  - Included in this section are swabs from superficial wound swabs, decubitus ulcers, episiotomies, non-intravenous or central line exit sites, chest tube drainages, abdominal drainages and tracheal swabs.

  - A large variety of bacterial organisms are implicated in infection of these sites.

  - The presence of squamous epithelial cells may indicate that the specimen is superficial and the organisms may not reflect the true etiology of the infection.

2.0	SPECIMEN COLLECTION AND TRANSPORT

  - Specimen should be collected using the clean sterile swab provided in the Eswab collection system, then sent to the lab in the Eswab container.

  - Drainage material should be collected into a sterile container.

  - If transport and/or processing are delayed, the specimen should be kept refrigerated.

3.0	PROCEDURE

  - DIRECT EXAMINATION

    - GRAM STAIN

3.1.1.1	Superficial Swabs

Comment on and quantitate the presence of polymorphs, epithelial cells, to derive a Q score, and organisms.

3.1.1.2	BURN SWABS

Do not perform gram stain on burn swabs

      - DRAINAGES

Ordered as an RTC

Comment on but do not quantitate the presence of polymorphs, epithelial cells and organisms.

  - CULTURE

Inoculate the following media:

| Media | Incubation |
| --- | --- |
| CNA Agar | CO2 at 35˚C for 48 hours |
| Blood Agar Plate (BAP) | CO2 at 35˚C for 48 hours |
| MacConkey agar plate (MAC) | O2 at 35˚C for 24 hours |

For Chest Tube drainage and tracheal sites add:

| Chocolate (CHOC) | CO2 at 35˚ C for 48 hours |
| --- | --- |
| If MRSA and/or VRE culture requested add: |  |
| MRSA Media | O2 at 35˚C for 24 hours |
| VRE Media | O2 at 35˚C for 48 hours |

4.0	INTERPRETATION OF SUPERFICIAL SWABS AND DRAINAGES

4.1 Examine the plates after 24 and 48 hours of incubation and consult the following chart.

| PATHOGENS Isolated frequently: S. aureus Group A,B,C & G Strep Ps. aeruginosa Strep anginosus group For chest tube drainage and tracheal swabs include: H. influenzae 4.2 St. pneumoniae 4.2 For sternal wounds include: Coagulase negative Staph | POTENTIAL PATHOGENS Isolated less frequently, in pure or predominant growth: Staph. lugdenensis Pasteurella sp. Enterobacteriaceae 4.4 Enterococcus sp. Yeast Listeria sp. Haemophilus sp. Nocardia sp. E. rhusiopathiae | PROBABLE CONTAMINANTS 4.3 Diphtheroids Coagulase negative Staph Micrococcus Lactobacillus Saprophytic Neisseria sp. Bacillus sp. (not anthracis) Viridans group streptococci |
| --- | --- | --- |

  - Streptococcus pneumoniae and Haemophilus influenzae, in any amount is considered significant and should be reported.

  - A heavy, pure growth of other organisms that correlate with the predominant organism seen in the gram may be significant if polymorphs are seen in the absence of epithelial cells.

  - The growth of greater than or equal to three coliforms may be reported in general terms in the presence of polymorphs with a comment indicating the possible presence of colonization and/or intestinal type flora.

  - If culture does not match original gram, review gram. If necessary have the original swab re-plated and perform a new Gram stain.

- INTERPRETATION OF BURN SWABS

  - Report the following pathogens in any amount with sensitivity up to a maximum of 2 isolates.

Staphylococcus aureus-screen for MRSA

Pseudomonas aeruginosa

Acinetobacter

Gram negative bacilli

Beta haemolytic streptococci A,B,C and G with “BETA” comment

Yeast

Enterococcus isolates – screen for VRE

NOTE:    If greater than 2 pathogens, quantitate and report in general terms—no susceptibilities reported

i.e.: Gram negative bacilli, three colonial types

- SUSCEPTIBILITY

  - Refer to the Susceptibility Manual.

- REPORTING

  - DIRECT EXAMINATION:  GRAM STAIN

    - Comment and quantitate the presence of polymorphs, epithelial cells and all organisms. Derive Q score and record on work card. See chart below.

    - Burn swabs have no gram stain.

    - Drainages: Comment on but do not quantitate the presence of polymorphs, epithelial cells and all organisms.

    - Use the chart below to generate a Q-score on superficial wound swab sites.

|  |  |  | SQUAMOUS EPITHELIAL CELLS |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| W B C S | CELLS PER LOW POWER FIELD |  | 0 | 1-9 | 10-24 | >25 |
|  |  | REPORT | NONE | FEW | MODERATE | MANY |
|  | 0 | NONE | 3 | 0 | 0 | 0 |
|  | 1-9 | FEW | 3 | 0 | 0 | 0 |
|  | 10-24 | MODERATE | 3 | 1 | 0 | 0 |
|  | >25 | MANY | 3 | 2 | 1 | 0 |
|  |  |  | COMPOSITE Q SCORE |  |  |  |

  - Q SCORE FLOW CHART

Q0                                                                         Q1, Q2, Q3

Report gram                                                          Report Gram

Limited ID for any pathogens		Determine number of possible pathogens

Add comment “notw”

Possible pathogens >Q score		Possible pathogens ≤ Q score

Correlate possible pathogens		Work up all possible pathogens

with Gram Stain				(ID and Sensitivity)

Work up correlating pathogens

Limited ID of non-correlating pathogens

- CULTURE

  - NEGATIVE

“No growth after 2 days incubation.”

Or

“Normal cutaneous flora.  No pathogens isolated.’

Or

“Multiple organisms isolated from this site.

Culture results suggestive of contamination/colonization.”

Or

“Not representative of inflammatory exudate. Repeat collection of specimen is suggested, if there is clinical evidence of infection.

Note:	If organisms are seen in the Gram stain that resembles anaerobes, use ANACNI code:

“Morphology of some organisms seen resemble probable anaerobes.  Anaerobic culture is NOT indicated for this specimen type.”

  - POSITIVE

Report and quantitate all significant isolates with appropriate sensitivities, using the Q score criteria.

Q1:  maximum one complete ID/S

Q2:  maximum two complete ID/S

Q3:  maximum three complete ID/S

- REFERENCE

  - Manual of Clinical Microbiology 11th edition, 2015. ASM press, Washington, D.C.

  - Clinical Microbiology Procedures Handbook Volume 1, 3rd edition, 2010. ASM press, Washington D.C

  - QMP-LS Committee Comments-BACT -1006PP, Patterns-of –Practice Survey: Superficial Wound Swabs, 2010-07-23.