WOUND SWABS (AEROBIC & ANAEROBIC)

- PRINCIPLE

  - Wound infections may be due to a variety of organisms, but are most often associated with Staphylococcus aureus, beta-hemolytic Streptococci, Pseudomonas aeruginosa, the Streptococccus milleri group, members of the Enterobacteriacae family and a variety of anaerobes.

  - Wound colonization and/or infection can often be poly-microbial with both aerobes and anaerobes involved.

  - The presence of polymorphonuclear leukocytes (PMNs) is an indication of inflammation and increases the likelihood that microorganisms found in culture are significant.

  - The presence of squamous epithelial cells may indicate that the specimen is contaminated with superficial flora, and the organism(s) isolated may not reflect the true etiology of the infection.

- SPECIMEN COLLECTION AND TRANSPORT

2.1	Specimen should be collected using a clean sterile swab and sent in an Eswab collection system.

- PROCEDURE

  - DIRECT EXAMINATION

    - GRAM STAIN

Quantitate polymorphs, epithelial squamous cells, and organisms.  Q-scores are only given to superficial wound sites.

|  |  |  | SQUAMOUS EPITHELIAL CELLS |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| W B C S | CELLS PER LOW POWER FIELD |  | 0 | 1-9 | 10-24 | >25 |
|  |  | REPORT | NONE | FEW | MODERATE | MANY |
|  | 0 | NONE | 3 | 0 | 0 | 0 |
|  | 1-9 | FEW | 3 | 0 | 0 | 0 |
|  | 10-24 | MODERATE | 3 | 1 | 0 | 0 |
|  | >25 | MANY | 3 | 2 | 1 | 0 |
|  |  |  | COMPOSITE Q SCORE |  |  |  |

  - CULTURE

Inoculate the following media

| Media | Incubation |
| --- | --- |
| CNA Agar | CO2 at 35˚C for 48 hours |
| Blood agar plate (BAP) | CO2 at 35˚C for 48 hours |
| MacConkey (MAC) | O2 at 35˚C for 24 hours |
| If Anaerobic Swab Submitted Add the following media |  |
| Chocolate agar plate (CHOC) | CO2 at 35˚C for 48 hours |
| Fastidious anaerobic agar(Brucella) | Anaerobically at 35˚C for 48 to 5 days |
| Kanamycin/Vancomycin agar (LKV) | Anaerobically at 35˚C for 48 to 5 days |

- INTERPRETATION

| PATHOGENS Isolated frequently: S. aureus Group A,B,C & G Strep Ps. aeruginosa Strep anginosus group For chest tube drainage and tracheal swabs include: H. influenzae 4.2 St. pneumoniae 4.2 For sternal wounds include: Coagulase negative Staph Anaerobes: Bacteroides sp. Fusobacterium sp. Clostridium sp. Peptostreptococcus sp. Veillonella | POTENTIAL PATHOGENS Isolated less frequently, in pure or predominant growth: Staph. lugdenensis Pasteurella sp. Enterobacteriaceae 4.4 Enterococcus sp. Franciscella sp. Brucella sp. Yeast Listeria sp. Haemophilus sp. Nocardia sp. E. rhusiopathiae | PROBABLE SKIN CONTAMINANTS 4.3 Diphtheroids Coagulase negative Staph Micrococcus Lactobacillus Saprophytic Neisseria sp. Bacillus sp. (not anthracis) Viridans group streptococci Anaerobes: Propionibacterium sp. |
| --- | --- | --- |

  - Streptococcus pneumoniae and Haemophilus influenzae, in any amount is considered significant and should be reported.

  - A heavy, pure growth of other organisms that correlate with the predominant organism seen in the gram may be significant if polymorphs are seen in the absence of epithelial cells.

  - The growth of greater than or equal to three coliforms may be reported in general terms in the presence of polymorphs with a comment indicating the possible presence of colonization and/or intestinal type flora.

  - If culture does not match original gram, review gram. If necessary have the original swab re-plated and perform a new Gram stain.

  - Q SCORE FLOW CHART

Q0                                                                         Q1, Q2, Q3

Report gram                                                          Report Gram

Limited ID for any pathogens		Determine number of possible pathogens

Add comment “notw”

Possible pathogens >Q score		Possible pathogens ≤ Q score

Correlate possible pathogens		Work up all possible pathogens

with Gram Stain				(ID and Sensitivity)

Work up correlating pathogens

Limited ID of non-correlating pathogens

- SUSCEPTIBILITY

  - Refer to Susceptibility Manual.

- REPORTING

  - DIRECT EXAMINATION

    - GRAM STAIN

Comment and quantitate the presence of polymorphs, epithelial squamous cells and all organisms.

      - If specimen is ordered as WND, and the Gram stain is indicative of anaerobes, use GRAM comment:

“Morphology of some organisms seen resemble probable anaerobic species.  Suggest anaerobic culture if clinically indicated.”

6.2	CULTURE

    - NEGATIVE

      - “No aerobic or anaerobic growth after 2 days incubation.”

Final report, unless growth obtained upon further incubation.

      - ‘Normal Cutaneous flora. No pathogens isolated’

      - “Multiple organisms isolated from this site. Culture results suggestive of contamination/colonization.”

      - Anaerobic comment must be included if Anaerobic culture submitted.

“No anaerobes isolated after two days incubation. Final report, unless growth is obtained upon further incubation.”

    - POSITIVE

      - Report and quantitative all significant isolates with appropriate sensitivities.

      - Anaerobes, if isolated will be reported in general terms with Beta-Lactamase result if indicated. Full identification is reported on specimens from sterile sites.

- REFERENCES

  - Manual of Clinical Microbiology 11th edition, 2015. ASM press, Washington, D.C.

  - Clinical Microbiology Procedures Handbook Volume 1, 3rd edition, 2010. ASM press, Washington D.C.