Memorandum

Ext. 52373

DATE:		April 13, 2016

TO:		WRH Met Campus Lab Staff

## RE:		STAT and TIMED Collections

All STAT collections must be collected as soon as possible. STAT results must be available to the ordering unit within 1 hour of order.

Requests for CRITICAL lab draws must be collected immediately.

All TIMED collections must be collected at the time requested.  Medication dosages are based upon lab results.

ALL STAT and TIMED collections must be delivered to the lab immediately after collection.

e.g. glucose levels, ionized calcium, PTT, CBC, Therapeutic drug levels.

Patient treatment and/or intervention may be required pending the lab result.

TIMED and STAT requests between 0600 and 0700 will be collected by the Midnight shift MLA.

DO NOT place 0700 TIMED Collections in with the morning ROUTINE Collections.

TIMED and STAT requests during morning collections (after 0700) will be collected by the MLA or MLT on that nursing unit. Clearly mark the tubes as TIMED or STAT so that they can be easily identified when they arrive in the Laboratory.

TIMED and STAT samples must be sent to the Laboratory immediately after collection. DO NOT perform other routine collections and then bring the Timed or Stat sample down to the lab.

Notify the Core Lab that a TIMED or STAT request has been sent down to the Laboratory so that testing can commence immediately.