- Purpose:

To provide instructions for the collection, and referral of blood specimens for the Ontario Cancer Genetic Testing Program. Screening may be requested for familial breast, ovarian, hereditary non polyposis colorectal cancer or familial adenomatous polyposis cancer.

- Procedure:

  - Upon acceptance to the familial genetic screening program, the staff in the WRCC will complete the required requisition and print two patient ID labels. The labels will contain the patient’s full name and date of birth.

  - At the time of the appointment with the Genetics Counselor in the WRCP, the counselor will review and confirm the patient’s identifiers and add the OHIP # to the patient labels and record the OHIP # on the Ontario Cancer Genetic Testing Requisition. The Counselor will complete a family pedigree and forward to LHSC.

  - The family member will be registered through the WRCP and will present at the WRCP lab for sample collection.

  - Once called into the lab, confirm patient’s identifiers. Enter the date and time of collection on the requisition.

  - Find the corresponding visit in ULTRA, add ZZM and VEN.

  - In tracking notes, indicate that a sample was collected for familial genetic screening.

  - Print a barcode label and label the tube.

  - In vertical entry, record the date that the sample was sent out. Backslash the date report was received. The report will be sent directly to the WRCC Genetics Program.

- Specimen:

5 mL EDTA, room temperature

- Shipping Address:

LHSC

Molecular Genetics Laboratory

North Tower, Zone B, B10-123A

800 Commissioners Rd East

London, ON, N6A 5G5

519-685-8122

- References:

LHSC Molecular Genetics Laboratory

Ontario Cancer Genetic Testing Program