#### PRINCIPLE

1.1	Urinary tract infections (UTI) are one of the most commonly encountered acute infectious diseases.  Most UTI’s occur as a result of bacteria ascending the urethra and entering the urinary bladder.

1.2	Urine specimens for culture are collected when the following syndromes are suspected: cystitis, pyelonephritis, asymptomatic bacteriuria, and less commonly acute prostatitis, pyelonephric abscess, and urosepsis.

1.3	Among the bacteria most commonly isolated from patients with acute uncomplicated cystitis are Escherichia coli, Klebsiella species, and other Enterobacteriaceae and Staphylococcus saprophyticus.  Hospitalized patients and patients with complicated urinary tract infections are Enterobacteriaceae, Pseudomonas aeruginosa and Enterococci.

1.4	Urine specimens can be divided into two categories based on clinical criteria and the possibility of urethral contamination.

    - Voided urines (non-sterile):

Midstream urine (MSU)

Neonatal bagged urine

Indwelling catheter (Foley catheter) urine

    - Bladder urine (sterile):

Nephrostomy urine

Suprapubic urine aspirate

Bladder/ cystoscopy urine

  - Quantitative cultures of urine specimens are critical for diagnosis of UTI.  The criteria to be used for distinguishing significant from non-significant growth may vary depending on the type of urine specimens received.

  - Urine specimens arriving in the laboratory must be accessioned and processed as outlined below as soon as possible.

#### 2.0	SPECIMEN COLLECTION AND TRANSPORT

  - A urine specimen should be collected into a clean, sterile container and transported to the Microbiology Laboratory as quickly as possible.  Processing of specimens within 2 hours of collection is recommended.

  - If a delay in transport or processing is anticipated, the specimen should be placed in the refrigerator (4oC to 8oC) until processed.

  - VOIDED URINES

    - MIDSTREAM URINE

A midstream urine specimen is collected after careful cleansing of the urethral meatus.  The first 10-20 mL of urine is voided and discarded in order to clear the urethra.  The subsequent urine is collected into a dry, sterile container.

2.3.2	NEONATAL BAGGED URINES

A collection bag is placed over the external genitalia.  Urine from the bag is transferred to a clean, sterile container.

2.3.3	INDWELLING CATHETER (FOLEY CATHETER) URINE

The specimen is obtained by aseptic puncture of the catheter tubing and transferred to a clean, sterile container.

  - BLADDER URINES

    - NEPHROSTOMY URINE

Urine draining from a nephrostomy tube placed in the renal pelvis is collected into a clean, sterile container.

    - SUPRPUBIC URINE ASPIRATE

Urine is aspirated through the bladder using a sterile needle and syringe.  The urine is then transferred to a clean, sterile container.

    - BLADDER/CYSTOSCOPY/IN AND OUT CATHETER URINE

Urine is collected into a clean, sterile container following temporary insertion of a sterile catheter or cystoscope into the bladder.

    - CATHETER INSERTION URINE

Urine is collected into a clean, sterile container immediately following the initial insertion of an indwelling catheter into the bladder.

#### 3.0	SPECIMEN REJECTION CRITERIA

| Rejection Criteria | Report comment |
| --- | --- |
| Unsuitable Specimens |  |
| Condom catheter Inappropriate container | “Specimen improperly collected for requested test. Repeat submission requested” |
| Foley Catheter tips | Foley catheter tips are unacceptable for culture. They are unsuitable for the diagnosis of urinary tract infections |
| Leaking specimens | Specimen leaked in transit; unable to process |

#### 4.0	PROCEDURE

4.1	PROCESSING OF SPECIMENS

    - DIRECT EXAMINATION

      - Gram Stain:  NOT performed

    - CULTURE METHOD:  Manual

      - The urine specimen is mixed and a sterile calibrated loop is dipped vertically into the sample.

      - The loop is streaked down the center of the plate and then cross-streaked at a 90o angle to the inoculum.  (See diagram below).

      - If using the Autostreaker, inoculate the plated with a small streak using a sterile calibrated loop (See diagram below).

Manual Inoculation					  Autostreaker

  - CULTURE METHOD- Automated (PREVI ISOLA)

    - See PREVI ISOLA procedure and manual

    - PREVI will dispense and streak 0.01 ml of urine per plate. The amount of urine inoculated is NOT dependent on the type of urine specimen that is processed.

    - See PREVI Urine Quantification chart to follow in Interpretation.

.

| TABLE 1: The amount of urine inoculated is dependent on the type of urine specimen that is processed |  |
| --- | --- |
| MEDIA | INCUBATION |
| Voided Urine - use 0.001 mL loop-Manual procedure - use 0.01 mL-PREVI Blood Agar (BAP) MacConkey Agar (MAC) | O2 35o C x 18 – 24 hours O2 35o C x 18 – 24 hours |
| Bladder Urine - use 0.01 mL loop-Manual procedure - use 0.01 mL-PREVI Blood Agar (BAP) MacConkey Agar (MAC) | O2 35o C x 18 – 24 hours and 48 hours O2 35o C x 18 – 24 hours and 48 hours |
| Suprapubic Urine Aspirate and Nephrostomy - use 0.01 mL loop-Manual procedure - use 0.01 mL-PREVI Blood Agar (BAP) MacConkey Agar (MAC) | O2 35o C x 18 – 24 hours and 48 hours O2 35o C x 18 – 24 hours and 48 hours |
| Urine for yeast (Candida sp.) - use 0.001 mL loop-Manual procedure - use 0.01 mL-PREVI Blood Agar (BAP) MacConkey Agar (MAC) Sabouraud (SAB) | O2 35o C x 18 – 24 hours O2 35o C x 18 – 24 hours O2 31o C x 72 hours |

- INTERPRETATION

Examine plates after appropriate incubation time.

  - NEGATIVE

    - VOIDED URINES

Discard negative routine cultures after 18 – 24 hours incubation and report as:

“No growth after 1 day’s incubation”.

    - BLADDER URINES, SUPRAPUBIC AND NEPHROSTOMY

If no growth after 24 hours incubation, re-incubate both BAP and MAC plate until 48 hours and report as:

‘No growth after 2 days incubation.’

  - POSITIVE

    - Count the colonies and multiply by the appropriate dilution factor in SI units.  Work-up cultures according to the criteria in Tables 2 or 3, which serve as a guide only.

Example:  For 0.001 ml loop:  1 colony = 1 x 106 cfu/L

For 0.01   ml loop:  1 colony = 0.1 x 106 cfu/L

  - PREVI Urine Quantification Chart

1

8

Comparison between 1uL loop and Isola 10uL dispensed:

- For colonies present only in quadrants 1 and 2

  - Report as <10 X 106 CFU/L

- If colonies extend into quadrant 3

  - Report as 10 – 100 X 106 CFU/L

- If colonies extend into quadrant 4

  - Report as 10 – 100 X 106 CFU/L

- If colonies extend into quadrant 5—8

  - Report as > 100 X 106 CFU/L

Previ Determination of Colony Count:  Dilution Factor (0.1)

# colonies X DF (0.1) = # colonies X 106 CFU/L

e.g. colony count = 10

10 X 0.1 = 1 X 106 CFU/L

2

4

3

7

5

6

| TABLE 2: Criteria for the Identification and Sensitivity testing of organisms isolated from Voided Urines (MSU, neonatal bagged urine, indwelling catheter, foley catheter, Ileac Conduit urine) See exception in Table 3 |  |  |  |
| --- | --- | --- | --- |
| Types of Organisms see note | # of colonies of each type | Colony count / L | Work up |
| 1 | <10 | <10 x E6 cfu/L | No workup |
| 1 | 10-100 | 10-100 x E6 cfu/L | ID + Sens |
| 1 | 100 | >100 x E6 cfu/L | ID + Sens |
| 2 | Both <10 | <10 x E cfu/L | No work up |
| 2 | One 100 One 10-100 | >100 x E6 cfu/L 10-100 x E6 cfu/L | ID + Sens ID + Sens |
| 2 | Both 100 | >100 x E6 cfu/L | ID + Sens on both |
| >3 | All  1 | Mixed culture | No work up |

Note:  Ignore urethral/skin flora of < 10 colonies when counting the types of organisms

| TABLE 3: Criteria for Contaminated urine cultures collected at the HDGH (Tayfour) Campus. Report all organisms in general terms only, with the following comment: “Multiple bacterial morphotypes present: suggestive of contamination. Repeat specimen requested if clinically significant.” |  |  |  |
| --- | --- | --- | --- |
| Types of Organisms see note | # of colonies of each type | Colony count / L | Work up |
| ≥3 | All ≥1 | >100 x E6 cfu/L 10-100 x E6 cfu/L | Report each organism in general terms and add comment `SOC |

Note:  Ignore urethral/skin flora of < 10 colonies when counting the types of organisms

| TABLE 4: Criteria for the identification and sensitivity testing of organisms isolated from Bladder urines (suprapubic urine aspirates, bladder / cystoscopy urine, nephrostomy urine or urine from Nephrostomy tube) |  |  |  |
| --- | --- | --- | --- |
| Types of organisms | # of colonies of each type | Colony count / L | Work up |
| Any # of colonies | Identify any type of organism | Quantitate using appropriate dilution factor | Do identification and sensitivity testing as appropriate |

| TABLE 5: Identification and Sensitivity testing methods for common urinary tract isolates |  |  |
| --- | --- | --- |
| Suspect Organism | Tests to be performed and expected result | Identification/ Susceptibility |
| Enterobacteriaceae | Oxidase: Negative | MS or Vitek ID + Sens |
| Non-Fermentors | Oxidase: Negative or Positive | MS or Vitek ID and refer to PHO for Sensis |
| Remember that the MS cannot distinguish a NLF E.coli from Shigella, so if the NLF is a suspected E.coli or Shigella, it must be ID’d on the Vitek II. |  |  |
| Pseudomonas aeruginosa | Oxidase: Positive Characteristic appearance | MS or Vitek ID + Sens |
| Yeast | Germ tube: Positive: Report as C. albicans Germ tube: Negative: Identify to species or Yeast-not C. albicans | Vitek ID or MS |
| Group A, B, C, G Streptococcus (large zone β-hemolytic ACG) | Catalase: Negative Strep Grouping Positive for Group A, B, C, or G MS ID is only done if necessary. | Report “BURINE”: Penicillin susceptible Beta Hemolytic Streptococci can be considered susceptible to the following antibiotics: Ampicillin, Amoxicillin, Amoxicillin-Clavulanic Acid and Cephalothin. |
| Prenatal Mixed Urines | Catalase: Negative Strep Grouping Positive for Group B Streptococci Or MS if necessary | Report `URB code Mixture of organisms –consistent with urogenital flora, including Group B Streptococci. |
| Staphylococcus aureus | Catalase: Positive Staph Latex: Positive Or MS if necessary | MS or Vitek ID + Sens Oxacillin and Vancomycin Screen. |
| Staphylococcus saprophyticus | Catalase: Positive Staph Latex : Negative Tube coagualse: Negative Novobiocin: Resistant Or MS Identification | No testing required Sens-add `SAP comment only |
| Coagulase negative Staphylococcus | Catalase: Positive Staph Latex: Negative Tube Coagulase: Negative Novobicin: Sensitive Or MS-ID | No testing required ‘CRQ’ comment (Clinical Relevance Questionable) Exception NICU/Oncology patients-report identification in general terms (CNS) with sensitivity. |
| Enterococcus species | Catalase: Negative PYR: positive | MS or Vitek Id + Sens Vancomycin Screen |
| Corynebacterium urealyticum (found in alkaline urines) | Urea : Positive MS-ID | Hold plate-and add NCCL comment |
| Aerococcus urinae ( to be reported on repeat isolation X2) if predominate growth | Gram positive cocci in clusters MS | Hold plate and add NCCL comment |

NOTES:

5.3.1	Lactobacillus, diphtheroids, Viridans Group streptococci, Strep.gallolyticus (bovis gp) and Micrococcus do not require sensitivity testing in voided urines.

Report these organisms as, “No significant growth” regardless of colony count and even in pure culture.

    - Identification and sensitivity testing results can be referred to previous specimen if received and processed within 7 days.

    - ESBL confirmation can be referred to previous specimen if received and processed within 7 days.

    - NICU Urines: Identify and report all isolates with susceptibilities, regardless of colony counts.

6.0	SUSCEPTIBILITY TESTING:  Refer to Susceptibility Testing Manual

#### 7.0	REPORTING

7.1	CULTURE

    - NEGATIVE  VOIDED URINES

      - “No growth after 1 days incubation ”

      - <106 cfu/L:

“<10 x E6 (E-exponent) cfu/L

No significant growth”

      - 10-100 cfu/L:

“10-100 x E6 (E-exponent) cfu/L

No significant growth”

7.1.1.4	>100 cfu/L

>100 X E6 (E-exponent) cfu/L

No significant growth

      - >3 organisms:

“Mixed Culture:  No significant Growth”

7.1.1.5	>3 organisms Tayfour Campus

Colony Count, list organisms in general terms and “SOC” comment

7.1.2	NEGATIVE BLADDER URINES

7.1.2.1	If no growth after 24 hours incubation, then re-incubate both BAP and MAC plate until 48 hours and report as:

‘No growth after 2 days incubation.’

    - PRELIMINARY POSITIVE

Morphologic description of organism with corresponding colony count/ L. “Identification and Sensitivity to follow”

    - FINAL POSITIVE

Organism name with corresponding colony count/L and Sensitivity testing results.

8.0	REFERENCE

  - PREVI ISOLA User Manual 2008-2010 Biomerieux.

  - Manual of Clinical Microbiology 11th edition, 2015. ASM press, Washington, D.C.

  - Clinical Microbiology Procedures Handbook Volume 1, 3rd edition, 2010. ASM press, Washington D.C.