- PRINCIPLE

To ensure adequate distribution of workload and rotation of duties between MLT’s.

- POLICY

Bench assignments are outlined to ensure patient samples are completed in a timely manner and department duties are performed as required.

- BENCH ASSIGNMENTS

Bench 1:	0700-1500 hr. TM MLT – ‘Stay Down MLT’

| 07:00-07:05 | Receive report from midnight MLT |
| --- | --- |
|  | The following duties must be done on demand as required any time throughout the day: REFER TO: IHL-LIS-VII TRANSFUSION MEDICINE MANUAL as required for the following: - Collect green autologous tags/perform ID check as required (do ASAP especially for 8am OR’s) - Complete outstanding work from previous shift - Process incoming samples, set up STATS and 8am OR’s as required - Issue blood components and products as required - Prepare plasma, cryo, platelets, octaplex, etc. as required - Order and/or receive blood components or products as required (ASAP/STAT) |
| 07:05-7:15 | - Review graphs and temps of equipment - Add distilled water to water baths (as needed) - Turn on ProVue and perform start up procedures |
| 07:15-07:20 | - Check day planner and issue bench for any notes/messages left from previous shift(s) - Check ‘Work to be Completed folder’ & investigate outstanding items as required (i.e. TRXN’s or referred out samples) |
| 07:20-08:00 | - Complete: “Morning Processes-Ouellette” Including Cancelling of blood, expiry board, reconciliation of transfused units and balancing of inventory. - Updating expiry board: physically check the expiry dates on all packed cells in the crossmatched and inventory refrigerators including the autologous shelf to verify the expiry report from TM module. Note all components expiring within the next 7 days on the expiry board. - Rearrange uncrossmatched refrigerator as necessary, placing units in order of expiry - Rearrange crossmatched refrigerator as necessary (e.g. ER-now on nursing unit) - Check excel “Downtime Transfusion Record” (log book) for anything that may have been issued by manual method the prior day (check each tab) and ensure this has been entered into the TM LIS |
| 08:00-08:15 | - Change graphs on Mondays |
| 08:15-08:45 | - Call WRH-Met Campus with our platelet inventory |
| 8:45-9:15 | - Morning Break |
| 9:15-9:45 | - Cover for 0730 a.m. MLT morning break |
| 9:45-11:30 | - Pull next day OR Ultra stickers and corresponding samples for processing. - Complete any unfinished “Morning Processes- Ouellette - Assist other MLT with prioritizing incoming samples, performing tests, and other duties as required - Process the paperwork for any autologous units that will expire at midnight. Leave the unit(s) for 3-11 shift to discard and the Autologous Utilization report for faxing the next day - see “Joint Responsibilities of All Benches” listed below |
| 11:30-12:00 | - Lunch |
| 12:00-13:00 | - Cover for 730a.m.MLT while they are on Lunch - Process incoming CBS order |
| 13:00-14:50 | - Prepare CBS order for blood components and products REFER TO – ‘IHL-TMD-II Blood Components and Products Optimal inventory and Ordering Guide – Ouellette Campus’ - Prepare special CBS orders as required (check day planner for pending transfusions requiring special units) - Complete “Late Lists” for both Ultra and TM LIS - see “Joint Responsibilities of All Benches” listed below |
| 14:50-15:00 | - Fax daily CBS order - Give report to 1500-2300 hr. MLT (notify of expiring components, expiring samples, CBS orders, etc.) |

BENCH 2:	0730-1530 hr. TM MLT

| 07:30-08:30 | - Perform QC and prepare panel cells as required. Refer to – ‘IHL-TMD-VI-Routine QC Ouellette’ - Process incoming samples, STATS, AB investigations, ‘Work to be Completed Folder’, etc. throughout the day |
| --- | --- |
| 08:30-09:15 | - Cover Bench 1 while on break - set up next day OR’s |
| 9:15-9:45 | - Morning Break |
| 9:45-14:55 | - Perform daily/weekly/monthly maintenance on ProVue as required (refer to Provue procedures) - Perform QC on ProVue - Process incoming samples, STATS, AB investigations, ‘Work to be Completed Folder’, etc. - Process incoming CBS order - Prepare plasma, cryo, platelets, octaplex, etc. as required - Assist with Bench 1 & Bench 3 (cover for breaks and help when busy) - see “Joint Responsibilities of All Benches” listed below |
| 14:55-15:30 | - Give report to 15:00-23:00 MLT |

BENCH 3:	1400-1800h.r. TM MLT – ‘ProVue Bench’

| 14:00-16:00 | - Process samples on ProVue (PAC and non-urgent samples) - Process incoming samples, STATS, AB investigations, ‘Work to be Completed Folder’, etc. - Process incoming CBS order - Assist with other bench - Prepare plasma, cryo, platelets, octaplex, etc. as required - see “Joint Responsibilities of All Benches” listed below |
| --- | --- |
| 16:00-16:30 | Break |
| 16:30-17:00 | - Process samples on ProVue (PAC and non-urgent samples) - Process incoming samples, STATS, AB investigations, ‘Work to be Completed Folder’, etc. - Process incoming CBS order - Assist with other bench - Prepare plasma, cryo, platelets, octaplex, etc. as required - see “Joint Responsibilities of All Benches” listed below |
| 17:00-17:30 | Cover Dinner break for 3-11 TM MLT |
| 17:30-18:00 | Cover Dinner break for 3-11 HEMO MLT |

AFTERNOON SHIFT: 1500-2300h.r. TM MLT

| 15:00-15:05 | - Receive report from 7-3 ‘Stay down MLT’ (e.g. expiring components or samples, incoming CBS orders, etc.) - Receive report from 7-3 ‘Pick-up MLT’ (e.g. any outstanding bench work to be done) - Ensure daily CBS order has been faxed (if required) |
| --- | --- |
| 15:05-15:10 | - Review graphs and record temps of equipment - If there is an autologous donor going to surgery the next day or a patient that needs a new sample drawn the next day (day of surgery) – forward the blue sheet to OPD/Day surgery (pod or deliver to the 5th floor OPD if pod system is down) |
|  | The following duties must be done on demand as required any time throughout the shift: - process incoming samples - Issue blood components and products as required - Prepare plasma, cryo, platelets, octaplex, etc. as required - Order and/or receive blood components or products as required (ASAP/STAT) |
| 15:10-17:00 | - Complete any outstanding samples in progress from previous shift - Check “Work to be Completed Folder” for any outstanding work - Cover 14:00-18:00 MLT while on break |
| 17:30-22:55 | - graph inspection at 1900h - Clean all bench countertops and serofuges daily – this includes ALL bench surfaces, ProVue, microscope, receiving area, sign-out area, centrifuge area, fronts of drawers, etc. - Perform end of day ProVue maintenance and shut down - *Review crossmatched box and cancel any units crossmatched on patients whose sample expires that day (must be done by 23:00) - Discard and document any expiring blood components/products as required - Also see “Joint Responsibilities of All Benches” listed below *SUNDAY EVENINGS: - Rotate patient samples and segments. Throwing out week #5 and relabel week #’s on baskets. (includes cleaning these racks & baskets before relabeling and returning to the fridge) |
| 22:55-23:00 | - Give report to the midnight MLT |

MIDNIGHT SHIFT: 2300-0700/0000-0800 TM MLT

| 2300/0000-0700/0800 | - Complete any outstanding samples in progress from previous shift. - Perform routine testing on patients that present on shift (basic workup) - Basic workup includes: Type and Screen, Antibody panels and identification, phenotyping of units, crossmatch. - Complex investigation (eluates, auto absorption etc), communicate with nursing as to critical need and document information. - Can it wait to be completed on day shift? Should another MLT be called in to help? - Refer to IHL-TMD-I Situations Requiring Medical Consultation |
| --- | --- |

JOINT RESPONSIBILITIES OF ALL BENCHES

- Cover other benches for breaks, meetings, etc.

- Fill humidifier (as required)

- Empty biohazard garbage (as needed, at least once daily)

- Refill supplies – component tags, file cards, tubes, pipettes, caps, segment cutters, pipette tips, gloves, Kleenex, cut placemats, etc.

- Perform maintenance as outlined on the “IHL-TMD-VII Routine Maintenance Schedule-Ouellette” (on TM door)

- Receive reagent shipments and put away supplies (document receipt of all reagents)

- Phenotype special units saved for patients requiring transfusion or patients with upcoming OR

- Check ‘Work to be Completed folder’ and investigate outstanding items as required (i.e. TRXN’s or referred out samples)

- Complete Medical Record Unit Consolidation report – name or HR# changes from admitting – check our files and update if necessary

- Organize and/or file older memo’s, read and signs, CBS memos

ADDITIONAL WEEKEND DUTIES

- Label graphs and temp charts, fill in new QC sheet with lot numbers and expiry dates (for Monday am) and highlight reagents expiring in the next week

END OF MONTH DUTIES

The following items should be performed by the end of the afternoon shift on the last day of the month (some items may be started on the day shift if possible):

- Change calendars above each bench (see ‘Monthly Forms’ folder under the sign out bench for copies)

Note: For the following items, all previous month’s paperwork may be piled on the far right corner of the bench where we receive blood products. A dedicated TM MLT will put in the appropriate place once all end of month duties are complete.

- Remove the current month Daily Balancing Box and start new box.

- Change temperature charts, humidity chart and ‘Work Surface & Sink Disinfection Log’ chart as required

IHL-TMD-VII-Temperature Chart

IHL-TMD-VII-Humidity Chart

IHL-SAF-X- Work Surface & Sink Disinfection Log

- Put out a new ‘ProVue Maintenance Checklist’ on the ProVue clipboard. If there are outstanding items that still need to be complete on the current month’s list, complete items or if unable to complete at this time, place in the “Work to be Completed Folder”

IHL-TMD-PRO- Ortho ProVue Maintenance Checklist

- Put out a new “IHL-TMD-VII Routine Maintenance Schedule –Ouellette””  on the door. If there are outstanding items that still need to be complete on the current month’s list, complete items or if unable to complete at this time, place in the “Work to be Completed Folder”

- Put out a new ‘Pathology Consult Sheet’

IHL-GEN- Hematology Units: Transfusion Medicine

- Remove the entire month’s ‘Daily Incubator Temperature Charts’ (next to MTS incubator)

- Remove the entire month’s ‘Daily Inventory Balance Forms’ (in folder under sign out bench)

- Remove the entire month’s ‘TM-Unit Worksheets’ (in folder under sign out bench)

ADDITIONAL DUTIES FOR DEDICATED TM MLT’S

- Filing of CBS packing slips and Transfer Vouchers (when required)

- Month end balancing Refer to: IHL-TMD-I Month End Balancing and Monthly Bookwork- Ouellette

- Month end CBS final disposition report

- Month end paperwork is complete- new calendars posted, pathologist consultation is faxed and new one posted, Provue print outs are stored away, new logs posted for general  maintenance and Prove maintenance, new temp charts, humidity and bench cleaning charts (as required) posted, daily temps filed away.

- Ensuring that the cells and reagents are changed according to schedule

- Special  donor unit shelf maintenance

- Maintain general supplies and reagents for the department- Give to Senior MLT or Technical coordinator to order.

- Monitor expiry dates for frozen products (CSP FFP etc.)

- Ensuring the maintenance schedule is being adhered to and completed

- Maintaining ‘special cells’ (k neg and I neg) in cell rack and put antigrams into binder

- Follow up on ‘work to be completed ‘ items

START OF NEW YEAR

- Storage of the following documents according to retention guidelines:

    - Antigrams from antibody investigations

    - Referred In antibody investigations

    - Transfusion reactions including donor tags

    - Phenotype worksheets

    - Sickle Cell typing sheets

    - Expired master antigrams

    - Temperature graphs

    - Maintenance documents

    - QC documents

    - Provue maintenance documents

    - Provue patient result print out

    - Pathologist consultations

    - Month end CBS balancing documents

    - Lookback/Tracebacks from CBS

    - Reagent tracking log

- Remove previous year’s documents and store in TM department for access if required.

- Other documents: box up and send to off site storage facility according to retention guidelines.

- *Retain maintenance records on site for 5 years then discard.

- Print and post new IQMH schedule

- Obtain new IFU’s (information for use) for reagents and ensure package inserts are up to date in reagent binder.