## Slide 1
MICROSCAN MISMATCHED RESULTS
Process Improvement Project
By: Mariam Imsaiah

## Slide 2: WHAT DOES A MICROSCAN MISMATCHED RESULT ALERT MEAN?
Microscan Mismatched results occur when an isolate’s preliminary identification sent from SOFT does not match the Microscan final identification.

## Slide 3: HOW TO PROCEED WITH A MICROSCAN MISMATCHED RESULT?

## Slide 4
1. SCAN SPECIMEN, THIS ALERT WILL COME UP, CLICK OK

## Slide 5
3. CLICK ON INTERFACE
4. SELECT INSTRUMENT MENU
2. ENTER SOFTMIC

## Slide 6
5
6

## Slide 7
7. SCAN SPECIMEN AND SELECT IT

## Slide 8
8. CLICK ON IR ICON
9. SEE ID

## Slide 9
10. CLICK ON RED CHECKMARK ICON BELOW “TOOLS”

## Slide 10
11

## Slide 11
12

## Slide 12
After previous steps, the Microscan result will be posted in SOFTMIC.
The medical technologist should troubleshoot why a mismatched result occurred and identify the source of error.
A corrected report needs to be made and called.