# PLATELET AGGREGATIONS NORMAL RANGES

| # Normal Ranges in Hyper Aggregation |  |  |
| --- | --- | --- |
| Reagent | # Concentration | Aggregation (%) |
| ADP | 10.0 mcM | 65 - 100 % (Max) |
| ADP | 2.0 mcM | 13 - 82 % (Max) |
| ADP | 1.0 mcM | 4 - 35 % (Max) |
| ADP | 0.5 mcM | 0 - 30 % (Max) |
| Epinephrine | 10.0 mcM | 70 - 95 % (Max) |
| Epinephrine | 1.0 mcM | 7 - 85 % (Max) |
| Epinephrine | 0.5 mcM | 5 - 84 % (Max) |
| Spontaneous | NA | Absent |
| Arachidonic Acid | 500 mcg/mL | 60-100% |

| # Normal Ranges in Routine Aggregation |  |  |
| --- | --- | --- |
| Reagent | Concentration | Aggregation |
| ADP | 10 mcM | ≥65% (Max ) |
| ADP | 5 mcM | ≥60% (Max ) |
| Ristocetin | 1.5 mg/mL | ≥70% (Max) |
| Ristocetin | 1.0 mg/mL | ≥65% (Max ) |
| Ristocetin | 0.5 mg/mL | <15 (Max) |
| Collagen | 2 mcg/ML | ≥65% (Max & Rate) |
| Collagen Lag Phase | NA | 15-70 seconds |
| Arachidonic Acid | 500 mcg/mL | ≥60% |

| # Normal Ranges in Lumi Aggregation |  |  |
| --- | --- | --- |
| Reagent | Concentration | Aggregation |
| ADP Max | 20mcM | > 65% (Max & Rate) |
| Collagen Max | 2 mcg/mL | > 65% (Max & Rate) |
| Collagen T1/2 | 2 mcg/mL | < 99 sec |
| TRAP Max | 100mcM | > 40% (Max & Rate) |
| LUMI ADP | 20mcM | 0.30 – 0.93 nM |
| LUMI Collagen | 2 mcg/mL | 0.5 – 1.4 nM |
| LUMI TRAP | 10mcM | 0.4 – 1.2 nM |
| Arachidonic Acid | 500 mcg/mL | > 60% |

| ASSAY | METHOD | REPORTABLE LIMITS | NORMAL/ THERAPEUTIC VALUES |
| --- | --- | --- | --- |
| PT | IL ACL-TOP | 9-100 seconds | 9.2-13.5 seconds |
| aPTT | IL ACL-TOP | 21-200 seconds | 25-37 seconds/ 56-81 seconds (ACS: 50-75 seconds) |
| Fibrinogen | IL ACL-TOP | 35-1000 mg/dL | 200-400 mg/dL |
| Thrombin Time | IL ACL-TOP | 6-100 seconds | 16-25 seconds |
| Inhibitor Screen (Mixing Studies) | IL ACL-TOP | Negative/Positive | Negative |
| Inhibitor Assay (Bethesda) | BCSXP | <1 - >200 Bethesda Units/mL | <1 Bethesda Units/mL |
| PFA-Coll/Epi | PFA-100 | 0-300 seconds |  160 seconds |
| PFA-Coll/ADP | PFA-100 | 0-300 seconds |  106 seconds |
| D-dimer; Quantitative | IL ACL-TOP | 250 – 10,000 ng/mL FEU | < 600 ng/mL FEU (VTE: <500 ng/mL FEU) |
| Fibrin Split Products | Latex/Manual | <10 to >40 mcg/mL | < 10 mcg/mL |
| ATIII | IL ACL TOP | 0 - >150% | 85-150 % |
| Factor II Activity) | IL ACL TOP | 10-600% | 75-135% |
| Factor V Activity | IL ACL TOP | 10-600% | 60-145% |
| Factor VII Activity | IL ACL TOP | 10-600% | 50-150 % |
| Factor VIII Activity | IL ACL TOP | 10-600% | 50-175% |
| Factor IX Activity | IL ACL TOP | 10-600% | 70-150% |
| Factor X Activity | IL ACL TOP | 10-600% | 70-150% |
| Factor XI Activity | IL ACL TOP | 10-600% | 65-150% |
| Factor XII Activity | IL ACL TOP | 10-600% | 60-180% |
| Factor Assays Low | IL ACL TOP | 1-15% | Refer to individual ranges |
| DRVVT Screen | IL ACL TOP | 0-100 seconds |  41 seconds |
| DRVVT Confirm | IL ACL TOP | 0-100 seconds |  34 seconds |
| DRVVT Normalized Ratio | IL ACL TOP | 0-100 seconds | < 1.21 |
| VWF Antigen | IL ACL TOP | 10-300% | 50-175% |
| Fibrin Stabilizing Factor | Manual | Present/Absent | Present |
| Reptilase Time | IL ACL TOP | 0-100 seconds | 16-21 seconds |
| VWF Activity | IL ACL TOP | 20 -300% | 50-175% |
| Heparin anti-Xa, LMWH | IL ACL TOP | 0-2.0 Units/mL | 0 Units/mL 0.6-1.0 Units/mL twice daily dosing 1.0-2.0 Units/mL once daily dosing |
| Heparin anti-Xa, unfractionated | IL ACL TOP | 0-2.0 Units/mL | 0 Units/mL Therapeutic:0.3-0.7 Units/mL |
| Hexagonal Phase Phospholipid | ST4 | 0-100 seconds | < 7 seconds |
| Protein C Activity | IL ACL TOP | 10-250% | 70-185% |
| Protein S Activity | IL ACL TOP | 10-250% | Females 50-160% Males 60-160% |
| Activated Protein C Resistance | IL ACL TOP | 15-200 seconds |  2.3 Normal (ratio) |
| Plasminogen | IL ACL TOP | 10-270% | 70-145% |
| Plasmin Inhibitor | IL ACL TOP |  | 90-140% |
| Argatroban (Dilute Thrombin Time) | BCSXP | 0.0-2.0 mcg/mL | 0.6-1.8 mcg/mL |
| Dabigatran (Dilute Thrombin Time) | BCSXP | 0.03-0.47 mcg/mL | Literature established therapeutic ranges: 0.09-0.18 mcg/mL |

Authorized Reviewers

Chair, Pathology and Laboratory Medicine

Medical Director, Coagulation

##### Document Control

##### Location of Master: Coagulation Procedure Manual

##### Master electronic file stored on the Beaumont Laboratory server:

S:\HEMACOAG\Document Control\Coagulation\Procedures\Coag Normal Ranges

Number of Controlled Copies posted for educational purposes: 1

Number of circulating Controlled Copies: 0

Location of circulating Controlled Copies: NA

##### Document History

| Signature | Date | Revision # |  | Related Documents Reviewed/ Updated |
| --- | --- | --- | --- | --- |
| Prepared by: Karri Henderson, MT (ASCP) | 03/20/07 |  |  |  |
| Approved by: Marc Smith, MD | 03/28/07 |  |  |  |
| Reviewed by: (Signature) | Date | Revision # | Modification | Related Documents Reviewed/ Updated |
| Marc Smith MD | 03/28/2007 | 00 | New procedure/format |  |
| Marc Smith MD | 11/01/2007 | 01 | Pg 2 Change Coll/ADP and Coll/EPI normal values. Pg 2 Added Factor VIII Activity normal values and reportable limits. |  |
| Marc Smith MD | 3/12/2008 | 02 | Pg 1 Change normal range for PT CA1500, BCS and ST4. Change normal range for Thrombin time. Change Plt agg Lumi ADP normal range. |  |
| Marc Smith, MD | 07/22/2008 | 03 | Updated method from CA1500 to CA7000. Updated PTT normal and reportable range; updated Thrombin normal reference range; updated fibrinogen reportable limits for all analyzers. |  |
| Marc Smith, MD | 02/11/2009 | 04 | Updated normal values range for PT, aPTT, TT and vWF Ag and lumi agg ADP; added Heparin aPTT, hexagonal phase phospholipid, inhibitor assay (Bethesda) and Euglobulin Lysis time. |  |
| Marc Smith, MD | 06/16/2009 | 05 | Updated ristocetin normal range max and rate. |  |
| Marc Smith, MD | 11/20/2009 | 06 | Changed the method for PT and aPTT to CA Series. |  |
| Marc Smith, MD | 02/23/2010 | 07 | Changed normal range for PT, PTT and Heparin aPTT. |  |
| Marc Smith, MD | 10/15/2010 | 08 | Changed normal range for Protein S free antigen test. |  |
| Marc Smith, MD | 05/27/2011 |  | RC added to SOP#; new format |  |
| Marc Smith, MD | 09/22/2011 | 09 | Changed factor reference ranges. Deleted Heparin aPTT. Added therapeutic range to aPTT. Changed Bethesda reference range. Changed ST4 and BCS aPTT reportable limits to 21 secs. Changed BCS PT reportable limits to 9 secs. Deleted semi-quantitative d-dimer. |  |
| Marc Smith, MD | 02/21/2012 | 10 | Updated PT normal range. |  |
| Marc Smith, MD | 07/10/2013 | 11 | Updated normal ranges for hyper aggregation, routine aggregation, fibrinogen, TT; added collagen lag phase;changed reportable limits for Inhibitor assay (Bethesda) and Ristocetin. | NA |
| Marc Smith, MD | 11/13/2013 | 12 | Deleted ADP 20 mcM from hyper aggregation list. | NA |
| Marc Smith, MD | 07/13/2014 | 13 | Pg 2:changed aPTT normal range to 23-30 seconds | NA |
| Marc Smith, MD | 04/02/2015 | 14 | Pg 2, added normal and therapeutic range for Argatroban; added literature established therapeutic range for Dabigatran. | NA |
| Marc Smith, MD | 07/24/2015 | 15 | Pg 2, changed Bethesda inhibitor normal range to <1 BU/mL and reportable to <1 to >200 BU/mL | NA |
| Marc Smith. MD | 04/01/2016 | 16 | Pg 2 changed reptilase normal range to 16-21 seconds; changed direct thrombin inhibitor to dilute thrombin time in the test name for argatroban and dabigatran. | NA |
| Marc Smith, MD | 04/04/2017 | 17 | Pg2 deleted Euglobulin clot lysis (retired); updated ug to mcg. | NA |
| Marc Smith, MD | 09/11/2017 | 18 | P2 deleted normal ranges for Protein C antigen and Total and Free Protein S antigen | NA |
| Elizabeth Sykes, MD | 02/22/2018 |  | No changes | NA |
| Marc Smith, MD | 10/02/2018 | 19 | For aPTT, PT, FIB, TT, D-dimer, and Inhibitor Screen updated method, reportable limits, and reference ranges/therapeutic ranges for IL ACL-TOP. Removed References for BCS-XP and ST4 for PT, PTT, and Fib tests. | NA |
| Peter Millward, MD | 09/27/2018 |  |  |  |
| Marc Smith, MD | 1/11/2019 | 20 | For an AT, PC, PS, PLG, VWAG, Intrinsic and Extrinsic factors, DRVVT, APCR, change RCF test to VWF activity and added plasmin inhibitor test. All above tests to be ran on IL ACL TOP and change the normal/therapeutic ranges. Removed References for BCS-X |  |
| Peter Millward, MD | 2/13/2019 |  | New Medical Director |  |
| Marc Smith, MD | 09/06/2019 | 21 | Change PT Normal Range and PTT Heparin Therapeutic range |  |