## Slide 1
Introduction to the Soft Laboratory Information System Suite
Updated: June, 2020

## Slide 2: SCC Soft Suite
Soft Computer Corporation, SCC, is located in Clearwater, Florida.
Soft Laboratory Information System (LIS) Suite has eleven modules as illustrated on the next slides.
Communication to our Hospital Information System (HIS), Epic oneChart, is through the Soft Lab module.

## Slide 3
Soft Lab
Soft
Express
Soft Gene
Soft ID
Soft
Total
QC
Soft Path
Soft Bank
Soft Reports
Soft Security
Soft Media
Soft
Micro
Epic

## Slide 4: Soft Modules
Brief Overview

## Slide 5: Soft Lab / Mic / Total QC (TQC)
Main hub of the LIS.
All tests performed pass through the Soft Lab module.
Soft Lab contains work stations for: Chemistry, Hematology, Coagulation, Send outs, Microbiology and a link to Total QC.
Soft Lab is the single application for all laboratory Order Entry functions.

## Slide 6: Soft Lab
Additional features include:
  call queue
  specimen tracking
  instant printed reports
  faxing
  Printer hardware settings
  report flags

## Slide 7: Soft Bank
Transfusion Medicine Departments use Soft Bank (Soft Scape) to test and issue:
  Patient samples
  Blood products
  Tissue products
  Evaluate transfusion reactions

## Slide 8: Soft ID
Specimen collection application:
  Inpatient phlebotomists, nurses and staff collecting specimens in the inpatient setting.
  Outpatient phlebotomists use this system for patients that arrive for a procedure that requires a Type & Screen collection.
Module supports Positive Patient Identification (PPID) barcode technology.

## Slide 9: Soft Express
Customer Service module
Tracks specimens as they are transported from one location to another.
Utilized by:
  Patient Service Center phlebotomists
  Physician Office staff
  Couriers when they pick up specimens.

## Slide 10: Soft Express
Additional Soft Express utilities:
  call and problem documentation
  courier route management
  supply distribution and usage
  client account details

## Slide 11: Soft Path
  Cytology testing
  Surgical Pathology testing
  Autopsy cases

## Slide 12: Soft Gene
This unique suite contains four modules:
  Soft Molecular: AP and CP molecular
  Soft HLA: Tissue Typing
  Soft Flow: Flow Cytometry
  Soft Cytogenetics: Cytogenetics

## Slide 13: Soft AR
Utilized by Billing Department staff for Laboratory Test Billing (or Account Records).

## Slide 14: Soft Reports
Report Management
Example operational reports include:
  Test Results Statistics
  Verified Results
  Daily Log and Daily Activity
  Monthly Test Data
  QA Monitors and Turnaround Times
  and many others

## Slide 15: Soft Media
Soft Media manages document imaging:
  Test requisitions from Outreach clients
Imaged requisitions are linked to the test order and viewable in Soft Lab.

## Slide 16: Soft Module Interaction
Examples

## Slide 17: Soft Module Interactions
Example: Phlebotomy
Phlebotomists will utilize certain modules based on where they work.
  The Inpatient Phlebotomist will use Soft ID and Soft Lab.
  The Outpatient Phlebotomist will use Soft ID, Soft Lab, and Soft Express.
Example: Blood Bank
Samples are collected and accessioned in Soft Lab and tested in Soft Bank.

## Slide 18: Soft Module Interactions
Ordering & Collecting Tests in Soft:
Four ways to order and collect tests in Soft:
  Order in Epic, collect in Soft ID
  Order in Soft Lab and collect in Soft Lab
  Order in Soft Lab and collect in Soft ID
  Order in Epic and collect in Soft Lab

## Slide 19: INPATIENTS: Order Tests in Epic and Collect in Soft ID
Tests uploaded into
Soft Lab
Tests Ordered
In Epic
Tests Collected
In Soft ID
Tests Submitted
Back to Soft Lab
for testing
Tests Resulted
in Soft Lab go back
to EPIC

## Slide 20: Ordering and Collecting in Soft Lab
Order & Collect tests in Soft Lab
Some tests will be performed in Soft Lab;
other tests will be sent to different
Soft modules to be performed.
Results
to Epic
Micro
Path
Gene
Bank

## Slide 21: Order in Soft Lab and collect in Soft ID
Collect in Soft ID
Results sent to Epic
Test ordered in
Soft Lab
Test performed in
Soft Lab

## Slide 22: Order in Epic to be collected in Soft Lab
Place
Order in
Epic
Collect
(and test) in
Soft Lab:
Heme
Chem
Coag
Testing in Soft:
Micro
Path
Gene
Bank