Purpose

The purpose of this procedure is to provide information on the operation and maintenance of the microtome.

Equipment

- Microtome

Procedure

See operating manual located in histology for the information on each corresponding piece of equipment.

Maintenance:

- Remove all debris

- Wipe surfaces using small amount of wax off soak gauze

- Oil/grease moving parts as needed

Results

Microtome will be operated properly; maintenance will be done as required.

Authorized Reviewers

Medical Director, Anatomic Pathology

Chief, Surgical Pathology

##### Document Control

##### Location of Master: Master electronic file stored on the Beaumont Laboratory server under

##### S:\Anatomic Pathology\Royal Oak\Histology\Document Control\Master Documents\Histology Procedures\Equipment

Number of Controlled Copies posted for educational purposes:  0

Number of circulating Controlled Copies:  1

Location of circulating Controlled Copies: Histology Procedure Manual bench copy

##### Document History

| Signature | Date | Revision # |  | Related Documents Reviewed/ Updated |
| --- | --- | --- | --- | --- |
| Prepared by:S.Scalise | 10/28/2013 | 00 |  |  |
| Approved by:Dr. Armin | 10/28/2013 | 00 |  |  |
| Reviewed by: (Signature) | Date | Revision # | Modification | Related Documents Reviewed/ Updated |
| Dr. Amin | 2/14/2015 | 00 |  |  |
| Dr. Bernacki | 10/31/2017 | 00 |  |  |
| Dr. Bernacki | 10/22/2019 | 00 |  |  |
|  |  | 01 | Remove specific microtome model |  |