Purpose

To provide a procedure for the accurate filing of all unstained slides.

Principle

Unstained slides are kept on blocks requiring deeper cuts in order to provide tissue for possible special staining requests.

Supplies	The following supplies are needed for this procedure:

- Slide drawers

Safety

All sharps should be handled with care

Procedure	Follow the steps in the table below when filing unstained slides:

| Step | Action | Note |
| --- | --- | --- |
| 1 | Pull slide baskets out of 60°C degree oven after drying a minimum of 30 minutes. Let slides cool off for at least 20 minutes before removing from baskets. | The baskets can be tapped gently on the counter to ensure there is no water left on the slides. |
| 2 | Once cooled, remove slides from baskets and place piles of slides on counter. | Again, if you tap the baskets gently on the counter, the wax will loosen and the slides will come out of the baskets easier. |
| 3 | Begin sorting piles of slides into numeric order by carefully checking each slide and placing them in numeric stacks directly on the countertop. |  |
| 4 | Once all slides are in numerical order they can be put into current slide drawer. |  |
| 5 | Slides are saved for a minimum of one month. Older drawers are stored in lower cabinet; recent drawers are kept on the countertop. | When ready to dispose, slides must be dumped into a cardboard box marked “Disposal – PHI Glass slides”. |

Results

All unstained slides will be filed accurately and will be disposed of when 	appropriate.

Authorized Reviewers

Medical Director, Anatomic Pathology

Chief, Surgical Pathology

##### Document Control

##### Location of Master: Master electronic file stored on the Beaumont Laboratory server under

S:\Anatomic Pathology\Royal Oak\Histology\Document Control\Master Documents\Histology Procedures\Records Management

Number of Controlled Copies posted for educational purposes:  0

Number of circulating Controlled Copies:  1

Location of circulating Controlled Copies: Histology procedure manual, bench copy

##### Document History

| Signature | Date | Revision # |  | Related Documents Reviewed/ Updated |
| --- | --- | --- | --- | --- |
| Prepared by: S. Scalise | 10/28/13 | 00 |  |  |
| Approved by: A. Armin, MD | 10/28/13 | 00 |  |  |
| Reviewed by: (Signature) | Date | Revision # | Modification | Related Documents Reviewed/ Updated |
| M. Amin, MD | 2/14/15 | 00 |  |  |
|  |  | 01 | Updated to change “bankers boxes” to “slide drawers”. Updated to current process, no longer stack on counter; filed directly into drawers. |  |
| Dr. Qu |  | 01 |  |  |
| Dr. Bernacki | 10/31/2017 | 01 |  |  |
| Dr. Bernacki | 10/27/2019 | 01 |  |  |
|  |  | 02 | Updated step #5, save for a minimum of one month and dispose in cardboard box |  |