Purpose

The study is indicated in situations dealing with intestinal neuronal dysplasia, intestinal pseudo-obstruction syndrome, and cases of Hirschsprung's Disease.  The specimen must be oriented correctly so that all layers of tissue will be demonstrated upon sectioning.

Specimen

| Step | Action |
| --- | --- |
| Fixation | Unfixed tissue that has been frozen. |
| Processing | Fresh tissue. No processing. |
| Section Thickness | Cut frozen sections at 8-12 microns. |
| Slide Drying | NA |
| Type of slide | Plus slides. |

Equipment	The following equipment is needed for this procedure:

- OCT compound

- Well freeze bar system

- Cryostat.

Safety  		 Follow standard safety procedures when embedding tissue.

Supplies and	 The following supplies and reagents are needed for this procedure:

Reagents

O.C.T. COMPOUND  available from commercial vendor.

Quality control

- Orientation must be maintained for cross-section.

- The cut sections can be stored in the freezer for 48 hours.

- The specimen is stored in -700C degree freezer for 2 years

Procedure	Follow the steps in the table(s) below:

| Step | Action | Note |
| --- | --- | --- |
| 1 | Obtain Rectal Biopsy specimen from PA in Surgical Pathology |  |
| 6 | Place the rectal biopsy specimen directly into the Freezing Well Bar on edge, cover with OCT and the chuck then remove tissue from well when frozen. |  |
| 10 | Place chuck in cryostat and allow to warm-up to cryostat temperature for about 30 minutes. |  |
| 11 | Face block and begin sectioning. | First slide should consist of as many sections as it takes to get into the tissue. |
| 12 | Do a quick stain on the first slide and check under scope for correct orientation. | If orientation is incorrect, melt tissue down and reorient. Use the dissecting microscope to assist in locating the shiny serosal surface and embed it perpendicular to the chuck face. |
| 13 | Again, cut a slide and check for correct orientation. | If good proceed to the next step, if not you must reorient. |
| 14 | Cut ten serial sectioned slides at 10 um with 2-3 sections per slide. |  |
| 15 | Label slides: 1 through 10. |  |
| 16 | Stain slides labeled 1,3, 5, and 7 with an H&E stain. |  |
| 17 | Show stained section to pathologist. |  |
| 18 | Stain slides designated by pathologist with the ACE procedure. |  |
| 19 | Any extra slides are kept in freezer for extras. |  |

Authorized Reviewers

Medical Director, Anatomic Pathology

Chief, Surgical Pathology

##### Document Control

##### Location of Master: Master electronic file stored on the Beaumont Laboratory server under

##### S:\Anatomic Pathology\Royal Oak\Histology\Document Control\Master Documents\Histology Procedures\Special Procedures

Number of Controlled Copies posted for educational purposes:  0

Number of circulating Controlled Copies:  1 Histology Department Procedure Manual

##### Document History

| Signature | Date | Revision # |  | Related Documents Reviewed/ Updated |
| --- | --- | --- | --- | --- |
| S.Scalise | 10/28/2013 | 00 |  |  |
| Dr. Armin | 10/28/2013 | 00 |  |  |
| Reviewed by: (Signature) | Date | Revision # | Modification | Related Documents Reviewed/ Updated |
| Dr. Amin | 2/14/2015 | 00 |  |  |
| Dr. Bernacki | 10/31/2017 | 00 |  |  |
| Dr. Bernacki | 10/22/19 | 00 |  |  |
|  |  | 01 | Updated Freezing technique from isopentane to freezing well bars |  |