Purpose	To provide a procedure for the gross examination of a liver core biopsy specimen.

Principle	To submit all identifiable tissue cores so that a diagnosis can be made microscopically by a pathologist.

_____________________________________________________

Equipment	The following equipment is needed for this procedure:

- Ruler

- Forceps

- Lens paper

Safety

- PPE should be worn.

- FORMALIN is a known carcinogen.

Supplies and	The following supplies and reagents are needed for this

Reagents	procedure:

- 10% NEUTRAL BUFFERED FORMALIN (pH range 6.9 – 7.2) - BBC Biochemical, Item # 0151 (5 Gallon Cube)

- HEMATOXYLIN I, Richard-Allan Scientific, Reorder Number 7221.

Quality control

- All tissue should be submitted.

Limitations/		The following may influence the validity of test results:

Notes

- The specimen should be fixed in formalin.

_________________

Procedure	Follow the steps listed below:

- The specimen will arrive in a jar of formalin.

- Using forceps, carefully remove all cores from the container.

- Dictate the number, the size range (smallest length to largest  length in cm.), the color, and the consistency of the cores.

- All cores should be submitted by wrapping them in lens paper or filtering in biopsy bags.

- All cores should be inked with hematoxylin.

- If a mass is suspected, divide the cores into a maximum of 5 blocks with one core per block. Filter any core fragments. “Serial sections X 4” should be dictated under the special procedures section of the pathology report (sections 1 and 4 should be stained with H&E while sections 2 and 3 should be left unstained on plus slides for possible immuno studies).

- For all other liver biopsies not suspicious for mass, submit entirely in one block.  “Liver series” should be dictated under the special procedures section of the pathology report (masson trichrome and PAS/D).

- The cassette or cassettes should be loaded on the appropriate processor as to allow at least 6 hours of fixation.

References		The following items were used as sources of information.

Hruban RH, Westra, WH, Phelps, PH, & Isacson, C:  Surgical Pathology Dissection An Illustrated Guide, New York, NY, Springer-Verlag Inc., 1996.

Lester, SC:  Manual of Surgical Pathology, New York, NY, Churchill

Livingstone, 2001.

##### Document Control

##### Location of Master: Master electronic file stored on the Beaumont Laboratory server under S:\ AP_Grossing_Manual

Number of Controlled Copies posted for educational purposes:  0

Number of circulating Controlled Copies:  1

##### Location of circulating Controlled Copies: Master Grossing Manual located in Surgical Pathology

_________

##### Document 		The table below is used to capture staff signatures and dates

##### history 	associated with initial document preparation, annual review, and revisions.

| Signature | Date | Revision # |  | Related Documents Reviewed/ Updated |
| --- | --- | --- | --- | --- |
| Prepared by: Anne Tranchida, PA(ASCP) | 9/21/2009 | r00 |  |  |
| Approved by: Ali-Reza Armin, MD | 10/24/2009 | r00 |  |  |
| Reviewed by: (Signature) | Date | Revision # | Modification | Related Documents Reviewed/ Updated |
| Ali-Reza Armin, MD | 10/20/2011 | r00 |  |  |
| Ali-Reza Armin, MD | 4/2/2013 | r00 |  |  |
| Mitual B. Amin,MD | 2/14/2015 | r00 |  |  |
| Zhenhong H. Qu, MD | 3/12/2015 | r00 |  |  |
| Revised by: Heather Genson, HTL(ASCP)CMPACM | 12/2/2016 | r01 | Changed to serial sections x4. One core per block with a maximum of 5 blocks for suspected mass |  |
| Approved by: Zhenhong H. Qu, MD | 12/2/2016 | r01 |  |  |
| Kurt Bernacki, MD | 10/27/2017 | r01 |  |  |
| Kurt Bernacki, MD | 10/22/2019 | r01 |  |  |
| Kurt Bernacki, MD | 10/20/2021 | r01 |  |  |
| Jawwad Arshad, MD | 3/20/2023 | r01 |  |  |