###### Purpose

To provide a procedure for the gross dissection of a specimen comprised of bone curettings / cores.

- Principle

To take histologic sections to demonstrate any possible pathologic process present so that a diagnosis can be made microscopically by a Pathologist.

###### Equipment

- Ruler

- Forceps

- Scalpel

- Biopsy bags

- Tissue paper

- Safety

- PPE should be worn.

- FORMALIN is a known carcinogen.

- DECALCIFICATION SOLUTION is a strong acid.

- Supplies and Reagents

- 10% NEUTRAL BUFFERED FORMALIN (pH range 6.9 – 7.2)

- DECALCIFYING SOLUTION

- MOL-DECALCIFIER (Unbuffered 10% EDTA decalcification solution for morphology and molecular studies)

- Quality Control

The entire specimen should be submitted. If there is an exception, the remainder of the specimen should be retained.

- Limitations/ Notes

The following may influence the validity of test results:

- The specimen should be fixed in formalin for a minimum of 6 ½ hours before being decalcified.

- Prolonged decalcification will affect the histologic detail and the preservation of some nuclear antigens.

- Procedure

- Measure the bone curettings / fragments as an aggregate (3 dimensions – cm.) or the bone cores as a range in length (cm).

- Describe any included soft tissue. Try to separate from the bone and submit separately.

- The bone MUST fix for a minimum of 6 ½ hours before any decalcification.

- If bone cores are received for tumor or fracture, or are from an Orthopedic Oncology Surgeon, separate into a maximum of five blocks and add serial sections x 4 (1 and 4- H&E, 2 and 3- unstained).

- If bone curettings/fragments are received for tumor or fracture, or are from an Orthopedic Oncology Surgeon, separate into a minimum of two blocks (separate from any soft tissue).  For these types of specimens, medullary bone fragments should undergo Mol-decalcification.  Soft tissue fragments do not require decalcification.  Cortical bone fragments cannot undergo Mol-decalcification.

- Any bone sent for tumor/fracture/Orthopedic Oncology Surgeon should be given to histology to be Mol-decalcified (after fixing for a minimum of 6 ½ hours). In the gross description, state “Mol-decalcification” and specify which blocks are “Mol-delcalcified.”

- Bone sent for other than tumor/fracture/Orthopedic Oncology Surgeon (e.g. osteomyelitis not from an Orthopedic Oncology Surgeon) can be placed in the regular decalcifying solution (AFTER a minimum fixation of 6 ½ hours). In the gross description, state “Regular decalcification” and specify which blocks are “Regular delcalcified.”

- Rinse all cassettes in running water after decalcifying.

- If submitting the entire specimen would exceed 10 cassettes, consult the Pathologist assigned to the case regarding the amount of the specimen that should be submitted.  Also, check the patient’s history for more information.

- Utilize biopsy bags and tissue paper as needed for smaller pieces.

- Dictate which cassettes are decalcified and specify if “Regular decal” or “Mol-decal”.

- References

Hruban RH, Westra, WH, Phelps, PH, & Isacson, C:  Surgical Pathology Dissection An Illustrated Guide, New York, NY, Springer-Verlag Inc., 1996.

Lester, SC:  Manual of Surgical Pathology, New York, NY, Churchill

Livingstone, 2001.

- Related Documents

RA.HI.PR.SP.005- Molecular Decalcification

- Authorized Reviewers

- Medical Director, Anatomic Pathology

- Chief, Surgical Pathology

##### Document Control

##### Location of Master: Master electronic file stored on the Beaumont Laboratory server under

S:\ AP_Grossing_Manual

Number of Controlled Copies posted for educational purposes:  0

Number of circulating Controlled Copies:  1

Location of circulating Controlled Copies: Master Grossing Manual located in Surgical Pathology

##### Document History

| Signature | Date | Revision # |  | Related Documents Reviewed/ Updated |
| --- | --- | --- | --- | --- |
| Prepared by: Anne Tranchida, PA(ASCP) | 09/19/2007 | r00 |  |  |
| Approved by: Ali-Reza Armin, MD | 11/28/2007 | r00 |  |  |
| Reviewed by: (Signature) | Date | Revision # | Modification | Related Documents Reviewed/ Updated |
| Ali-Reza Armin, MD | 12/10/2008 | r00 |  |  |
| Anne R. Tranchida,PA(ASCP) | 10/20/2009 | r00 |  |  |
| Ali-Reza Armin, MD | 10/20/2011 | r00 |  |  |
| Ali-Reza Armin,MD | 04/08/2013 | r00 |  |  |
| Mitual B. Amin,MD | 02/14/2015 | r00 |  |  |
| Zhenhong H. Qu, MD | 03/12/2015 | r00 |  |  |
| Revised by: Kurt Bernacki, MD | 10/03/2018 | r01 | Added mol-decal procedure for all cases for fracture and cases from orthopedic oncology surgeons |  |
| Approved by: Kurt Bernacki, MD | 10/03/2018 | r01 |  |  |
| Kurt Bernacki, MD | 10/22/2019 | r01 |  |  |
| Kurt Bernacki, MD | 10/20/2021 | r01 |  |  |
| Revised by: Heather Genson, HTL(ASCP)CMPACM | 01/14/2022 | r02 | Removed time in mol-decal |  |
| Approved by: Kurt Bernacki, MD | 01/14/2022 | r02 |  |  |
| M. Jawwad Arshad, MD | 3/20/2023 | r02 |  |  |