Purpose	To provide a procedure for printing photo rulers.

Principle	To utilize the Brother label printer to print a photo ruler with the surgical case number.

_____________________________________________________

Equipment	The following equipment is needed for this procedure:

- PC and monitor

- Brother Label Printer (for rulers)

- Brother Continuous Length Paper Tape

Safety

- PPE should be worn.

Supplies and	The following supplies and reagents are needed for this

Reagents	procedure:

- BROTHER P-TOUCH CONTINUOUS LENGTH PAPER TAPE - Image Supply, DK-2214, 1/2 “ x 100’ (12 mm x 30.48 M)

- BROTHER QL-500 REPLACEMENT INK CARTRIDGE

Quality control

- The brother label printer should be loaded with continuous length paper tape.

Limitations/		The following may influence the quality of the photo ruler:

Notes

- The ink cartridge should be replaced regularly.

_________________

Procedure	Follow the steps listed below:

- Make sure that Brother label printer is turned on and connected to the PC and monitor.

- On the PC, log on to the Novell Network.

- Double click on the P-touch editor icon.

- Go to file, then choose recently used files and then choose from big, small, autopsy big, or autopsy small rulers.

- Click once on the text input tool.

- Highlight the default accession numbers and type in the actual numbers.

- Note:  Use 5 placeholders for the accession/autopsy number.  Use zeros as needed for placeholders.

- Go to file, then select print and again print.

- Go to file, then exit, then no.

- Once the label has printed, slide the cutting blade on the printer to the right.

- Remove the label and affix it to a clean glass slide.

- Also refer to the “photography guidelines” and “camera operation” sections before photographing a surgical specimen.

References		The following item was used as a source of information.

Sung, Lokman:  Digital Camera Instructions, Royal Oak, MI, 11/23/05.

##### Document Control

##### Location of Master: Master electronic file stored on the Beaumont Laboratory server under

S:\AP_Grossing_Manual

Number of Controlled Copies posted for educational purposes:  0

Number of circulating Controlled Copies:  1

##### Location of circulating Controlled Copies: Master Grossing Manual located in Surgical Pathology

_________

##### Document 		The table below is used to capture staff signatures and dates

##### history 	associated with initial document preparation, annual review, and revisions.

| Signature | Date | Revision # |  | Related Documents Reviewed/ Updated |
| --- | --- | --- | --- | --- |
| Prepared by: Anne Tranchida PA(ASCP) | 11/7/2007 | r00 |  |  |
| Approved by: Ali-Reza Armin, MD | 12/3/2007 | r00 |  |  |
| Reviewed by: (Signature) | Date | Revision # | Modification | Related Documents Reviewed/ Updated |
| Ali-Reza Armin,MD | 10/10/2008 | r00 |  |  |
| Anne R. Tranchida,PA(ASCP) | 10/20/2009 | r00 |  |  |
| Ali-Reza Armin,MD | 10/20/2011 | r00 |  |  |
| Ali-Reza Armin,MD | 10/4/2013 | r00 |  |  |
| Mitual B. Amin,MD | 2/18/2015 | r00 |  |  |
| Zhenhong H. Qu, MD | 3/19/2015 | r00 |  |  |
| Kurt Bernacki, MD | 10/27/2017 | r00 |  |  |
| Kurt Bernacki, MD | 10/22/2019 | r00 |  |  |
| Kurt Bernacki, MD | 10/20/2021 | r00 |  |  |