Purpose	To provide a procedure for the gross examination of a skin shave biopsy specimen.

Principle	To submit all identifiable portions of skin so that a diagnosis can be made microscopically by a Pathologist.

_____________________________________________________

Equipment	The following equipment is needed for this procedure:

- Ruler

- Forceps

- Scalpel

- Blue biopsy sponges

- Tissue paper

- Biopsy bags

Safety

- PPE should be worn.

- FORMALIN is a known carcinogen.

Supplies and	The following supplies and reagents are needed for this

Reagents	procedure:

- 10% NEUTRAL BUFFERED FORMALIN (pH range 6.9 – 7.2) - BBC Biochemical, Item # 0151 (5 Gallon Cube)

- HEMATOXYLIN I, Richard-Allan Scientific, Reorder Number 7221.

- BLUE INK – Cancer Diagnostics, Inc. Tissue Marking Dye System, Blue #0728-2

- WHITE DISTILLED VINEGAR – Reliance Sysco

Quality control

- All tissue should be submitted.

Limitations/		The following may influence the validity of test results:

Notes

- The specimen should be fixed in formalin.

_________________

Procedure	Follow the steps listed below:

- The specimen will arrive in a jar of formalin.

- Using forceps, carefully remove all portions of skin from the container.

- Dictate the number of pieces, the size (three dimensions – cm.), the shape, the color, and the consistency of the skin.

- Describe any identifiable lesions on the skin surface.  For each lesion indicate the size (2 dimensions – cm.), shape, and color.  If the lesion is raised, measure the distance that it extends from the skin surface (cm.).

- If possible, ink the identifiable margin. Note: Avoid black ink on skin specimens.

- Use vinegar as a mordant.

- If a piece of skin is less than 0.3 cm, it should not be cut.

- Bisect, trisect, or serially section the specimen at 0.2-0.3 cm intervals.  The entire specimen should be submitted.

- If the margin(s) cannot be identified, the specimen should be inked with hematoxylin.

- All pieces of skin should be submitted by placing them between blue sponges.  The only exception is a very small piece of skin (0.1 cm or less) which should be either wrapped in tissue paper or put into a biopsy bag.

- Step sections (X3) should be dictated under the special procedures section of the pathology report. If the specimen is small, the margin can be identified, and submitted en toto, step sections (X6) should be dictated.

- If the dermatologist submitting the specimen has requested a slide on the case, an extra slide should be ordered.

- The specimen should be submitted in the cassettes designated for skins.

- The cassette or cassettes should be loaded on appropriate tissue processor to allow for proper fixation and processing.

References		The following items were used as sources of information.

Hruban RH, Westra, WH, Phelps, PH, & Isacson, C:  Surgical Pathology Dissection An Illustrated Guide, New York, NY, Springer-Verlag Inc., 1996.

Lester, SC:  Manual of Surgical Pathology, New York, NY, Churchill

Livingstone, 2001.

##### Document Control

##### Location of Master: Master electronic file stored on the Beaumont Laboratory server under S:\ AP_Grossing_Manual

Number of Controlled Copies posted for educational purposes:  0

Number of circulating Controlled Copies:  1

Location of circulating Controlled Copies: Master Grossing Manual located in Surgical Pathology

_________

##### Document 		The table below is used to capture staff signatures and dates

##### history 	associated with initial document preparation, annual review, and revisions.

| Signature | Date | Revision # |  | Related Documents Reviewed/ Updated |
| --- | --- | --- | --- | --- |
| Prepared by: Anne Tranchida PA(ASCP) | 9/11/2007 | r00 |  |  |
| Approved by: Ali-Reza Armin, MD | 12/6/2007 | r00 |  |  |
| Reviewed by: (Signature) | Date | Revision # | Modification | Related Documents Reviewed/ Updated |
| Ali-Reza Armin,MD | 10/10/2008 | r00 |  |  |
| Anne R. Tranchida,PA(ASCP) | 10/20/2009 | r00 |  |  |
| Ali-Reza Armin,MD | 10/20/2011 | r00 |  |  |
| Ali-Reza Armin,MD | 10/4/2013 | r00 |  |  |
| Mitual B. Amin,MD | 2/18/2015 | r00 |  |  |
| Zhenhong H. Qu, MD | 3/21/2015 | r00 |  |  |
| Revised by: Heather Genson, HTL(ASCP)CMPACM | 4/29/2016 | r01 | Specimens too small to section should receive levels x6 |  |
| Approved by: Zhenhong H. Qu, MD | 4/29/2016 | r01 |  |  |
| Kurt Bernacki, MD | 10/27/2017 | r01 |  |  |
| Revised by: Heather Genson, HTL(ASCP)CMPACM | 11/30/2018 | r02 | Removed black ink and replaced with blue |  |
| Approved by: Kurt Bernacki, MD | 11/30/2018 | r02 |  |  |
| Kurt Bernacki, MD | 10/22/2019 | r02 |  |  |
| Kurt Bernacki, MD | 10/20/2021 | r02 |  |  |