Purpose	To provide a procedure for the gross examination of a skin punch biopsy specimen.

Principle	To submit the entire skin punch biopsy so that a diagnosis can be made microscopically by a Pathologist.

_____________________________________________________

Equipment	The following equipment is needed for this procedure:

- Ruler

- Forceps

- Scalpel

- Blue biopsy sponges

Safety

- PPE should be worn.

- FORMALIN is a known carcinogen.

Supplies and	The following supplies and reagents are needed for this

Reagents	procedure:

- 10% NEUTRAL BUFFERED FORMALIN (pH range 6.9 – 7.2) - BBC Biochemical, Item # 0151 (5 Gallon Cube)

- BLUE INK – Cancer Diagnostics, Inc. Tissue Marking Dye System, Blue #0728-2

- WHITE DISTILLED VINEGAR – Reliance Sysco

Quality control

- All tissue should be submitted.

Limitations/		The following may influence the validity of test results:

Notes

- The specimen should be fixed in formalin.

_________________

Procedure	Follow the steps listed below:

- The specimen will arrive in a jar of formalin.

- Using forceps, carefully remove the skin punch biopsy from the container.

- Measure the skin punch biopsy in diameter and depth (cm.).

- Describe any identifiable lesions on the skin surface.  For each lesion indicate the size (2 dimensions – cm.), shape, color, and distance to the nearest skin edge.  If the lesion is raised, measure the distance that it extends from the skin surface (cm.).

- Ink the margin blue. Note: Avoid black ink on skin specimens.

- Use vinegar as a mordant for the ink.

- If a skin punch biopsy is 0.1 to 0.3 cm, it should not be cut.

- If a skin punch biopsy is 0.4 cm to 0.6 cm, it should be bisected.

- If a piece of skin punch biopsy is 0.7 cm  to 1.0 cm, it should be trisected.

- If a skin punch biopsy is greater than 1.0 cm, it should be serially sectioned.

- If a skin punch biopsy is either trisected or serially sectioned, the ends should be submitted separately in one cassette and the remainder of the specimen should be submitted in additional cassettes with no more than two slices per cassette.  A detailed cassette summary should be dictated.

- All pieces of skin should be submitted by placing the pieces of skin between blue sponges.

- If the skin punch is submitted whole (0.3 cm or less), step sections (X6) should be dictated under the special procedures section of the pathology report.

- If the skin punch is bisected, trisected, or serially sectioned, step sections (X3) should be dictated under the special procedures section of the pathology report.

- If the dermatologist submitting the specimen has requested a slide on the case, an extra slide should be ordered.

- The cassette or cassettes should be loaded on the next available processor.

References		The following items were used as sources of information.

Hruban RH, Westra, WH, Phelps, PH, & Isacson, C:  Surgical Pathology Dissection An Illustrated Guide, New York, NY, Springer-Verlag Inc., 1996.

Lester, SC:  Manual of Surgical Pathology, New York, NY, Churchill

Livingstone, 2001.

##### Document Control

##### Location of Master: Master electronic file stored on the Beaumont Laboratory server under

S:\AP_Grossing_Manual

Number of Controlled Copies posted for educational purposes:  0

Number of circulating Controlled Copies:  1

Location of circulating Controlled Copies: Master Grossing Manual located in Surgical Pathology

_________

Document 		The table below is used to capture staff signatures and dates

##### history 	associated with initial document preparation, annual review, and revisions.

| Signature | Date | Revision # |  | Related Documents Reviewed/ Updated |
| --- | --- | --- | --- | --- |
| Prepared by: Anne Tranchida PA(ASCP) | 9/11/2007 | r00 |  |  |
| Approved by: Ali-Reza Armin, MD | 12/6/2007 | r00 |  |  |
| Reviewed by: (Signature) | Date | Revision # | Modification | Related Documents Reviewed/ Updated |
| Ali-Reza Armin,MD | 10/10/2008 | r00 |  |  |
| Anne R. Tranchida,PA(ASCP) | 10/20/2009 | r00 |  |  |
| Ali-Reza Armin,MD | 10/20/2011 | r00 |  |  |
| Ali-Reza Armin,MD | 10/4/2013 | r00 |  |  |
| Mitual B. Amin,MD | 2/18/2015 | r00 |  |  |
| Zhenhong H. Qu, MD | 3/21/2015 | r00 |  |  |
| Kurt Bernacki, MD | 10/27/2017 | r00 |  |  |
| Revised by: Heather Genson, HTL(ASCP)CMPACM | 11/30/2018 | r01 | Replaced black ink with blue ink |  |
| Approved by: Kurt Bernacki, MD | 11/30/2018 | r01 |  |  |
| Kurt Bernacki, MD | 10/22/2019 | r01 |  |  |
| Kurt Bernacki, MD | 10/20/2021 | r01 |  |  |