Purpose	To provide a procedure for the gross examination of a skin specimen submitted from a dermatologist for direct immunoflourescence.

Principle	To dictate a gross description of the specimen and submit the specimen entirely for direct immunofluorescence studies. The results will be diagnosed by a Pathologist.

_____________________________________________________

Equipment	The following equipment is needed for this procedure:

- Ruler

- Forceps

Safety

- PPE should be worn.

- TISSUE FIXATIVES should be used with standard precautions.

Supplies and	The following supplies and reagents are needed for this

Reagents	procedure:

- TISSUE FIXATIVE – provided by submitting dermatologist

- SALINE – provided by submitting dermatopathologist

- FA BUFFER – provided by Immuno Lab

- MICHEL’S FIXATIVE – provided by Immuno Lab

- SMALL CLEAR PLASTIC JARS – ordered by Surgical Pathology

Quality control

- All tissue should be submitted for direct immunoflourescence.

Limitations/		The following may influence the validity of test results:

Notes

- The specimen should not be fixed in formalin.

- If the dermatologist submitting the specimen does not have tissue fixative, the specimen should be submitted fresh or in saline.

- If the specimen arrives at the lab in saline or fresh, the specimen should be transferred to FA buffer.

- If the specimen arrives late on a Friday, on Saturday, or before a Holiday, it should be placed into Michel’s fixative for longer storage.

_________________

Procedure	Follow the steps listed below:

- The specimen will arrive in tissue fixative, saline, or in the fresh state.

- Using forceps, carefully remove the portion of skin from the container.

- Dictate the size (three dimensions – cm.), the shape, the color, and the consistency of the skin.

- Describe any identifiable abnormalities on the skin surface (ex: scars).  For each abnormality, indicate the size (2 dimensions – cm.), shape, color, and distance to the nearest skin edge.  If the abnormality is raised, measure the distance that it extends above the skin surface (cm.).

- If the specimen arrived in tissue fixative, place it back in the tissue fixative.  If the specimen was previously in saline or in the fresh state, transfer it to FA buffer.

- If the specimen arrives late on Friday, on Saturday, or before a Holiday, it should be transferred into Michel’s fixative.

- Dictate in the gross dictation that the specimen is for gross examination only, that no sections are taken, and that the specimen is submitted entirely for direct immunofluorescence.

- Return the specimen to one of the surgical pathology assistants who will call for the Immuno lab to pick it up.

References		The following items were used as sources of information.

Hruban RH, Westra, WH, Phelps, PH, & Isacson, C:  Surgical Pathology Dissection An Illustrated Guide, New York, NY, Springer-Verlag Inc., 1996.

Lester, SC:  Manual of Surgical Pathology, New York, NY, Churchill

Livingstone, 2001.

##### Document Control

##### Location of Master: Master electronic file stored on the Beaumont Laboratory server under

S:\AP_Grossing_Manual

Number of Controlled Copies posted for educational purposes:  0

Number of circulating Controlled Copies:  1

Location of circulating Controlled Copies: Master Grossing Manual located in Surgical Pathology

_________

##### Document 		The table below is used to capture staff signatures and dates

##### history 	associated with initial document preparation, annual review, and revisions.

| Signature | Date | Revision # |  | Related Documents Reviewed/ Updated |
| --- | --- | --- | --- | --- |
| Prepared by: Anne Tranchida PA(ASCP) | 9/12/2007 | r00 |  |  |
| Approved by: Ali-Reza Armin, MD | 12/6/2007 | r00 |  |  |
| Reviewed by: (Signature) | Date | Revision # | Modification | Related Documents Reviewed/ Updated |
| Ali-Reza Armin,MD | 10/10/2008 | r00 |  |  |
| Anne R. Tranchida,PA(ASCP) | 10/20/2009 | r00 |  |  |
| Ali-Reza Armin,MD | 10/20/2011 | r00 |  |  |
| Ali-Reza Armin,MD | 10/4/2013 | r00 |  |  |
| Mitual B. Amin,MD | 2/18/2015 | r00 |  |  |
| Zhenhong H. Qu, MD | 3/23/2015 | r00 |  |  |
| Kurt Bernacki, MD | 10/27/2017 | r00 |  |  |
| Kurt Bernacki, MD | 10/22/2019 | r00 |  |  |
| Kurt Bernacki, MD | 10/20/2021 | r00 |  |  |