| Methodist Health Services Corporation & UnityPoint Health Methodist |  | Page # 1 of 2 | Section: Hematology | Policy #: HEMO - 05 |
| --- | --- | --- | --- | --- |
|  | Laboratory 7000 | Approved by: See signature block at end of document |  | Date: 10/16/14 |
|  |  | Date Revised: 8/13/96; 3/14/97; 9/30/97; 7/7/00; 1/25/05,3/21/05,7/26/06, 1/19/10, 1/19/11, 12/2/11, 2/4/14, 10/16/14 |  |  |
|  |  | Policy/Revision Submitted by: Kathy Turpin |  |  |
|  |  | JCAHO Standard: NA |  |  |
| POLICY ON: CRITERIA USED FOR ORDERING ABNORMAL HEMATOLOGY REVIEWS |  |  |  |  |

I.	POLICY:

Criteria established for ordering abnormal hematology (ABN HEMAs) for pathologist's review.

II.	PURPOSE AND STANDARD:

Certain abnormal hematology results must be reviewed by a pathologist for interpretation and correlation with a disease process.

III.	SCOPE:

Hematology technologists will follow the criteria established for ordering abnormal hematology pathologist reviews.

IV.	GENERAL INFORMATION:

Before verifying the results of a CBC, the technologist reviews the laboratory data and judges it against established criteria to determine if smear and/or printouts need to be reviewed by a pathologist.  Peripheral blood smears showing the following numerical and/or morphologic abnormalities should be sent for pathologist’s review, unless that abnormality was reviewed within the past 30 days.

Criteria were established by the pathology group and are reviewed for appropriateness every two years.  Review criteria are as follows:

- Red Blood Cells:

    - Hemoglobin of less than 7.0 g/dL (hematocrit less than 20%), or hemoglobin of greater than 19.0 g/dL or hematocrit greater than 60%.

    - MCV less than 70 fL or greater than 115 fL.

    - ≥3 nRBC seen on diff; for newborns (defined as ≤ 3 days old) more than 15 nRBC’s/100 WBC’s.

    - RDW greater than 22 percent.

    - Severe morphologic abnormalities (marked or 3+), including; elliptocytosis, target cells, tear drop cells, rouleaux formation, agglutination, or basophilic stippling.)

    - Readily apparent (at least 2-5/oil immersion field): sickle cells or schistocytes.

    - Hemoglobin crystals.

- White Blood Cells:

        - WBC less than 2.0 X 103 /uL or greater than 30 X 103/uL (greater than 35.0 X 103/uL for newborns).

        - Any blasts, promyelocytes, plasma cells, cells suspicious for malignancy and unclassifiable cells.

        - Cells with unusual cytoplasmic granulation or inclusions .

        - Readily apparent hyposegmented or hypersegmented neutrophils.

        - Absolute lymphocyte count greater than 5.0 X 103/uL in individuals ≥ 40 years old or absolute lymphocyte count greater than 7.5 x 103/uL in individuals > 15 and <40 years old.

        - Absolute neutrophic count less than 1.0 x 103/uL.

        - Absolute monocyte count greater than 2.5 x 103/uL.

        - Absolute eosinophil count greater than 2.0 x 103/uL.

        - Absolute basophile count greater than 0.2 x 103/uL.

- Platelets

          - Platelet count less than or equal to 50 x 103 /uL or greater than 600 x103/uL.

          - Smears with greater than 5 giant platelets per 10 WBC’s.

          - Presence of circulating micromegakaryocytes.

- Newborns (defined as ≤ 3 days): Hemoglobin less than 14 gm/dl or greater than 23 gm/dl; WBC greater than 35.0 x 109/L; More than 15 nucleated RBCs/100 WBC.

- Miscellaneous

          - For Illinois cancer care patient, an initial smear review will be performed if met the above criteria.  No additional pathology review needs to be performed with the exception of unusual findings.

          - Smear review requested by physician.

          - Any smear with microorganism present.

V.	MAINTENANCE AND STORAGE:

  - All policies and procedures are reviewed every two years, (except for Safety procedures which are yearly) by Laboratory Administration and or the Medical Director of the Laboratory or designee when there are changes in practice standards, or requirements.

  - All policies and procedures are reviewed every two years (except for Safety procedures which are yearly) by staff or at the time new or revised ones are put in effect.

  - All policies are retained 8 years after being discontinued or revised.

  - All procedures are retained 2 years after being discontinued or revised

| REVISION HISTORY (began tracking 2012) |  |  |  |
| --- | --- | --- | --- |
| Rev | Description of Change | Author | Effective Date |
|  | Changed the value for path review on the following analytes.. HGB,WBC, MCV, PLT and added RDW greater than 22. | R. Fitzgerald/K. Turpin | 10/16/14 |

Reviewed by

| Lead | Date | Coordinator/ Manager | Date | Medical Director | Date |
| --- | --- | --- | --- | --- | --- |
| R. Fitzgerald | 10/16/14 |  | 10/16/14 |  | 10/16/14 |