BLOOD PRODUCT STORAGE & STABILITY

| ###### Packed RBC’s |  |
| --- | --- |
| Order info | From ARC |
| Storage | 1-6°C |
| Stability | Tagged unit expiration. |
| Treatment | See Irradiation Policy if needed |
| Post Treatment Stability |  |
| Administration | Standard blood tubing (not supplied by blood bank) May not be in transit or at room temperature for more than 30 minutes. If so discard. Must be transfused within 4 hours once spiked. May be kept in a validated cooler for 6 hours or in a blood bank monitored refrigerator. |

| ###### Plateletpheresis |  |
| --- | --- |
| Order info | From ARC - HLA matched by physician request. - Tested at ARC for bacterial contamination. |
| Storage | Room temperature 20-24°C, continual agitation/rotation May be transported in a room temperature cooler. |
| Stability | Tagged unit expiration. |
| Treatment | See Irradiation Policy if needed |
| Post Treatment Stability |  |
| Administration | Supply Charter Medical Blood Component Recipient Set Small (150 micron) filter with patient adapter No. 03-110-65 |

| ###### Leukopheresis |  |
| --- | --- |
| Order info | From ARC: -Must inform ARC of how many days? -Patient WBC count/differential -Patient temperature -How long patient on antibiotic(s)? |
| Storage | Room temperature 20-24°C |
| Stability | Give within 24 hours. |
| Treatment | Not applicable. |
| Post Treatment Stability |  |
| Administration | Standard blood tubing (not supplied by blood bank) |

| ###### Fresh Frozen Plasma |  |
| --- | --- |
| Order info | From ARC Mostly male donors received to prevent TRALI |
| Storage | ≤ -18°C |
| Stability | Tagged unit expiration. |
| Treatment | - Thaw at 37°C in plastic bag, with gentle mixing. - If ports get wet, wipe off with alcohol wipe before administering. |
| Post Treatment Stability | - 24 hrs post thaw, stored at 1-6°C. - If not transfused within 24 hour expiration; convert and re-label unit for 5 day plasma (see 5 Day Plasma procedure). - Change label on the component with the new ISBT component product code and expiration date. |
| Administration | - May not be in transit or at room temperature for more than 30 minutes. If so, discard. - Must be transfused within 4 hours once spiked. - May be kept in a validated cooler for 6 hours or in a blood bank monitored refrigerator. - Standard blood tubing (not supplied by blood bank) |

| ###### Cryoprecipitate |  |
| --- | --- |
| Order info | From ARC |
| Storage | ≤ -18°C |
| Stability | Tagged unit expiration. |
| Treatment | - Thaw at 37°C in plastic bag, with gentle kneading.\ - If ports get wet, wipe off with alcohol wipe before administering. |
| Post Treatment Stability | - Room temperature 20-24°C, within 6 hours if closed single unit. - Change label on the component with the new ISBT component product code and expiration date. |
| Administration | Supply blood component infusion set if single cryoprecipitate is given. If a pooled cryoprecipitate is transfused use standard blood tubing (not supplied by blood bank). |

CMV Safe units:

- Leukoreduced product is CMV safe and can be used for CMV negative requests, except in exchange transfusion and neonatal transfusions.

References

Roback, J.  Combs, M.  Grossman, B.  Hillyer, C, AABB Technical Manual, 16th Ed.  Bethesda: AABB, 2008.  p.285-287.

MMCI Laboratory is a CAP accredited facility, as of 7/1/11 the responsibility of new and/or substantially revised policies and procedures will be restricted the Laboratory Director whose name appears on the CLIA certificate, whose signature appears below. The biennial review will be completed by the Administrative Director.

Policy Created by: ___ Seth Schaffer (ASCP)____________ Date: _________12/28/11_________

Medical Director Approval: ________________________________ Date: _______6/26/12___________

| REVISION HISTORY (began tracking 2011) |  |  |  |
| --- | --- | --- | --- |
| Rev | Description of Change | Author | Effective Date |
|  | Initial release | S. Schaffer | 12/28/11 |
| 1.0 | Added label component with new ISBT label under FFP and CRYO. Also added use standard blood tubing if transfusing a pooled cryo. | Kathy Turpin | 7/24/2014 |
| 1.1 | Under PRBC’s added Transport conditions and time unit must be transfused. Under PLTPH added transport conditions. Under FFP changed 6 to 4 hours. Added transport conditions and storage conditions once outside the blood bank. Added 5 day plasma | Kathy Turpin | 6/10/2015 |

| Reviewed by | Date | Coordinator | Date | Medical Director | Date |
| --- | --- | --- | --- | --- | --- |
| K. Maher | 6/26/12 |  | 6/26/12 |  | 6/26/12 |
|  |  |  | 8/27/14 |  | 8/27/14 |