## Slide 1: Manual Result Entry

## Slide 2: Manual Result Entry
Due to an increase in manual result reporting errors, we have prepared this presentation to educate you about the steps to take to report results correctly.
The following slides will guide you through the screen sequence for manual result entry.

## Slide 3: Step 1: Click on Result Entry from the home screen

## Slide 4: Step 2: Select Manual Resulting mode

## Slide 5: Step 3: Click on Configuration drop down menu and select appropriate worksheet

## Slide 6: Step 4: Click on modify in the worklist

## Slide 7: Step 5: Click on arrow to move all selected specimens to the left (move to unselected)

## Slide 8: Step 6: Click & highlight the correct specimen & click on arrow to move to the right (move to selected)

## Slide 9: Step 7: Verify that you have selected the correct specimen & click on Result
Correct specimen

## Slide 10: Step 8: Click result field & enter data (remember to check for two patient identifiers)

## Slide 11: Step 9: Click on Save to finalize & release results

## Slide 12: Step 10: You did it!