| Methodist Campus |  |  | Page 1 of 3 | Section: UPM HEMO |  | Policy #: 05 |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| HEMATOLOGY |  | Approved by: See signature block at end of document |  |  | Date: 3/10/18 Review by: 3/10/20 |  |  |
| LABORATORY |  | Date Revised: 1/19/10,1/19/11, 12/2/11, 2/4/14, 10/16/14, 2/1/16, 3/03/17, 10/13/17, 12/16/17, 3/10/18 |  |  |  |  |  |
|  | Primary Responsible Parties: Kim Paige Secondary Responsible Parties: June Bembenek |  |  |  |  |  |  |
|  | CAP Standard: |  |  |  |  |  |  |
| POLICY GUIDELINE ON: CRITERIA USED FOR ORDERING ABNORMAL HEMATOLOGY REVIEWS |  |  |  |  |  |  |  |

I.	POLICY:

Criteria established for ordering abnormal hematology (ABN HEMAs) for pathologist's review.

II.	PURPOSE AND STANDARD:

Certain abnormal hematology results must be reviewed by a pathologist for interpretation and correlation with a disease process.

III.	SCOPE:

UnityPoint Methodist Hematology technologists will follow the criteria established for ordering abnormal hematology pathologist reviews.

IV.	GENERAL INFORMATION:

Before verifying the results of a CBC, the technologist reviews the laboratory data and judges it against established criteria to determine if smear and/or printouts need to be reviewed by a pathologist.  Peripheral blood smears showing the following numerical and/or morphologic abnormalities should be sent for pathologist’s review, unless that abnormality was reviewed within the past 120 days.

Criteria were established by the pathology group and are reviewed for appropriateness every two years.  Review criteria are as follows:

- Red Blood Cells:

    - Hemoglobin of  < 6.0 g/dL (hematocrit < 20%), or hemoglobin > 19.0 g/dL or hematocrit > 60%

    - MCV > 115 fL if hemoglobin is < 10 g/dL.

    - ≥3 nRBC (nucleated RBC) seen on diff; for newborns (defined as ≤ 3 days old) more than 15 nRBC’s/100 WBC’s.

    - RDW > 22 percent.

    - Severe morphologic abnormalities (marked or 3+), including; elliptocytosis, target cells, tear drop cells, rouleaux formation, agglutination, or basophilic stippling.)

    - Readily apparent (at least 2-5/oil immersion field): sickle cells or schistocytes.

    - Hemoglobin crystals.

- White Blood Cells:

        - WBC < 2.0 th/mm3 or > 30 th/mm3.

WBC > 45 th/mm3 for Newborn to 7 days.

WBC > 40 th/mm3 for infants > 7 days to 1 month.

        - Any blasts, promyelocytes, plasma cells, cells suspicious for malignancy and unclassifiable cells.  If a new acute leukemia is suspected after normal business hours, report blasts and report the critical result. The slide should be saved for first AM review by the clinical pathologist. The pathologist on call should be notified when the technologist is uncertain regarding the presence or absence of leukemia (>20% blasts).

        - Cells with unusual cytoplasmic granulation or inclusions.

        - Readily apparent hyposegmented or hypersegmented neutrophils.

        - Absolute lymphocyte count > 5.0 th/mm3 in individuals ≥ 40 years old or absolute lymphocyte count > 7.5 th/mm3 in individuals > 15 and < 40 years old.

        - Absolute neutrophil count < 1.0 th/mm3.

        - Absolute monocyte count > 2.5 th/mm3 only for patients > 40 years.

        - Absolute eosinophil count > 2.0 th/mm3.

        - Absolute basophil count > 2.0 th/mm3.

- Platelets

          - Platelet count ≤ 50 th/mm3 or > 750 th/mm3.

          - Smears with > 5 giant platelets per 10 WBC’s.

          - Presence of circulating micromegakaryocytes.

- Newborns (defined as ≤ 3 days):

Hemoglobin < 14 gm/dl or > 23 gm/dl.

WBC > 45.0 th/mm3 for Newborn to 7 days.

WBC > 40.0 th/mm3 for > 7 days to 1 month.

More than 15 nucleated RBCs/100 WBC.

- Miscellaneous

          - For Illinois cancer care patient, an initial smear review will be performed if met the above criteria.  No additional pathology review needs to be performed with the exception of unusual findings.

          - Smear review requested by physician.

          - Any smear with microorganism present.

          - For patients < 15 years of age, make sure to verify patient age and normal ranges prior to submitting for pathology review.  Submit any abnormal findings that meet pathologist review criteria, for pathology review.

V.	MAINTENANCE AND STORAGE:

  - All policies and procedures are reviewed every two years, (except for Safety procedures which are yearly) by Laboratory Administration and or the Medical Director of the Laboratory or designee when there are changes in practice standards, or requirements.

  - All policies and procedures are reviewed every two years (except for Safety procedures which are yearly) by staff or at the time new or revised ones are put in effect.

  - All policies are retained 8 years after being discontinued or revised.

  - All procedures are retained 2 years after being discontinued or revised

| MEDICAL DIRECTOR |  |  |
| --- | --- | --- |
| DATE | NAME | SIGNATURE |
| February 11, 2017 | Elizabeth A. Bauer-Marsh, M.D. |  |
| SECTION MEDICAL DIRECTOR |  |  |
| July 17, 2014 | Julia Adams, M.D. |  |

| REVISION HISTORY (began tracking 2011) |  |  |  |
| --- | --- | --- | --- |
| Rev | Description of Change | Author | Effective Date |
| 1 | Changed the value for path review on the following analytes.. HGB, WBC, MCV, PLT and added RDW greater than 22. | R. Fitzgerald/ K. Turpin | 10/16/14 |
| 2 | Changed the pathology review criteria for WBC counts on Newborns to 7 days and >7 days to 1 month. | Kathy Turpin | 1/4/16 |
| 3 | Clarified pathology protocol for suspected leukemias | June Bembenek | 3/03/17 |
| 4 | Corrected absolute basophil typographical error from 0.2 to 2.0, Updated Hgb, MCV, absolute mono and platelet criteria | June Bembenek | 10/12/17 |
| 5 | Updated review criteria units | June Bembenek | 12/01/17 |
| 6 | Updated pathology review miscellaneous section to include: 4. For patients < 15 years of age, make sure to verify patient age and normal ranges prior to submitting for pathology review. Submit any abnormal findings that meet pathologist review criteria, for pathology review. | June Bembenek | 3/09/18 |

Reviewed by

| Lead | Date | Coordinator/ Manager | Date | Medical Director | Date |
| --- | --- | --- | --- | --- | --- |
| R. Fitzgerald | 10/16/14 |  | 10/16/14 |  | 10/16/14 |
|  |  |  | 1/4/16 |  | 2/1/16 |
| Kim Paige | 3/3/17 |  | 3/3/17 3/6/17 |  | 3/6/17 |
|  |  |  | 10/12/17 10/12/17 |  | 10/12/17 10/13/17 |
| Kim Paige | 10/9/17 |  | 10/9/17 10/31/17 |  | 12/06/17 |
| Kim Paige | 3/9/18 |  | 3/9/18 |  | 3/10/18 |