AutoCyte PREP System

### Preparation of Buffered Water

- MATERIALS NEEDED

- One (1) liter of volumetric flask

- Deionized water

- TRIS Buffered Saline, pH 8.0 (Packet – Sigma, Catalog #T-6664, 10 packs/box)

- Measuring device, 200 ml

- One (1) gallon container

## PRECAUTIONS

- Read this procedure carefully.  The stock buffer solution must be prepared before the working solution can be made.

## PROCEDURE TO MAKE STOCK BUFFER

- Fill the 1 liter flask approximately half full with Deionized water.

- Empty 1 pack of 50 mM TRIS buffered Saline, pH 8.0 into flask and swirl until dissolved.

- Fill flask to the 1 liter mark and seal the flask with parafilm.

- Invert the flask several times to insure complete mixing.

- Label flask with:

- Stock TRIS Buffered Saline, pH 8.0, 50 mM, and

- The date prepared

- Store in refrigerator (2-10C), this stock solution is stable for one month.  Discard after one month.

- PROCEDURE TO MAKE WORKING SOLUTION OF BUFFERED WATER

- Measure 200 ml of Stock buffer and pour into a gallon container.

- Fill the gallon container with Deionized water.

- Cap and invert to mix well.

- Label gallon container

- Buffered PREP water

- Date  prepared

- The Working solution of the Buffered PREP Water is stable for two (2) weeks at room temperature (15-30) and is to be capped when not in use.  Discard after two (2) weeks and make fresh solution.

- REFERENCE:

1.	AutoCyte PREP System Training Manual, 61CR000015, Issue #3.

| POLICY CREATION : |  |
| --- | --- |
| Author: James Savoie, CT (ASCP) | June 6, 2001 |
| Medical Director: Devendra Trivedi, MD | June 6, 2001 |

| MEDICAL DIRECTOR |  |  |
| --- | --- | --- |
| DATE | NAME | SIGNATURE |
| February 11, 2017 | Elizabeth A. Bauer-Marsh, M.D. |  |
| SECTION MEDICAL DIRECTOR |  |  |
| June 6, 2001 | Devendra Trivedi, MD |  |
| October 6, 2017 | Katherine Kasper, MD |  |

| REVISION HISTORY (began tracking 2011) |  |  |  |
| --- | --- | --- | --- |
| Rev | Description of Change | Author | Effective Date |
| 1 | Spelling corrections | S. Cox | 4/1/16 |

Reviewed by

| Lead | Date | Coordinator/Manager | Date | Medical Director | Date |
| --- | --- | --- | --- | --- | --- |
|  | 8/3/12 |  | 8/3/12 |  | 8/3/12 |
|  | 4/30/14 |  | 5/8/14 |  | 5/8/14 |
|  | 4/1/16 |  | 4/1/16 |  | 4/11/16 |