| METHODIST |  |  | Page 1 of 3 | Section: UPM CYTO | Policy #: 29 |
| --- | --- | --- | --- | --- | --- |
|  | CYTOLOGY |  | Approved by: see signature block at end of document |  | Date: 3/1/18 Review by: 3/1/20 |
|  | LABORATORY |  | Policy Created: 10/3/2005 Supersedes:8/3/12, 5/8/14, 3/18/16, 3/1/18 |  |  |
|  |  |  | Primary Responsible Parties: Shea Moore Secondary Responsible Parties: Deb Deeb |  |  |
|  |  |  | CAP Standard: NA |  |  |
| SUBJECT: |  | EVALUATING PAPANICOLAOU STAIN QUALITY |  |  |  |

Principle

Optimum staining of cytological samples is critical in arriving at correct cytological diagnosis.

Clinical Significance

Not applicable.

Specimen

Cytological smears stained by Papanicolaou staining procedure.

POLICY SCOPE:

The scope of this applies to any staff associated with the cytology section.

Reagents

Not applicable.

Instrumentation/Equipment

Microscope

Calibration

Not applicable.

Quality Control

This is a quality control procedure.

Procedure

- Observe overall staining quality during screening.

  - For gyn, select a well-fixed smear with both squamous and glandular cells and a few neutrophils present.

- For non-gyn, select a cellular non-gynecologic smear or cytocentrifuged slide.Evaluate the cytoplasmic stain by the following microscopic standards:

  - STANDARDS FOR EA-65

  - Pinks and greens in superficial and intermediate squamous cells are pure and brilliant.

  - Glandular cells stain a pale green or blue-green hue that contrasts well with the nucleus.

  - The cytoplasm of each cell type is transparent including the dense cytoplasm of parabasal and metaplastic squamous cells.  Nuclei and the edges of overlapping cells are distinctly visible through the cytoplasm.

  - STANDARDS FOR ORANGE-G STAIN

  - The orange stain is not noticeable in normal smears beyond a slight orange/yellow tint in the cytoplasm of some superficial squames.

  - Fully keratinized squamous cells, when present, stain a pure, brilliant orange.

3.	Evaluate the nuclear stain:

a.	STANDARDS FOR HEMATOXYLIN STAIN

    - Nuclei stain blue to deep purple.

    - Nuclei have sharp, crisp contour, and contrast well with the cytoplasm.

    - X-chromatin bodies are clearly visible with sharp contours.

    - Parachromatin is lightly tinted in normal, vesicular nuclei.

    - Threads between nuclear segments in a flattened neutrophil are visible.

4.	The cytology coordinator will record findings on the "QC Techinal Review" sheets for both Non-GYN and GYN Specimens each day for each staining set up and make sure to document problems and solutions for future reference.

a.	Refer to Pap Stain Trouble-Shooting Chart for help when problems occur.

Calculations

Not applicable.

Reporting Results

Not applicable.

References

- Keebler, C.M., et al, Compendium on Cytopreparatory Techniques, 6th Edition, Chicago:  Tutorials of Cytology, 1990.

- Keebler, C.M., et al, Manual of Cytotechnology, 1993

| POLICY CREATION : |  |
| --- | --- |
| Author: Terry Weisenberger, CT (ASCP) | January 15, 1997 |
| Medical Director: Devendra Trivedi, MD | January 15, 1997 |

| MEDICAL DIRECTOR |  |  |
| --- | --- | --- |
| DATE | NAME | SIGNATURE |
| February 11, 2017 | Elizabeth A. Bauer-Marsh, M.D. |  |
| SECTION MEDICAL DIRECTOR |  |  |
| January 15, 1997 | Devendra Trivedi, MD |  |
| October 6, 2017 | Katherine Kasper, MD |  |

O

| REVISION HISTORY (began tracking 2011) |  |  |  |
| --- | --- | --- | --- |
| Rev | Description of Change | Author | Effective Date |
| 1 | Change name of review sheets | S. Cox | 8/14/12 |
| 2 | Add QC technical review sheets, change non-gyn review of slides procedure | S. Moore | 2/27/18 |

Reviewed by

| Lead | Date | Coordinator/Manager | Date | Medical Director | Date |
| --- | --- | --- | --- | --- | --- |
|  | 8/3/12 |  | 8/3/12 |  | 8/3/12 |
|  | 4/30/14 |  | 5/8/14 |  | 5/8/14 |
|  | 3/10/16 |  | 3/11/16 |  | 3/18/16 |
| Shea Moore, CT (ASCP) | 2/27/18 |  | 3/13/18 |  | 3/1/18 |