| METHODIST |  |  | Page 1 of 5 | Section: UPM CHEMG | Policy #: 03.014 |
| --- | --- | --- | --- | --- | --- |
|  | CHEMISTRY, GENERAL |  | Approved by: see signature block at end of document |  | Date: 5/15/18 Review by: 5/15/20 |
|  | LABORATORY |  | Policy Created: 4/30/12 Policy Revised: 4/1/14, 3/17/16, 5/15/18 |  |  |
|  |  |  | Primary Responsible Parties: Ray Gross Secondary Responsible Parties: Amy Gibbs |  |  |
|  |  |  | CAP Standard: NA |  |  |
| SUBJECT: |  | LACTOSE TOLERANCE TEST, BLOOD |  |  |  |

Siemens Vista 1500

Principle

The lactose tolerance test gauges the body’s response by measuring glucose concentrations on timed blood specimens following the administration of a lactose load.

Clinical Significance

Lactose intolerance is a condition caused by lack of the enzyme lactase.  Normally, when lactose reaches the digestive system, the lactase in the small intestine breaks it down into glucose and galactose which are absorbed.  The liver then converts galactose into glucose, which enters the bloodstream and raises the blood glucose concentrations.  If lactose is not or incompletely broken down, the blood glucose concentrations do not rise and a diagnosis of lactose maldigestion is confirmed.

Digestive diseases or injuries to the small intestine can reduce the amount of enzymes produced, which are usually the cause in childhood development.  Most cases of lactose intolerance develop over a period of many years in adults.  Lactose is found in milk and milk products, and is often used as additive in prepared foods, even in prescription drugs.

NOTE:  According to the American Academy of Pediatrics, this blood test is not very accurate.  The Breath Hydrogen test should be used.

POLICY SCOPE

The scope of this policy applies to all Laboratory staff that prepares or performs testing on laboratory specimens at UnityPoint Methodist.

Specimen

| Serum or plasma (Gold, Red, Green, or Gray top tubes) | Samples are to be collected at fasting, 30minute, 1 hour, 2 hour, and 3 hour times. Separate from cells as soon as possible, unless collected in sodium fluoride (gray) tube. Ambient stability (gray top only) is 8 hours. Stable at 2 - 8ºC for 72 hours or up to one year frozen. |
| --- | --- |

Reagents/Instrumentation/Equipment

- Dimension Vista 1500

- Glucose Flex reagents

- Sampling system accessories

Calibration

Refer to the Dimension Vista Glucose Reagent Procedure.

Quality Control

| QC Material Used | BioRad Multiqual Chemistry Controls Level 1 & 3 |
| --- | --- |
| Storage/Stability | Stored frozen, the unopened control is stable until the expiration date. Stable for 6 days after opening when stored tightly capped at 2-8 C. |
| Performance Frequency | Both levels once daily. |

Procedure

Lactose Tolerance Test: LACTOV

Prior to collection, notify pharmacy (phone 672-4968) and arrange preparation of lactose solution.  If childhood collection, please communicate patient body weight.

Specimen Collection:

- Confirm the patient has been fasting for 8 hours prior to collection.

  - If patient has not fasted, collection must be rescheduled.

  - If fasting, continue to step 2.

- Obtain supplies required for venipuncture procedure.

- Prepare Lactose Dose appropriate for patient:

  - Mix vials (lactose and distilled water) provided by pharmacy until well dissolved.

  - For children, less than 16 years of age, prepare Lactose Solution according to Attachment A. Childhood Lactose Dose Requirements.

- Collect the fasting specimen in a gray top tube through routine venipuncture.

- Administer the required lactose dose.

  - The patient must drink the entire dose within 5 minutes.

  - Remain with the patient to ensure that the entire solution is ingested.

  - Note the time when the lactose administration is complete as the remaining collections will be based on this time.

  - Instruct the patient to inform a nurse or the phlebotomist immediately if patient becomes ill.  The test may have to be discontinued or re-scheduled.

  - Collect specimens 30 minutes, 1 hour, 2 hours, and 3 hours after the patient ingests the lactose solution.    Timing of collection is critical.  Example:  Fasting specimen collected at 08:00 AM.  Patient finished lactose solution at 08:22.  Collect 30 minute at 08:52. 1 hour at 09:22, 2 hour at 10:22, and 3 hour at 11:22.

  - CLEARLY IDENTIFY all specimens using the correct collection time.  Record the patient’s full name, Medical Record Number or Date of Birth,  collection date/time, and the collector initials on each tube. The label must be affixed to the specimen in the presence of the patient.

Testing Procedure:

- Follow normal procedure for processing and centrifuging specimens.

- Manually order glucose test in the Vista for each sample.  Use patient last name and collection time as the sample ID.  Example:  SMITH 0955

- Place specimen in carrier and load onto instrument for analysis.

- Follow protocol found in Glucose procedure in regards to any necessary troubleshooting and/or dilutions.

Reporting Results

Analytical Measurement Range (AMR):	1-500 mg/dL

Clinical Reportable Range (CRR):	1-2175  mg/dL

Follow the Glucose Reagent procedure for dilution protocol.

Results will be manually entered into LIS.

Reference Range for fasting/baseline glucose:  65-100 mg/dL

Lactose Tolerance Interpretation:  Normal lactose tolerance:  Greater than 25 mg/dL elevation in glucose over the fasting level after a 50 g lactose load.

An increase less than 26 mg/dL over the fasting level with gastrointestinal symptoms after a lactose load is considered abnormal and consistent with lactose deficiency.

Related Documents

CHEM-GLUC:  Glucose Flex Reagent Cartridge Procedure, Chemistry, Vista Manual

References:

- Heyman, M. Lactose Intolerance in Infants, Children, and Adolescents.  Pediatrics Sept 2006; 118(3) 1279-1286.

- Pettoello Mantovani M, et al.  Lactose malabsorption in children with symptomatic Giardia lamblia infection: feasibility of yogurt supplementation.  J Pediatr Gastroenterol Nutr. 1989 Oct; 9(3) 295-300.

- Lin, LH, et al.  Breath Hydrogen Test for Assessment of lactose malabsorption following rotavirus gastroenteritis.  J Formos Med Assoc. 1990 Dec; 89(12) 1072-1076.

MMCI Laboratory is a CAP accredited facility, as of 7/1/11 the responsibility of new and/or substantially revised policies and procedures will be restricted the Laboratory Director whose name appears on the CLIA certificate, whose signature appears below. The biennial review will be completed by the Administrative Director.

| POLICY CREATION : |  |
| --- | --- |
| Author: Theresa King, MLS (ASCP) | April 25, 2012 |
| Medical Director: Devendra Trivedi, MD | April 30, 2012 |

| MEDICAL DIRECTOR |  |  |
| --- | --- | --- |
| DATE | NAME | SIGNATURE |
| March 4, 2017 | Elizabeth A. Bauer-Marsh, M.D. |  |
| SECTION MEDICAL DIRECTOR |  |  |
| September 21, 2012 | Robert Benirschke, PhD |  |
| March 10, 2015 | Devendra Trivedi, MD |  |
| November 18, 2015 | Lori Racsa, DO |  |

| REVISION HISTORY (began tracking 2011) |  |  |  |
| --- | --- | --- | --- |
| Rev | Description of Change | Author | Effective Date |
| 1 | Initial release. | T. King | 5/9/12 |
| 2 | Updated LIS order code due to Sunquest install, Updated QC to Multiqual QC | A. Gibbs | 3/10/16 |
| 3 | Updated glucose CRR | A. Gibbs | 5/11/18 |

REVIEWED BY

| Lead | Date | Coordinator /Manager | Date | Medical Director | Date |
| --- | --- | --- | --- | --- | --- |
|  |  |  | 4/25/12 |  | 4/30/12 |
|  |  |  | 4/1/14 |  | 4/1/14 |
| Amy Gibbs | 3/10/16 |  | 3/14/16 |  | 3/17/16 |
| Ray Gross | 5/10/18 |  | 5/11/18 |  | 5/15/18 |

Attachment A:  Childhood Lactose Dose Requirements (2 g Lactose/kg of body weight up to maximum of 50 g load)

| Child weight (kg) | Grams of Lactose | Solution mL |
| --- | --- | --- |
| 10 | 20 | 80 |
| 11 | 22 | 88 |
| 12 | 24 | 96 |
| 13 | 26 | 104 |
| 14 | 28 | 112 |
| 15 | 30 | 120 |
| 16 | 32 | 128 |
| 17 | 34 | 136 |
| 18 | 36 | 144 |
| 19 | 38 | 152 |
| 20 | 40 | 160 |
| 21 | 42 | 168 |
| 22 | 44 | 176 |
| 23 | 46 | 184 |
| 24 | 48 | 192 |
| 25 | 50 | 200 |