| METHODIST |  |  | Page 1 of 4 | Section: UPM BBPOL | Policy #: 01.033 |
| --- | --- | --- | --- | --- | --- |
|  | BLOOD BANK POLICIES |  | Approved by: see signature block at end of document |  | Date: 1/18/19 Review by: 1/18/21 |
|  | LABORATORY |  | Policy Created: 10/19/99 Supersedes: 7/3/12, 9/12/14, 9/3/15, 1/19/17, 1/18/19 |  |  |
|  |  |  | Primary Responsible Parties: Michelle Ehrich Secondary Responsible Parties: June Bembenek |  |  |
|  |  |  | CAP Standard: TRM 32250 |  |  |
| SUBJECT: |  | RECORD RETENTION IN THE BLOOD BANK |  |  |  |

- POLICY:

Certain situations require the Blood Bank to be able to obtain previous results.

- PURPOSE:

To make clear what records are kept in the Blood Bank and for what length of time.

- SCOPE:

This Policy applies to all blood bank technologists.

- GENERAL INFORMATION:

It is very important to be able to trace a unit from its source (donor and collecting facility) to final disposition (transfusion, shipped or destroyed).  These records must be kept indefinitely.  In the blood bank at UPH Methodist, these records are kept online in the computer indefinitely.

- PROCEDURE:

- Refer to the table below for storage requirements of different blood bank records.

| Type of Record | Retention period | Storage Location/ Special Instructions |
| --- | --- | --- |
| Final unit disposition | 10 years | LIS |
| Acceptability of returned units into inventory | 10 years | LIS |
| Notification from American Red Cross (ARC) recalling units and the reason for the recall | 10 years | Blood Bank |
| Notification from ARC regarding the receipt of units of donors found to be confirmed positive for HIV, HTLV, HCV, HbsAg | 10 years | Blood Bank |
| Transfusion Administration Records | 10 years | Patient’s Electronic Medical Record (EMR) |
| Blood bank personnel signatures, initials, identification codes, and inclusive dates of employments | 10 years | Records are kept on site for current CAP cycle, then moved to warehouse for remainder of storage duration |
| Identification of individuals performing each significant step in collection, processing, compatibility testing and transportation of blood/blood components | 10 years | LIS |
| Traceability of blood and blood components, and critical materials | 10 years | Blood/blood components: LIS |
|  |  | Critical materials (Reagents): Electronic/Excel Spreadsheet file stored on the I Drive |
| Final inspection and verification of blood before issue | 10 years | LIS |
| Container qualification/process validations – Ex: Cooler validations | 10 years | Blood bank for 3 years then moved to the warehouse for the remainder of storage duration |
| ABO confirmation testing of donor units and inspection of blood products | 10 years | LIS/Electronic |
| Critical material (reagents) inspection and QC | 10 years | Electronic/Excel Spreadsheet file stored on the I Drive |
| Patient pre-transfusion testing results and interpretation | 10 years | LIS |
| Immediate evaluation/interpretation of transfusion reactions | 10 years | Blood bank for 3 years then to the warehouse for the remainder of storage duration |
| Evaluation/interpretation of delayed transfusion reactions | 10 years | Blood bank for 3 years then to the warehouse for the remainder of storage duration |
| Emergency release of blood, including signature of requesting physician obtained before or after release | 10 years | Blood bank for 3 years then to the warehouse for the remainder of storage duration |
| Transfusion problems such as difficulty in blood typing, transfusion reactions, unexpected antibodies and special transfusion requirements. | Indefinitely | LIS |
| Competency records | 5 years | Administration office |
| Orders and requests for blood/blood components | 5 years | LIS |
| Blood supplier agreements | 5 years | Lead desk – Blood bank |
| Review and approval of new and revised policies and procedures before use. Procedure review/procedure discontinued. | 5 years | Administration office |
| Management reviews for the effectiveness of quality system | 5 years | Monthly maintenance log in blood bank for 3 years then stored in the warehouse |
| Proficiency testing records | 5 years | Administration office |
| Retyping of donor units | 10 years | LIS |
| Inspections of blood/critical materials | 10 years | Inspection of blood product is kept in the LIS. Inspection of reagents is documented on the master reagent log. |
| Instrument/equipment quality control and maintenance | 10 years | Instrument Service & Repair log located in blood bank. Other maintenance records can be retrieved from BioMed. |
| Control systems for patient testing | 10 years | Blood bank for 3 years then stored in warehouse. |
| Temperature monitoring (e.g. graphs, logs) of refrigerators, freezers, and platelet incubators | 10 years | Blood bank for 3 years then stored in warehouse. |
| Modification of a unit or carried out any part of the preparation of blood components | 10 years | Paper records are kept in blood bank for 5 years, then kept in the warehouse afterwards |
| Therapeutic phlebotomy records | 10 years | Blood bank and warehouse |

VI.  MAINTENANCE AND STORAGE

  - All policies and procedures are reviewed every two years, (except for Safety procedures which are yearly) by Laboratory Administration and/or the Medical Director of the Laboratory or designee when there are changes in practice standards, or requirements.

  - All policies and procedures are reviewed every two years (except for Safety procedures which are yearly) by staff or at the time new or revised ones are put in effect.

  - All policies are retained 8 years after being discontinued or revised.

  - All blood bank procedures are retained 5 years, and other procedures 2 years after being discontinued or revised.

UnityPoint Methodist Laboratory is a CAP accredited facility.  As of July 1, 2011, the responsibility of new and/or substantially revised policies and procedures will be restricted the Laboratory Director whose name appears on the CLIA certificate, and the signature appears below. The biennial review will be completed by the appointed Section Medical Director.

| POLICY CREATION : |  |
| --- | --- |
| Author: Kathy Maher | October 19, 1999 |
| Medical Director: Devendra Trivedi, MD | October 19, 1999 |

| REVISION HISTORY |  |  |  |
| --- | --- | --- | --- |
| Rev | Description of Change | Author | Effective Date |
| 1 | Added scope. Changed retention time on number 6 from indefinitely to 10 years in the warehouse. | K. Turpin | 9/11/2014 |
| 2 | Added section I record retention for emergency release of blood forms. | K. Turpin | 9/3/2015 |
| 3 | Updated years in blood bank to reflect current process. Added Transfusion Reaction workup section. Updated location of emergency release forms to reflect current process. | V. Strow | 1/3/2017 |
| 4 | Updated storage requirement to reflect revision to CAP requirement TRM 32250. | L. Miller | 1/10/19 |

REVIEWED BY

| Lead | Date | Coordinator/Manager | Date | Medical Director | Date |
| --- | --- | --- | --- | --- | --- |
| K. Maher | 7/6/12 |  | 7/3/12 |  | 7/3/12 |
|  |  |  | 9/12/14 |  | 9/12/14 |
|  |  |  | 9/13/15 |  | 9/3/15 |
| V. Strow | 1/3/17 |  | 1/19/17 |  | 1/19/17 |
| L. Miller | 1/10/19 |  | 1/17/19 |  | 1/18/19 |